## Overview
Software Version	3.03.14

Experiment File Path:	C:\Users\Public\Documents\grid gate experiments\2020-03-05_FRET_decomposition.xpt
Protocol File Path:	C:\Users\Public\Documents\Protocols\Dr Haley super good protocols\Cy3Cy5FRETat25.prt
Plate Number	Plate 1
Date	3/5/2020
Time	11:51:23 AM
Reader Type:	Synergy H1
Reader Serial Number:	18032120
Reading Type	Reader

Procedure Details
Plate Type	Corning 384 well black clear bottom
Set Temperature	Setpoint 25°C
	Preheat before moving to next step
Start Kinetic	Runtime 3:00:00 (HH:MM:SS), Interval 0:01:00, 181 Reads
Read	Fluorescence Endpoint
	H2..J12
	Filter Set 1
	Excitation: 532, Emission: 665
	Optics: Bottom, Gain: 0
	Light Source: Xenon Flash, Lamp Energy: High
	Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
	Read Height: 9.5 mm
End Kinetic

## Extended Time Overview
Software Version	3.03.14

Experiment File Path:	C:\Users\Public\Documents\grid gate experiments\2020-03-05_FRET_decomposition_long_run.xpt
Protocol File Path:	C:\Users\Public\Documents\Protocols\Dr Haley protocols\Cy3Cy5FRETat25.prt
Plate Number	Plate 1
Date	3/5/2020
Time	5:21:08 PM
Reader Type:	Synergy H1
Reader Serial Number:	18032120
Reading Type	Reader

Procedure Details
Plate Type	Corning 384 well black clear bottom
Set Temperature	Setpoint 25°C
	Preheat before moving to next step
Start Kinetic	Runtime 15:00:00 (HH:MM:SS), Interval 0:05:00, 181 Reads
Read	Fluorescence Endpoint
	H2..J12
	Filter Set 1
	Excitation: 532, Emission: 665
	Optics: Bottom, Gain: 0
	Light Source: Xenon Flash, Lamp Energy: High
	Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
	Read Height: 9.5 mm
End Kinetic

## Raw Data
Scaffolds at 10nM (for this experiment, always the “one-staple” scaffold)
All other strands at 20nM
This read-out was delayed by several hours because the plate reader had been previously locked at 35C

		H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold
Time	T° 532,665	H2	H4	H6	H8	H10	H12	I2	I4	I6	I8	I10	I12	J2	J4	J6	J8	J10	J12
0:00:00	25.7	243	183	391	412	1346	1287	223	176	375	397	1333	1269	230	186	353	384	1330	1306
0:01:00	25.7	223	189	386	412	1310	1335	236	168	394	405	1332	1232	235	181	370	372	1292	1300
0:02:00	25.7	222	182	372	394	1386	1276	248	187	400	369	1303	1266	233	185	367	392	1322	1278
0:03:00	25.6	225	176	378	382	1373	1296	223	163	382	386	1307	1238	229	180	365	411	1293	1287
0:04:00	25.6	243	177	382	418	1310	1338	229	197	382	399	1320	1270	223	181	366	380	1320	1309
0:05:00	25.6	224	180	381	383	1344	1344	222	183	386	394	1365	1280	234	179	371	384	1327	1339
0:06:00	25.6	230	178	391	380	1388	1305	234	176	397	416	1352	1244	229	171	359	361	1331	1299
0:07:00	25.6	246	185	412	403	1389	1350	252	191	400	397	1325	1335	232	168	359	380	1331	1261
0:08:00	25.5	231	185	390	390	1382	1330	249	174	372	387	1369	1255	247	188	373	381	1369	1289
0:09:00	25.5	245	172	377	394	1393	1320	237	179	369	390	1357	1291	229	180	354	356	1344	1294
0:10:00	25.5	250	181	365	410	1384	1282	237	201	382	395	1349	1309	209	200	387	367	1362	1371
0:11:00	25.5	237	179	380	399	1387	1359	251	204	396	398	1384	1246	224	176	372	408	1368	1342
0:12:00	25.5	247	175	418	393	1365	1327	219	180	385	389	1350	1333	240	177	381	383	1346	1339
0:13:00	25.5	222	166	388	418	1407	1341	242	173	365	381	1364	1301	247	192	382	372	1350	1376
0:14:00	25.4	231	191	380	414	1354	1345	243	188	388	413	1384	1305	239	181	372	404	1354	1348
0:15:00	25.4	240	193	392	388	1405	1319	250	187	389	406	1371	1337	213	185	347	384	1381	1337
0:16:00	25.4	239	195	422	404	1385	1322	246	176	382	415	1377	1275	230	178	395	419	1399	1369
0:17:00	25.4	246	174	378	394	1439	1298	242	197	361	395	1450	1264	239	194	365	401	1397	1390
0:18:00	25.4	236	185	400	378	1405	1366	237	194	396	368	1389	1319	242	164	368	397	1378	1379
0:19:00	25.4	242	180	394	383	1395	1353	240	188	356	426	1382	1300	222	188	373	381	1335	1339
0:20:00	25.4	223	179	399	438	1446	1376	246	170	391	376	1415	1342	215	196	379	376	1363	1323
0:21:00	25.4	235	178	401	382	1406	1365	240	176	384	388	1412	1329	239	185	372	406	1379	1373
0:22:00	25.3	254	172	378	415	1438	1351	253	176	372	417	1440	1359	226	197	394	398	1434	1377
0:23:00	25.3	222	187	383	408	1452	1346	233	208	381	389	1409	1337	255	176	384	400	1368	1394
0:24:00	25.3	244	178	392	386	1410	1367	237	176	368	374	1390	1301	241	180	374	414	1373	1376
0:25:00	25.3	246	172	384	401	1445	1355	263	193	381	400	1376	1337	253	164	360	396	1369	1385
0:26:00	25.3	241	172	384	403	1483	1360	234	172	385	363	1382	1373	229	181	380	376	1424	1344
0:27:00	25.3	235	192	411	397	1479	1412	251	179	401	393	1387	1333	232	189	378	389	1402	1384
0:28:00	25.3	218	188	383	408	1428	1342	242	172	387	372	1434	1364	234	180	364	385	1416	1383
0:29:00	25.3	226	167	412	384	1475	1397	272	179	387	388	1395	1363	232	179	362	384	1394	1352
0:30:00	25.3	230	192	371	395	1494	1383	235	184	389	391	1415	1347	226	173	386	400	1395	1428
0:31:00	25.3	249	182	358	404	1451	1432	238	171	391	396	1440	1306	227	181	384	384	1373	1424
0:32:00	25.3	242	190	402	397	1453	1373	251	190	394	390	1423	1396	228	179	354	397	1420	1400
0:33:00	25.3	224	195	381	415	1442	1368	239	185	384	392	1427	1364	232	186	377	381	1400	1368
0:34:00	25.2	236	183	385	382	1466	1384	232	184	396	411	1470	1345	229	187	399	397	1410	1434
0:35:00	25.2	244	170	406	375	1468	1421	216	196	394	406	1401	1375	234	185	361	395	1461	1393
0:36:00	25.2	236	197	378	400	1498	1431	236	172	376	390	1452	1370	234	180	370	384	1461	1385
0:37:00	25.2	241	192	378	382	1500	1383	240	169	370	411	1432	1391	214	172	363	385	1441	1371
0:38:00	25.2	249	187	418	385	1416	1427	247	195	396	427	1430	1367	229	194	367	370	1376	1398
0:39:00	25.2	237	195	388	406	1466	1417	252	173	375	409	1391	1331	227	171	366	383	1398	1383
0:40:00	25.2	247	180	371	402	1519	1416	264	191	382	389	1470	1380	234	178	369	414	1443	1402
0:41:00	25.2	236	217	399	386	1453	1427	220	180	402	402	1427	1406	244	165	343	439	1429	1401
0:42:00	25.2	246	187	393	387	1483	1386	235	176	410	386	1460	1368	217	174	386	409	1417	1408
0:43:00	25.2	236	175	388	402	1469	1436	237	190	387	392	1456	1423	225	176	394	387	1454	1404
0:44:00	25.2	246	185	420	392	1480	1425	250	180	383	404	1435	1415	212	195	366	411	1423	1446
0:45:00	25.2	231	173	407	400	1490	1417	252	182	407	400	1489	1394	209	174	356	411	1436	1453
0:46:00	25.2	243	188	371	416	1477	1400	246	177	382	410	1485	1358	231	179	378	380	1430	1432
0:47:00	25.2	220	180	367	403	1497	1436	229	187	401	373	1486	1420	240	184	346	394	1403	1445
0:48:00	25.2	228	179	390	412	1454	1416	256	196	394	391	1469	1417	241	180	379	393	1432	1449
0:49:00	25.2	243	184	384	391	1484	1404	236	177	383	386	1466	1398	222	179	359	403	1421	1433
0:50:00	25.2	214	197	404	410	1515	1437	235	183	397	396	1516	1408	221	188	372	375	1467	1437
0:51:00	25.2	255	198	373	407	1501	1460	234	193	381	405	1483	1425	231	191	348	384	1460	1470
0:52:00	25.2	235	199	404	397	1512	1447	236	167	369	402	1427	1444	244	189	363	400	1491	1392
0:53:00	25.2	220	173	382	404	1481	1424	240	179	387	414	1474	1406	232	177	381	389	1461	1447
0:54:00	25.2	245	169	405	410	1464	1455	271	172	369	398	1480	1426	229	181	371	397	1410	1418
0:55:00	25.2	215	176	373	389	1460	1443	236	188	414	397	1494	1369	222	182	376	391	1434	1436
0:56:00	25.2	238	216	392	393	1495	1438	250	177	370	409	1502	1399	240	190	350	399	1451	1428
0:57:00	25.2	219	179	377	396	1544	1449	222	178	398	384	1507	1403	237	172	378	389	1459	1498
0:58:00	25.2	258	196	401	409	1497	1446	260	190	382	403	1469	1438	245	169	382	378	1487	1448
0:59:00	25.2	234	184	382	416	1479	1492	252	182	411	405	1514	1432	213	185	387	365	1477	1465
1:00:00	25.2	243	182	389	404	1484	1463	242	186	401	397	1476	1426	239	176	366	404	1474	1444
1:01:00	25.2	230	188	406	384	1542	1478	255	192	377	402	1490	1425	220	180	381	381	1465	1436
1:02:00	25.2	235	171	383	394	1551	1503	244	180	381	384	1475	1433	225	178	395	410	1465	1456
1:03:00	25.2	223	183	402	420	1502	1424	232	184	381	417	1504	1450	215	189	372	387	1488	1491
1:04:00	25.2	223	182	398	388	1517	1465	254	184	370	397	1490	1472	231	188	352	390	1486	1476
1:05:00	25.2	233	195	387	387	1528	1454	238	193	390	389	1462	1429	243	185	374	395	1453	1457
1:06:00	25.2	243	187	365	413	1516	1506	240	187	413	392	1500	1413	235	172	381	389	1523	1451
1:07:00	25.2	247	186	397	418	1528	1484	250	187	387	375	1487	1417	227	163	391	385	1459	1473
1:08:00	25.2	240	188	374	391	1583	1464	242	170	404	398	1501	1457	230	196	387	398	1486	1477
1:09:00	25.2	260	192	409	390	1508	1463	239	195	393	419	1491	1444	225	181	366	387	1465	1518
1:10:00	25.2	238	173	400	404	1559	1441	237	159	390	376	1529	1413	229	176	357	419	1497	1534
1:11:00	25.2	234	178	384	408	1533	1486	230	185	403	399	1499	1418	244	197	348	380	1453	1469
1:12:00	25.2	235	181	371	411	1562	1434	226	196	428	405	1516	1438	225	184	371	384	1453	1491
1:13:00	25.2	226	191	372	376	1527	1483	230	184	402	396	1529	1433	227	189	397	383	1437	1468
1:14:00	25.2	245	191	387	405	1506	1494	224	189	401	387	1460	1470	226	168	367	368	1511	1465
1:15:00	25.2	256	183	392	384	1558	1476	219	190	401	418	1527	1423	233	165	363	408	1476	1555
1:16:00	25.2	229	182	384	423	1541	1493	235	171	392	413	1527	1466	234	193	376	410	1487	1483
1:17:00	25.2	234	203	362	379	1528	1500	233	195	358	382	1510	1464	233	180	368	399	1453	1477
1:18:00	25.2	227	196	406	390	1497	1559	240	181	370	398	1496	1441	252	192	376	405	1507	1501
1:19:00	25.2	217	184	411	404	1575	1488	255	185	376	408	1495	1488	229	180	366	379	1498	1482
1:20:00	25.1	223	188	402	395	1555	1511	230	187	410	392	1584	1456	211	202	365	384	1489	1490
1:21:00	25.2	247	169	389	416	1573	1515	247	181	365	372	1547	1506	220	188	373	374	1537	1517
1:22:00	25.2	251	183	393	385	1524	1546	231	173	378	388	1514	1449	237	184	383	401	1501	1474
1:23:00	25.2	229	166	382	402	1573	1461	250	184	402	399	1506	1477	221	179	379	384	1489	1523
1:24:00	25.2	247	187	386	413	1591	1501	253	185	378	385	1570	1520	214	183	378	364	1471	1527
1:25:00	25.2	246	174	375	409	1578	1498	254	194	360	424	1499	1480	242	180	347	411	1529	1542
1:26:00	25.1	251	175	408	411	1564	1494	268	192	365	383	1497	1484	239	184	378	383	1538	1464
1:27:00	25.2	244	182	414	406	1581	1524	243	192	382	389	1527	1441	208	178	379	409	1520	1538
1:28:00	25.2	242	181	370	409	1568	1490	254	188	379	403	1536	1478	221	181	387	398	1495	1540
1:29:00	25.2	236	203	398	393	1620	1511	236	177	367	432	1542	1451	242	190	385	403	1458	1571
1:30:00	25.1	233	186	395	393	1588	1533	241	198	385	384	1513	1494	217	202	391	390	1503	1474
1:31:00	25.1	233	180	402	398	1598	1492	230	178	395	407	1564	1491	249	183	380	395	1511	1500
1:32:00	25.1	243	179	378	399	1556	1555	259	190	376	407	1589	1479	238	173	377	401	1537	1505
1:33:00	25.2	241	174	399	399	1533	1478	249	176	386	405	1516	1495	211	194	407	376	1538	1576
1:34:00	25.1	232	182	398	399	1614	1496	248	170	395	399	1528	1457	239	182	353	394	1535	1483
1:35:00	25.1	251	193	377	393	1590	1521	238	183	393	394	1474	1502	239	176	380	391	1570	1517
1:36:00	25.1	253	205	386	391	1613	1525	241	178	375	398	1572	1473	247	183	363	369	1535	1612
1:37:00	25.1	248	188	391	395	1594	1530	246	185	383	375	1602	1500	219	167	384	393	1522	1520
1:38:00	25.1	240	178	389	392	1588	1502	241	202	398	416	1591	1505	242	181	378	389	1511	1464
1:39:00	25.2	234	197	373	390	1585	1502	248	186	381	389	1545	1500	240	172	395	398	1531	1556
1:40:00	25.2	242	171	391	369	1637	1542	245	172	377	412	1555	1451	252	175	369	401	1538	1534
1:41:00	25.1	220	182	401	400	1559	1538	242	180	394	407	1541	1512	241	166	396	387	1588	1593
1:42:00	25.1	231	177	397	384	1551	1563	244	182	374	394	1538	1513	224	193	357	359	1532	1547
1:43:00	25.1	228	189	388	401	1581	1546	244	192	387	395	1564	1504	236	167	368	401	1528	1549
1:44:00	25.1	228	202	392	388	1595	1506	257	192	402	416	1568	1515	233	168	374	374	1528	1618
1:45:00	25.1	251	200	392	412	1563	1603	235	185	397	398	1575	1555	252	168	361	382	1564	1531
1:46:00	25.1	241	189	416	401	1549	1496	235	173	375	388	1533	1500	228	189	396	397	1536	1518
1:47:00	25.2	247	183	390	372	1604	1591	239	181	396	378	1607	1485	202	188	379	400	1526	1535
1:48:00	25.1	251	176	384	388	1594	1576	244	197	381	403	1530	1520	230	174	352	383	1549	1496
1:49:00	25.1	240	187	410	372	1610	1565	260	193	388	392	1562	1484	243	175	373	375	1564	1540
1:50:00	25.1	246	192	400	389	1557	1521	252	177	389	406	1543	1525	228	181	389	408	1522	1559
1:51:00	25.1	237	175	394	410	1640	1551	256	199	389	399	1590	1494	240	174	347	394	1539	1551
1:52:00	25.1	229	184	411	393	1615	1560	239	179	403	403	1557	1522	228	181	351	399	1559	1526
1:53:00	25.1	249	186	403	385	1594	1511	250	187	408	386	1561	1529	232	192	376	410	1528	1537
1:54:00	25.1	241	198	379	394	1607	1591	232	186	404	394	1612	1468	242	170	343	399	1568	1573
1:55:00	25.2	249	184	393	388	1572	1556	249	181	410	395	1554	1497	215	176	384	402	1591	1549
1:56:00	25.1	239	186	401	401	1589	1594	240	195	393	394	1562	1524	249	202	361	385	1521	1599
1:57:00	25.2	244	182	398	408	1611	1560	227	175	388	400	1612	1537	253	208	372	391	1562	1521
1:58:00	25.1	230	174	390	393	1579	1572	239	182	393	358	1564	1486	220	183	346	378	1581	1536
1:59:00	25.2	250	180	376	426	1596	1538	248	196	362	386	1554	1518	240	186	360	420	1545	1596
2:00:00	25.2	225	175	407	397	1557	1552	252	173	419	400	1578	1491	242	182	355	413	1564	1525
2:01:00	25.2	224	187	398	377	1624	1579	237	197	407	409	1580	1544	238	188	351	407	1575	1577
2:02:00	25.2	249	169	374	388	1579	1582	257	185	399	407	1571	1518	238	176	365	395	1597	1526
2:03:00	25.2	225	187	373	381	1638	1576	221	188	388	387	1558	1459	244	165	354	357	1543	1554
2:04:00	25.2	234	194	383	394	1635	1552	252	193	396	394	1558	1506	225	186	347	422	1543	1574
2:05:00	25.2	254	182	392	400	1589	1623	234	195	398	421	1634	1532	231	173	389	376	1600	1560
2:06:00	25.2	235	176	414	410	1631	1596	252	178	395	411	1567	1546	236	189	357	390	1567	1589
2:07:00	25.1	255	198	406	355	1661	1590	226	187	374	409	1613	1518	236	173	387	379	1597	1574
2:08:00	25.2	240	180	407	374	1596	1606	245	172	381	408	1609	1551	238	181	378	397	1583	1594
2:09:00	25.2	250	197	404	396	1626	1620	233	200	378	394	1574	1510	238	189	381	389	1537	1566
2:10:00	25.2	245	181	410	372	1628	1587	246	184	371	405	1590	1530	241	192	337	418	1554	1593
2:11:00	25.2	246	168	407	397	1599	1603	237	193	393	415	1575	1566	229	180	362	398	1615	1552
2:12:00	25.2	238	187	387	394	1617	1588	249	177	399	393	1601	1515	217	177	345	365	1586	1580
2:13:00	25.1	229	197	362	392	1652	1548	236	190	385	374	1619	1570	201	192	344	377	1561	1583
2:14:00	25.2	233	182	419	399	1628	1539	245	189	373	376	1611	1553	236	187	369	411	1604	1597
2:15:00	25.1	251	202	400	397	1666	1514	241	187	392	401	1645	1541	227	183	354	397	1618	1531
2:16:00	25.1	229	187	373	412	1617	1593	235	174	371	422	1631	1508	237	175	374	393	1564	1569
2:17:00	25.1	245	184	393	410	1639	1650	238	177	377	394	1605	1533	230	182	361	409	1574	1586
2:18:00	25.1	232	176	386	391	1646	1518	248	191	384	395	1581	1566	249	174	385	366	1609	1600
2:19:00	25.2	225	179	392	383	1635	1585	238	161	378	407	1651	1547	210	187	373	404	1556	1622
2:20:00	25.1	238	185	388	407	1612	1528	243	184	370	399	1572	1585	241	183	381	418	1594	1585
2:21:00	25.1	218	182	381	403	1644	1612	242	196	380	388	1563	1548	233	190	380	389	1606	1606
2:22:00	25.1	233	190	384	384	1632	1649	264	194	408	404	1627	1566	252	202	354	377	1547	1563
2:23:00	25.1	225	174	387	401	1643	1617	241	175	396	405	1644	1473	252	185	381	385	1636	1625
2:24:00	25.1	261	184	382	415	1637	1584	238	196	378	403	1562	1542	220	182	357	382	1586	1602
2:25:00	25.1	233	170	390	399	1678	1624	229	179	381	408	1624	1579	243	183	360	391	1607	1563
2:26:00	25.1	236	189	385	407	1625	1570	263	193	403	381	1611	1576	238	189	374	400	1579	1609
2:27:00	25.1	242	175	407	387	1655	1612	226	181	373	390	1640	1577	231	176	357	393	1592	1589
2:28:00	25.1	256	180	391	379	1648	1645	235	185	402	392	1589	1591	234	183	373	409	1579	1634
2:29:00	25.1	232	184	372	424	1699	1573	244	172	390	404	1644	1549	246	185	388	410	1581	1591
2:30:00	25.1	256	192	379	382	1653	1586	239	196	401	398	1639	1558	239	189	367	383	1574	1608
2:31:00	25.1	230	187	406	378	1626	1580	248	191	380	401	1643	1519	235	180	354	406	1643	1623
2:32:00	25.1	238	181	410	400	1670	1607	240	180	365	396	1571	1533	233	183	367	384	1569	1600
2:33:00	25.1	250	169	370	408	1646	1584	249	182	380	391	1570	1588	223	193	373	368	1612	1604
2:34:00	25.1	273	177	383	384	1628	1602	251	186	397	372	1635	1536	250	181	348	390	1566	1635
2:35:00	25.1	239	187	383	406	1664	1579	256	190	385	386	1624	1540	232	186	368	397	1650	1627
2:36:00	25.1	216	182	395	403	1648	1600	254	178	383	386	1618	1581	241	179	355	390	1598	1573
2:37:00	25.1	232	173	413	395	1700	1576	258	184	386	373	1658	1560	228	185	369	370	1597	1616
2:38:00	25.1	248	181	395	433	1650	1583	243	180	385	385	1601	1543	233	192	345	407	1600	1583
2:39:00	25.1	245	191	416	406	1685	1635	245	184	379	398	1583	1564	216	183	369	379	1597	1627
2:40:00	25.1	237	177	372	403	1643	1646	258	182	366	405	1640	1585	227	193	376	397	1642	1609
2:41:00	25.1	227	178	416	399	1681	1637	244	181	402	415	1668	1572	243	187	370	392	1620	1648
2:42:00	25.1	239	180	393	398	1716	1639	255	205	388	399	1670	1566	242	182	344	386	1616	1636
2:43:00	25.1	234	178	403	408	1664	1654	248	175	396	405	1641	1556	228	184	378	385	1637	1595
2:44:00	25.1	238	181	395	408	1682	1642	261	180	393	387	1673	1557	234	181	375	373	1587	1613
2:45:00	25.1	235	199	380	415	1660	1629	232	181	372	399	1636	1509	239	182	362	401	1620	1662
2:46:00	25.1	239	194	392	403	1640	1672	229	184	404	393	1635	1549	222	177	390	398	1604	1643
2:47:00	25.1	234	180	389	386	1624	1627	231	190	374	390	1652	1627	221	195	369	402	1633	1640
2:48:00	25.1	238	180	393	400	1684	1592	235	187	390	409	1639	1556	235	185	363	387	1632	1632
2:49:00	25.1	234	186	386	391	1671	1625	240	173	387	416	1653	1608	224	183	360	397	1602	1605
2:50:00	25.1	261	194	382	409	1674	1622	247	197	396	413	1646	1591	234	176	388	407	1597	1625
2:51:00	25.1	241	198	389	383	1652	1604	257	180	366	396	1730	1584	234	190	365	413	1574	1620
2:52:00	25.1	226	198	376	380	1745	1652	236	181	359	391	1645	1567	240	199	385	392	1626	1627
2:53:00	25.1	241	184	394	402	1631	1664	241	183	383	413	1610	1587	251	190	387	380	1639	1645
2:54:00	25.1	231	181	385	395	1668	1670	241	185	391	396	1696	1582	231	194	363	400	1591	1655
2:55:00	25.1	230	178	398	398	1633	1653	234	181	402	410	1623	1595	264	160	377	386	1608	1608
2:56:00	25.1	237	180	399	398	1700	1639	248	174	395	409	1654	1545	230	171	373	373	1616	1651
2:57:00	25.1	242	175	374	417	1723	1657	268	184	398	401	1631	1636	239	177	358	411	1581	1642
2:58:00	25.1	236	164	397	412	1682	1706	233	185	403	420	1656	1575	215	179	363	375	1551	1639
2:59:00	25.1	229	197	391	420	1666	1617	246	176	414	390	1650	1581	236	166	381	389	1576	1623
3:00:00	25.1	237	181	375	411	1691	1675	247	176	382	408	1644	1617	245	184	382	407	1644	1611

## Extended Time Raw Data
Scaffolds at 10nM (for this experiment, always the “one-staple” scaffold)
All other strands at 20nM

		H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold
Time	T° 532,665	H2	H4	H6	H8	H10	H12	I2	I4	I6	I8	I10	I12	J2	J4	J6	J8	J10	J12
0:00:00	25.1	242	185	384	377	1665	1651	254	194	374	378	1618	1624	224	193	379	389	1633	1593
0:05:00	25.1	242	184	397	395	1708	1645	246	182	370	386	1685	1575	236	181	377	372	1663	1643
0:10:00	25.1	228	177	399	399	1662	1660	250	197	407	417	1677	1631	215	181	371	402	1597	1621
0:15:00	25.1	233	170	391	393	1665	1676	248	191	409	411	1662	1577	232	194	353	399	1620	1618
0:20:00	25.1	236	184	371	399	1766	1685	218	194	400	430	1647	1596	207	199	399	379	1698	1673
0:25:00	25.1	252	178	381	402	1698	1659	235	189	406	382	1666	1640	224	191	371	390	1613	1686
0:30:00	25.1	235	192	385	410	1746	1722	238	198	402	407	1670	1601	225	198	366	389	1622	1700
0:35:00	25.1	236	190	398	434	1740	1659	255	201	387	391	1648	1677	224	165	382	412	1641	1664
0:40:00	25.1	243	177	426	411	1796	1655	238	180	393	380	1724	1640	240	188	349	413	1669	1695
0:45:00	25.1	235	164	378	401	1706	1700	230	192	375	402	1685	1586	224	193	385	394	1669	1735
0:50:00	25.1	242	196	375	410	1787	1688	260	181	397	404	1739	1586	238	185	388	402	1663	1678
0:55:00	25.1	241	197	394	407	1767	1769	256	192	399	416	1715	1652	210	179	342	400	1697	1691
1:00:00	25.1	226	176	377	410	1762	1657	238	199	402	427	1725	1644	232	182	374	414	1670	1727
1:05:00	25.1	249	185	387	416	1722	1754	221	189	394	392	1660	1659	223	193	377	412	1633	1708
1:10:00	25.1	239	190	373	396	1769	1728	238	190	402	415	1724	1695	244	183	358	392	1731	1702
1:15:00	25.1	239	199	415	410	1796	1760	253	200	390	404	1751	1688	215	181	386	422	1726	1748
1:20:00	25.1	256	197	395	391	1748	1750	244	204	415	387	1748	1696	235	175	350	399	1738	1756
1:25:00	25.1	244	196	397	407	1779	1744	256	193	406	416	1723	1700	238	180	394	382	1734	1737
1:30:00	25.1	247	183	386	411	1739	1758	260	197	385	412	1743	1650	250	159	359	395	1701	1820
1:35:00	25.1	235	186	384	383	1802	1722	250	211	407	403	1729	1672	226	196	368	373	1767	1730
1:40:00	25.1	249	184	398	394	1790	1781	231	193	391	402	1762	1679	235	183	367	384	1770	1757
1:45:00	25.1	251	192	405	393	1794	1718	239	179	389	393	1724	1734	220	183	361	392	1755	1745
1:50:00	25.1	213	203	385	383	1743	1740	242	184	399	385	1736	1673	250	199	386	406	1726	1771
1:55:00	25.1	241	200	400	395	1763	1735	242	174	412	398	1777	1686	247	188	349	419	1666	1801
2:00:00	25.1	232	190	400	388	1791	1733	266	189	418	382	1772	1702	229	177	365	371	1744	1714
2:05:00	25.1	243	188	380	390	1846	1734	242	197	401	393	1719	1717	236	182	357	405	1729	1761
2:10:00	25.1	228	180	432	370	1806	1783	243	184	400	418	1755	1719	235	182	366	391	1737	1801
2:15:00	25.1	243	194	397	385	1796	1793	270	191	384	402	1698	1694	247	175	390	405	1725	1787
2:20:00	25.1	263	193	387	405	1769	1775	253	174	404	408	1758	1731	237	168	376	383	1693	1782
2:25:00	25.1	244	173	399	417	1818	1800	259	195	375	413	1733	1686	249	185	375	370	1762	1773
2:30:00	25.1	238	189	380	391	1798	1721	239	180	382	399	1707	1754	259	190	389	387	1729	1821
2:35:00	25.1	257	204	390	406	1794	1770	236	181	387	421	1765	1739	232	186	376	404	1749	1745
2:40:00	25.1	263	190	388	404	1783	1807	247	200	391	408	1778	1709	221	192	390	401	1737	1770
2:45:00	25.1	226	217	411	373	1808	1753	257	178	380	391	1791	1655	234	171	369	400	1735	1751
2:50:00	25.1	237	190	394	431	1795	1823	252	189	385	382	1813	1730	249	204	373	392	1727	1725
2:55:00	25.1	239	181	369	405	1817	1816	243	173	394	408	1792	1723	242	180	371	400	1756	1788
3:00:00	25.1	219	191	392	405	1790	1796	235	191	397	397	1776	1741	238	171	366	396	1811	1804
3:05:00	25.1	248	192	382	390	1802	1800	255	187	405	380	1807	1786	234	179	357	387	1755	1806
3:10:00	25.1	258	187	386	412	1876	1790	246	199	372	395	1804	1705	230	177	380	371	1758	1777
3:15:00	25.1	247	188	393	421	1765	1770	253	184	365	389	1805	1761	242	190	365	389	1770	1793
3:20:00	25.1	252	189	401	396	1782	1760	230	190	399	396	1839	1742	238	168	355	399	1751	1782
3:25:00	25	251	187	393	400	1825	1738	238	187	389	401	1777	1700	231	187	394	414	1768	1783
3:30:00	25.1	220	192	411	418	1845	1759	249	199	407	413	1811	1701	250	181	377	405	1802	1804
3:35:00	25.1	265	194	389	414	1783	1757	250	188	392	394	1819	1755	218	190	367	374	1820	1843
3:40:00	25.1	239	204	421	400	1836	1866	221	191	390	400	1777	1758	228	187	390	435	1779	1832
3:45:00	25.1	239	184	403	405	1869	1815	243	190	389	418	1826	1792	247	195	364	407	1758	1774
3:50:00	25.1	239	170	378	413	1855	1819	248	171	395	409	1784	1721	229	184	373	388	1812	1814
3:55:00	25.1	267	197	395	420	1852	1783	250	186	380	383	1775	1734	234	181	354	417	1744	1780
4:00:00	25.1	235	190	390	408	1821	1810	254	184	397	390	1777	1792	234	189	369	397	1747	1822
4:05:00	25.1	240	197	403	406	1807	1834	261	198	404	408	1811	1740	241	182	373	398	1762	1807
4:10:00	25.1	237	188	411	413	1850	1819	250	188	388	421	1771	1724	227	177	375	397	1792	1856
4:15:00	25.1	251	185	406	387	1809	1796	246	192	379	409	1797	1741	229	174	390	398	1752	1777
4:20:00	25.1	244	181	392	415	1855	1802	256	172	418	404	1852	1782	257	177	385	378	1779	1848
4:25:00	25.1	266	171	385	415	1841	1865	252	179	402	413	1815	1787	251	180	372	395	1764	1796
4:30:00	25.1	228	181	392	404	1784	1819	240	197	384	393	1770	1733	261	181	378	407	1759	1801
4:35:00	25.1	247	201	397	392	1842	1803	250	181	403	414	1808	1755	235	172	379	379	1737	1812
4:40:00	25.1	248	175	410	402	1823	1843	262	180	402	388	1800	1779	240	172	358	398	1738	1817
4:45:00	25.1	241	189	379	397	1882	1812	262	175	407	394	1820	1774	244	195	374	396	1813	1830
4:50:00	25.1	236	197	405	407	1805	1748	248	210	392	421	1822	1795	221	183	361	393	1780	1823
4:55:00	25.1	260	201	402	403	1852	1784	259	188	415	407	1851	1716	226	187	384	379	1762	1855
5:00:00	25.1	240	179	397	391	1884	1806	233	182	387	408	1828	1750	211	200	396	382	1774	1828
5:05:00	25.1	231	202	403	395	1817	1807	226	176	386	400	1833	1764	244	182	368	391	1798	1825
5:10:00	25.1	278	192	407	417	1847	1852	240	181	417	404	1866	1738	214	179	375	425	1791	1812
5:15:00	25.1	242	185	416	363	1836	1830	241	194	404	417	1830	1751	232	185	392	398	1776	1880
5:20:00	25	251	179	417	370	1875	1838	255	171	390	392	1827	1777	245	201	360	387	1789	1822
5:25:00	25.1	251	192	385	405	1844	1790	236	189	375	419	1866	1725	240	182	387	401	1751	1893
5:30:00	25.1	253	175	407	401	1868	1808	240	183	385	399	1834	1760	234	182	360	380	1741	1801
5:35:00	25.1	236	180	394	398	1896	1873	240	201	388	399	1793	1775	236	194	368	405	1785	1862
5:40:00	25.1	249	197	405	384	1886	1836	244	168	387	387	1789	1776	233	176	369	386	1836	1834
5:45:00	25.1	240	186	414	399	1826	1805	250	206	389	395	1843	1763	248	191	364	401	1818	1824
5:50:00	25.1	231	182	397	381	1899	1796	256	181	392	381	1802	1786	236	183	391	393	1773	1835
5:55:00	25.1	246	206	396	410	1886	1872	267	184	393	411	1822	1795	225	171	389	384	1830	1816
6:00:00	25.1	240	185	398	407	1820	1847	253	191	403	417	1853	1764	228	176	373	401	1825	1822
6:05:00	25.1	244	178	416	400	1853	1793	247	173	400	390	1898	1768	227	193	382	419	1870	1868
6:10:00	25.1	260	186	388	389	1828	1854	245	195	392	392	1830	1781	243	197	348	384	1777	1835
6:15:00	25.1	245	201	422	404	1877	1857	271	199	419	405	1798	1794	237	196	395	406	1793	1882
6:20:00	25.1	240	179	389	400	1874	1828	253	186	399	433	1810	1781	241	188	357	416	1814	1829
6:25:00	25.1	236	186	409	429	1920	1865	236	179	411	426	1848	1826	215	186	351	393	1743	1842
6:30:00	25.1	258	187	412	413	1866	1861	232	191	404	400	1856	1721	254	181	385	409	1797	1846
6:35:00	25.1	226	200	423	407	1833	1868	247	187	417	383	1793	1796	236	190	378	399	1825	1919
6:40:00	25.1	239	203	395	413	1878	1864	251	193	397	377	1831	1788	238	202	356	385	1778	1852
6:45:00	25.1	243	185	370	396	1850	1857	236	194	418	411	1823	1760	252	188	357	378	1738	1862
6:50:00	25.1	263	196	400	407	1874	1841	243	209	389	394	1788	1811	221	174	367	397	1792	1851
6:55:00	25.1	243	202	393	423	1862	1886	245	188	393	398	1880	1831	233	187	364	381	1718	1882
7:00:00	25.1	233	197	413	392	1865	1846	256	193	381	386	1858	1858	214	176	351	395	1833	1855
7:05:00	25.1	263	199	384	384	1845	1889	257	195	396	401	1863	1736	215	168	356	387	1841	1887
7:10:00	25.1	236	192	406	387	1920	1833	231	184	378	400	1833	1766	236	178	381	396	1735	1852
7:15:00	25.1	238	189	390	361	1802	1831	249	181	377	385	1849	1774	211	187	363	412	1804	1817
7:20:00	25.1	241	177	398	431	1830	1841	251	197	386	399	1875	1802	238	183	371	395	1852	1877
7:25:00	25.1	264	184	393	397	1927	1814	247	188	409	391	1841	1819	263	162	343	398	1799	1819
7:30:00	25.1	246	200	371	413	1826	1810	271	182	402	397	1807	1832	218	187	384	399	1831	1914
7:35:00	25.1	232	203	404	422	1875	1847	255	184	389	419	1845	1793	245	180	379	388	1778	1819
7:40:00	25.1	266	198	398	413	1876	1885	244	186	411	395	1813	1823	223	186	381	419	1811	1910
7:45:00	25.1	229	182	390	388	1833	1904	246	208	378	396	1844	1762	230	181	382	373	1815	1878
7:50:00	25.1	234	191	402	408	1858	1899	242	187	412	425	1820	1799	238	185	366	395	1835	1825
7:55:00	25.1	233	191	395	412	1875	1880	268	178	401	417	1863	1785	232	187	383	403	1846	1823
8:00:00	25.1	254	203	399	415	1867	1831	247	197	395	390	1831	1807	233	179	375	408	1833	1856
8:05:00	25.1	244	190	390	369	1849	1895	242	180	401	414	1795	1793	248	184	369	391	1786	1836
8:10:00	25.1	226	180	388	397	1878	1830	236	185	414	413	1818	1797	223	201	384	405	1771	1827
8:15:00	25.1	244	209	379	402	1912	1868	261	188	400	403	1851	1824	263	168	368	411	1828	1824
8:20:00	25.1	235	187	400	385	1871	1896	266	183	391	381	1873	1794	243	185	379	370	1840	1841
8:25:00	25.1	212	210	395	400	1877	1835	251	191	366	401	1856	1809	227	181	374	400	1779	1896
8:30:00	25.1	239	184	389	388	1855	1824	270	189	398	384	1837	1816	235	175	351	393	1823	1849
8:35:00	25.1	262	191	388	411	1868	1897	238	189	401	414	1812	1835	235	198	381	403	1891	1841
8:40:00	25.1	238	184	396	375	1879	1909	245	184	421	392	1854	1831	231	177	371	391	1854	1869
8:45:00	25.1	255	196	378	400	1864	1858	249	197	400	408	1812	1814	229	188	374	389	1856	1890
8:50:00	25.1	226	176	392	416	1872	1819	261	190	389	401	1829	1854	222	185	368	393	1892	1864
8:55:00	25.1	254	201	405	412	1858	1842	238	202	387	406	1862	1842	253	168	394	399	1807	1861
9:00:00	25.1	253	177	406	396	1839	1885	249	197	399	410	1851	1797	214	187	391	395	1798	1864
9:05:00	25.1	253	212	411	396	1862	1880	248	202	395	416	1867	1833	227	189	371	401	1886	1913
9:10:00	25.1	238	185	400	381	1909	1893	252	199	387	391	1895	1807	235	192	377	402	1805	1858
9:15:00	25.1	237	197	382	392	1863	1847	265	185	403	383	1841	1768	249	188	367	418	1784	1843
9:20:00	25.1	225	210	390	404	1912	1853	241	189	390	393	1876	1821	222	171	388	406	1795	1832
9:25:00	25.1	243	209	387	405	1886	1849	244	194	376	389	1773	1795	240	197	386	388	1868	1830
9:30:00	25.1	231	200	405	397	1881	1829	250	190	358	415	1834	1826	226	178	395	412	1819	1863
9:35:00	25.1	242	185	389	408	1873	1857	247	187	397	402	1850	1816	239	173	381	394	1758	1880
9:40:00	25.1	232	180	399	412	1885	1825	247	197	359	426	1878	1815	224	194	401	425	1840	1826
9:45:00	25.1	237	190	405	398	1858	1863	242	198	382	412	1789	1812	247	192	398	417	1832	1832
9:50:00	25.1	236	181	390	402	1866	1858	252	188	390	410	1809	1816	245	179	408	403	1811	1885
9:55:00	25.1	224	193	417	425	1874	1864	240	197	399	391	1823	1871	243	180	386	384	1786	1839
10:00:00	25.1	242	192	394	425	1832	1819	248	172	429	405	1831	1808	224	183	369	400	1833	1854
10:05:00	25.1	256	206	405	416	1918	1844	251	197	372	401	1842	1832	222	193	392	394	1832	1873
10:10:00	25	265	195	394	401	1913	1903	249	183	384	408	1830	1825	225	187	373	393	1789	1904
10:15:00	25.1	248	201	393	397	1840	1884	257	202	381	419	1841	1830	219	180	352	406	1859	1841
10:20:00	25.1	251	197	406	392	1843	1867	255	194	374	385	1873	1788	218	184	365	384	1784	1872
10:25:00	25.1	262	197	413	413	1910	1895	246	195	407	403	1840	1814	228	180	375	387	1813	1897
10:30:00	25.1	243	199	405	408	1889	1853	251	207	388	410	1856	1851	234	191	351	406	1789	1853
10:35:00	25.1	245	174	402	402	1840	1853	255	191	378	423	1840	1817	252	180	365	393	1845	1911
10:40:00	25.1	235	213	433	388	1925	1871	240	187	385	415	1884	1799	229	182	389	404	1856	1881
10:45:00	25.1	247	188	362	389	1840	1886	242	182	428	411	1835	1852	225	179	370	411	1794	1895
10:50:00	25.1	248	176	382	398	1859	1892	256	179	385	406	1844	1818	242	190	360	395	1812	1847
10:55:00	25.1	248	203	406	400	1966	1853	257	200	381	413	1847	1818	231	172	367	405	1787	1898
11:00:00	25.1	236	188	384	406	1901	1921	267	183	411	411	1835	1846	238	175	382	413	1767	1837
11:05:00	25.1	252	197	370	405	1946	1905	245	204	376	412	1880	1868	250	168	371	392	1781	1906
11:10:00	25.1	233	178	410	405	1921	1905	250	194	380	404	1863	1790	258	174	360	384	1875	1860
11:15:00	25.1	241	178	413	423	1835	1898	265	185	384	406	1846	1828	240	192	379	399	1827	1875
11:20:00	25.1	263	180	401	421	1923	1881	257	192	417	384	1812	1822	237	189	373	406	1846	1868
11:25:00	25.1	251	204	373	405	1854	1836	231	202	417	406	1875	1821	222	188	373	392	1869	1902
11:30:00	25.1	242	186	408	413	1872	1831	244	189	384	377	1870	1851	221	204	358	409	1827	1931
11:35:00	25.1	250	194	422	386	1867	1882	255	175	404	435	1857	1865	244	171	348	392	1818	1861
11:40:00	25.1	269	189	406	394	1904	1872	233	193	385	425	1876	1783	227	185	382	390	1802	1854
11:45:00	25.1	252	193	397	409	1911	1885	254	197	379	414	1844	1777	225	189	381	370	1884	1884
11:50:00	25.1	255	181	419	390	1875	1868	252	191	396	395	1831	1797	239	175	352	399	1870	1882
11:55:00	25.1	252	180	417	402	1895	1905	254	191	380	436	1841	1808	241	192	378	387	1849	1879
12:00:00	25.1	240	181	404	409	1895	1874	234	189	375	402	1801	1807	254	177	379	403	1857	1896
12:05:00	25.1	243	187	396	408	1865	1902	266	185	399	399	1819	1770	210	178	375	385	1780	1866
12:10:00	25.1	242	185	402	388	1880	1864	232	193	387	411	1875	1774	229	182	360	384	1791	1862
12:15:00	25.1	254	191	425	423	1880	1907	262	215	399	371	1867	1840	263	186	362	393	1793	1917
12:20:00	25.1	235	207	405	441	1838	1858	259	203	380	416	1786	1811	233	183	388	388	1841	1791
12:25:00	25.1	253	191	398	410	1865	1845	238	175	376	391	1790	1800	223	181	376	376	1822	1827
12:30:00	25.1	254	187	407	391	1865	1897	248	192	399	403	1876	1859	234	204	366	400	1821	1876
12:35:00	25.1	248	207	417	419	1886	1847	247	200	377	411	1817	1784	219	183	388	386	1807	1868
12:40:00	25.1	233	201	406	422	1827	1894	232	203	412	403	1870	1804	251	188	363	386	1817	1865
12:45:00	25.1	266	199	392	395	1875	1867	269	197	396	407	1895	1843	254	187	386	393	1791	1884
12:50:00	25.1	260	179	393	390	1898	1848	231	173	389	413	1880	1817	236	185	353	371	1787	1919
12:55:00	25.1	243	192	410	413	1868	1921	253	195	386	386	1817	1817	234	187	376	394	1845	1915
13:00:00	25.1	256	204	392	412	1921	1900	256	179	390	410	1873	1789	246	182	390	409	1798	1866
13:05:00	25.1	237	199	426	377	1872	1912	256	192	404	394	1784	1851	244	181	366	392	1872	1896
13:10:00	25	252	199	398	387	1832	1802	241	177	395	395	1866	1909	210	183	380	404	1805	1906
13:15:00	25	254	202	404	404	1908	1943	245	196	397	401	1847	1800	241	178	381	404	1855	1862
13:20:00	25.1	214	189	397	391	1844	1867	267	194	400	402	1859	1809	255	187	383	391	1794	1931
13:25:00	25.1	234	198	416	398	1951	1891	274	181	406	424	1889	1852	232	166	365	375	1822	1912
13:30:00	25.1	241	182	381	391	1959	1866	274	215	384	425	1868	1796	259	200	359	393	1790	1914
13:35:00	25.1	251	223	421	382	1859	1873	258	183	372	419	1875	1798	235	187	375	412	1882	1917
13:40:00	25.1	237	200	408	411	1894	1909	253	187	403	400	1863	1822	249	188	368	397	1848	1884
13:45:00	25.1	252	214	406	404	1837	1898	259	186	402	402	1907	1870	227	191	345	389	1805	1889
13:50:00	25.1	253	195	411	408	1900	1916	244	206	403	437	1892	1869	247	181	374	392	1787	1910
13:55:00	25.1	232	180	417	416	1928	1860	246	168	391	406	1875	1838	219	188	365	404	1818	1914
14:00:00	25.1	243	198	406	399	1894	1860	244	186	387	383	1812	1818	236	154	362	384	1824	1889
14:05:00	25.1	237	181	380	403	1922	1905	273	195	363	413	1840	1830	233	175	345	401	1839	1945
14:10:00	25.1	247	202	403	397	1868	1887	260	187	410	402	1807	1786	239	187	367	409	1854	1899
14:15:00	25.1	243	192	411	385	1890	1892	239	195	404	385	1871	1841	236	159	357	381	1753	1861
14:20:00	25.1	240	188	416	419	1908	1912	256	179	378	407	1812	1837	218	192	395	394	1775	1871
14:25:00	25.1	258	182	387	409	1859	1891	257	192	403	387	1871	1820	231	178	384	379	1789	1856
14:30:00	25.1	250	187	401	404	1917	1842	254	194	380	408	1853	1873	224	191	384	375	1813	1882
14:35:00	25.1	240	185	390	405	1890	1879	247	192	424	416	1855	1830	236	186	405	395	1788	1915
14:40:00	25.1	230	203	392	388	1906	1849	265	191	391	407	1819	1844	238	167	382	411	1836	1864
14:45:00	25.1	236	208	397	396	1884	1889	259	190	415	386	1881	1822	222	195	380	397	1843	1870
14:50:00	25.1	238	207	380	389	1900	1835	248	196	401	415	1908	1817	219	177	371	397	1837	1865
14:55:00	25.1	260	186	423	417	1905	1899	240	188	392	378	1796	1808	227	186	374	392	1851	1871
15:00:00	25.1	223	198	392	405	1943	1883	265	184	394	423	1831	1802	236	176	347	388	1854	1906

## Analysis
Time	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	GH components, scaffold @ 10nM, strands @ 20nM / Hour / Signal
02:00:00	232	182	373	398	1336	1287
02:01:00	231	179	383	396	1311	1289
02:02:00	234	185	380	385	1337	1273
02:03:00	226	173	375	393	1324	1274
02:04:00	232	185	377	399	1317	1306
02:05:00	227	181	379	387	1345	1321
02:06:00	231	175	382	386	1357	1283
02:07:00	243	181	390	393	1348	1315
02:08:00	242	182	378	386	1373	1291
02:09:00	237	177	367	380	1365	1302
02:10:00	232	194	378	391	1365	1321
02:11:00	237	186	383	402	1380	1316
02:12:00	235	177	395	388	1354	1333
02:13:00	237	177	378	390	1374	1339
02:14:00	238	187	380	410	1364	1333
02:15:00	234	188	376	393	1386	1331
02:16:00	238	183	400	413	1387	1322
02:17:00	242	188	368	397	1429	1317
02:18:00	238	181	388	381	1391	1355
02:19:00	235	185	374	397	1371	1331
02:20:00	228	182	390	397	1408	1347
02:21:00	238	180	386	392	1399	1356
02:22:00	244	182	381	410	1437	1362
02:23:00	237	190	383	399	1410	1359
02:24:00	241	178	378	391	1391	1348
02:25:00	254	176	375	399	1397	1359
02:26:00	235	175	383	381	1430	1359
02:27:00	239	187	397	393	1423	1376
02:28:00	231	180	378	388	1426	1363
02:29:00	243	175	387	385	1421	1371
02:30:00	230	183	382	395	1435	1386
02:31:00	238	178	378	395	1421	1387
02:32:00	240	186	383	395	1432	1390
02:33:00	232	189	381	396	1423	1367
02:34:00	232	185	393	397	1449	1388
02:35:00	231	184	387	392	1443	1396
02:36:00	235	183	375	391	1470	1395
02:37:00	232	178	370	393	1458	1382
02:38:00	242	192	394	394	1407	1397
02:39:00	239	180	376	399	1418	1377
02:40:00	248	183	374	402	1477	1399
02:41:00	233	187	381	409	1436	1411
02:42:00	233	179	396	394	1453	1387
02:43:00	233	180	390	394	1460	1421
02:44:00	236	187	390	402	1446	1429
02:45:00	231	176	390	404	1472	1421
02:46:00	240	181	377	402	1464	1397
02:47:00	230	184	371	390	1462	1434
02:48:00	242	185	388	399	1452	1427
02:49:00	234	180	375	393	1457	1412
02:50:00	223	189	391	394	1499	1427
02:51:00	240	194	367	399	1481	1452
02:52:00	238	185	379	400	1477	1428
02:53:00	231	176	383	402	1472	1426
02:54:00	248	174	382	402	1451	1433
02:55:00	224	182	388	392	1463	1416
02:56:00	243	194	371	400	1483	1422
02:57:00	226	176	384	390	1503	1450
02:58:00	254	185	388	397	1484	1444
02:59:00	233	184	393	395	1490	1463
03:00:00	241	181	385	402	1478	1444
03:01:00	235	187	388	389	1499	1446
03:02:00	235	176	386	396	1497	1464
03:03:00	223	185	385	408	1498	1455
03:04:00	236	185	373	392	1498	1471
03:05:00	238	191	384	390	1481	1447
03:06:00	239	182	386	398	1513	1457
03:07:00	241	179	392	393	1491	1458
03:08:00	237	185	388	396	1523	1466
03:09:00	241	189	389	399	1488	1475
03:10:00	235	169	382	400	1528	1463
03:11:00	236	187	378	396	1495	1458
03:12:00	229	187	390	400	1510	1454
03:13:00	228	188	390	385	1498	1461
03:14:00	232	183	385	387	1492	1476
03:15:00	236	179	385	403	1520	1485
03:16:00	233	182	384	415	1518	1481
03:17:00	233	193	363	387	1497	1480
03:18:00	240	190	384	398	1500	1500
03:19:00	234	183	384	397	1523	1486
03:20:00	221	192	392	390	1543	1486
03:21:00	238	179	376	387	1552	1513
03:22:00	240	180	385	391	1513	1490
03:23:00	233	176	388	395	1523	1487
03:24:00	238	185	381	387	1544	1516
03:25:00	247	183	361	415	1535	1507
03:26:00	253	184	384	392	1533	1481
03:27:00	232	184	392	401	1543	1501
03:28:00	239	183	379	403	1533	1503
03:29:00	238	190	383	409	1540	1511
03:30:00	230	195	390	389	1535	1500
03:31:00	237	180	392	400	1558	1494
03:32:00	247	181	377	402	1561	1513
03:33:00	234	181	397	393	1529	1516
03:34:00	240	178	382	397	1559	1479
03:35:00	243	184	383	393	1545	1513
03:36:00	247	189	375	386	1573	1537
03:37:00	238	180	386	388	1573	1517
03:38:00	241	187	388	399	1563	1490
03:39:00	241	185	383	392	1554	1519
03:40:00	246	173	379	394	1577	1509
03:41:00	234	176	397	398	1563	1548
03:42:00	233	184	376	379	1540	1541
03:43:00	236	183	381	399	1558	1533
03:44:00	239	187	389	393	1564	1546
03:45:00	246	184	383	397	1567	1563
03:46:00	235	184	396	395	1539	1505
03:47:00	229	184	388	383	1579	1537
03:48:00	242	182	372	391	1558	1531
03:49:00	248	185	390	380	1579	1530
03:50:00	242	183	393	401	1541	1535
03:51:00	244	183	377	401	1590	1532
03:52:00	232	181	388	398	1577	1536
03:53:00	244	188	396	394	1561	1526
03:54:00	238	185	375	396	1596	1544
03:55:00	238	180	396	395	1572	1534
03:56:00	243	194	385	393	1557	1572
03:57:00	241	188	386	400	1595	1539
03:58:00	230	180	376	376	1575	1531
03:59:00	246	187	366	411	1565	1551
04:00:00	240	177	394	403	1566	1523
04:01:00	233	191	385	398	1593	1567
04:02:00	248	177	379	397	1582	1542
04:03:00	230	180	372	375	1580	1530
04:04:00	237	191	375	403	1579	1544
04:05:00	240	183	393	399	1608	1572
04:06:00	241	181	389	404	1588	1577
04:07:00	239	186	389	381	1624	1561
04:08:00	241	178	389	393	1596	1584
04:09:00	240	195	388	393	1579	1565
04:10:00	244	186	373	398	1591	1570
04:11:00	237	180	387	403	1596	1574
04:12:00	235	180	377	384	1601	1561
04:13:00	222	193	364	381	1611	1567
04:14:00	238	186	387	395	1614	1563
04:15:00	240	191	382	398	1643	1529
04:16:00	234	179	373	409	1604	1557
04:17:00	238	181	377	404	1606	1590
04:18:00	243	180	385	384	1612	1561
04:19:00	224	176	381	398	1614	1585
04:20:00	241	184	380	408	1593	1566
04:21:00	231	189	380	393	1604	1589
04:22:00	250	195	382	388	1602	1593
04:23:00	239	178	388	397	1641	1572
04:24:00	240	187	372	400	1595	1576
04:25:00	235	177	377	399	1636	1589
04:26:00	246	190	387	396	1605	1585
04:27:00	233	177	379	390	1629	1593
04:28:00	242	183	389	393	1605	1623
04:29:00	241	180	383	413	1641	1571
04:30:00	245	192	382	388	1622	1584
04:31:00	238	186	380	395	1637	1574
04:32:00	237	181	381	393	1603	1580
04:33:00	241	181	374	389	1609	1592
04:34:00	258	181	376	382	1610	1591
04:35:00	242	188	379	396	1646	1582
04:36:00	237	180	378	393	1621	1585
04:37:00	239	181	389	379	1652	1584
04:38:00	241	184	375	408	1617	1570
04:39:00	235	186	388	394	1622	1609
04:40:00	241	184	371	402	1642	1613
04:41:00	238	182	396	402	1656	1619
04:42:00	245	189	375	394	1667	1614
04:43:00	237	179	392	399	1647	1602
04:44:00	244	181	388	389	1647	1604
04:45:00	235	187	371	405	1639	1600
04:46:00	230	185	395	398	1626	1621
04:47:00	229	188	377	393	1636	1631
04:48:00	236	184	382	399	1652	1593
04:49:00	233	181	378	401	1642	1613
04:50:00	247	189	389	410	1639	1613
04:51:00	244	189	373	397	1652	1603
04:52:00	234	193	373	388	1672	1615
04:53:00	244	186	388	398	1627	1632
04:54:00	234	187	380	397	1652	1636
04:55:00	243	173	392	398	1621	1619
04:56:00	238	175	389	393	1657	1612
04:57:00	250	179	377	410	1645	1645
04:58:00	228	176	388	402	1630	1640
04:59:00	237	180	395	400	1631	1607
05:00:00	243	180	380	409	1660	1634
05:05:00	240	191	379	381	1639	1623
05:10:00	241	182	381	384	1685	1621
05:15:00	231	185	392	406	1645	1637
05:20:00	238	185	384	401	1649	1624
05:25:00	220	192	390	403	1704	1651
05:30:00	237	186	386	391	1659	1662
05:35:00	233	196	384	402	1679	1674
05:40:00	238	185	389	412	1676	1667
05:45:00	240	182	389	401	1730	1663
05:50:00	230	183	379	399	1687	1674
05:55:00	247	187	387	405	1730	1651
06:00:00	236	189	378	408	1726	1704
06:05:00	232	186	384	417	1719	1676
06:10:00	231	189	386	407	1672	1707
06:15:00	240	188	378	401	1741	1708
06:20:00	236	193	397	412	1758	1732
06:25:00	245	192	387	392	1745	1734
06:30:00	246	190	399	402	1745	1727
06:35:00	252	180	377	406	1728	1743
06:40:00	237	198	386	386	1766	1708
06:45:00	238	187	385	393	1774	1739
06:50:00	237	185	385	393	1758	1732
06:55:00	235	195	390	391	1735	1728
07:00:00	243	187	387	404	1735	1741
07:05:00	242	185	394	380	1769	1716
07:10:00	240	189	379	396	1765	1737
07:15:00	235	182	399	393	1766	1768
07:20:00	253	187	390	397	1740	1758
07:25:00	251	178	389	399	1740	1763
07:30:00	251	184	383	400	1771	1753
07:35:00	245	186	384	392	1745	1765
07:40:00	242	190	384	410	1769	1751
07:45:00	244	194	390	404	1766	1762
07:50:00	239	189	387	388	1778	1720
07:55:00	246	194	384	402	1778	1759
08:00:00	241	178	378	404	1788	1776
08:05:00	231	184	385	399	1792	1780
08:10:00	246	186	381	386	1788	1797
08:15:00	245	188	379	393	1813	1757
08:20:00	247	187	374	400	1780	1775
08:25:00	240	182	385	397	1791	1761
08:30:00	240	187	392	405	1790	1740
08:35:00	240	191	398	412	1819	1755
08:40:00	244	191	383	394	1807	1785
08:45:00	229	194	400	412	1797	1819
08:50:00	243	190	385	410	1818	1794
08:55:00	239	175	382	403	1817	1785
09:00:00	250	188	376	407	1790	1766
09:05:00	241	188	385	398	1782	1808
09:10:00	247	192	393	404	1793	1794
09:15:00	238	184	391	410	1804	1800
09:20:00	242	184	392	398	1786	1771
09:25:00	252	177	398	399	1829	1811
09:30:00	256	177	386	408	1807	1816
09:35:00	243	186	385	401	1771	1784
09:40:00	244	185	393	395	1796	1790
09:45:00	250	176	390	396	1787	1813
09:50:00	249	186	387	396	1838	1805
09:55:00	235	197	386	407	1802	1789
10:00:00	248	192	400	396	1822	1785
10:05:00	228	187	393	394	1829	1795
10:10:00	234	187	386	395	1816	1799
10:15:00	244	184	400	415	1835	1801
10:20:00	238	188	404	393	1814	1820
10:25:00	250	184	389	383	1830	1812
10:30:00	242	188	382	408	1820	1803
10:35:00	242	180	384	393	1814	1790
10:40:00	237	192	383	401	1825	1837
10:45:00	242	180	387	386	1837	1815
10:50:00	246	194	389	398	1829	1797
10:55:00	241	182	393	385	1825	1806
11:00:00	246	187	393	402	1846	1828
11:05:00	240	184	391	408	1833	1811
11:10:00	239	181	399	403	1874	1810
11:15:00	249	193	376	388	1812	1823
11:20:00	251	199	412	405	1823	1844
11:25:00	245	184	382	416	1833	1813
11:30:00	229	184	390	416	1837	1844
11:35:00	248	186	400	407	1840	1809
11:40:00	236	192	406	396	1817	1861
11:45:00	243	199	383	392	1829	1835
11:50:00	244	189	382	395	1804	1826
11:55:00	242	193	385	399	1818	1834
12:00:00	240	192	383	401	1820	1866
12:05:00	234	189	382	391	1852	1853
12:10:00	245	187	379	391	1850	1837
12:15:00	234	185	388	394	1829	1817
12:20:00	233	186	377	386	1818	1807
12:25:00	243	186	385	408	1852	1840
12:30:00	258	178	382	395	1856	1817
12:35:00	245	190	386	403	1821	1852
12:40:00	244	189	391	410	1833	1820
12:45:00	244	190	397	409	1833	1873
12:50:00	235	190	383	386	1831	1848
12:55:00	238	188	393	409	1838	1841
13:00:00	244	185	393	411	1861	1829
13:05:00	245	193	390	404	1844	1831
13:10:00	245	185	387	391	1810	1841
13:15:00	228	189	395	405	1822	1818
13:20:00	256	188	382	405	1864	1839
13:25:00	248	185	390	379	1861	1844
13:30:00	230	194	378	400	1837	1847
13:35:00	248	183	379	388	1838	1830
13:40:00	245	193	390	409	1857	1858
13:45:00	238	182	396	386	1862	1870
13:50:00	244	194	384	399	1844	1854
13:55:00	236	184	383	403	1864	1846
14:00:00	248	190	395	406	1842	1848
14:05:00	239	187	399	400	1829	1849
14:10:00	243	201	392	404	1872	1875
14:15:00	242	192	388	391	1870	1853
14:20:00	250	190	384	398	1829	1819
14:25:00	229	190	389	401	1861	1835
14:30:00	242	200	383	394	1842	1825
14:35:00	236	189	386	408	1845	1839
14:40:00	243	182	389	401	1827	1851
14:45:00	234	190	386	421	1868	1822
14:50:00	242	193	395	409	1826	1836
14:55:00	244	183	396	405	1829	1853
15:00:00	236	190	401	400	1828	1858
15:05:00	238	182	397	410	1832	1827
15:10:00	243	199	390	404	1864	1850
15:15:00	246	188	384	401	1844	1877
15:20:00	241	194	375	407	1847	1852
15:25:00	241	192	382	387	1833	1842
15:30:00	245	191	398	401	1854	1869
15:35:00	243	199	381	408	1845	1852
15:40:00	251	182	382	406	1842	1860
15:45:00	235	194	402	402	1888	1850
15:50:00	238	183	387	404	1823	1878
15:55:00	249	182	376	400	1838	1852
16:00:00	245	192	385	406	1867	1856
16:05:00	247	182	392	410	1834	1868
16:10:00	249	190	372	403	1869	1893
16:15:00	247	182	383	398	1886	1852
16:20:00	249	185	392	409	1836	1867
16:25:00	252	187	397	404	1860	1857
16:30:00	235	198	388	401	1866	1853
16:35:00	236	193	383	400	1856	1871
16:40:00	250	180	391	404	1847	1869
16:45:00	243	189	391	403	1861	1836
16:50:00	244	193	386	398	1880	1849
16:55:00	249	182	389	395	1859	1849
17:00:00	249	188	392	408	1862	1864
17:05:00	243	182	386	405	1851	1859
17:10:00	240	183	390	397	1821	1846
17:15:00	234	187	383	394	1849	1833
17:20:00	260	197	395	396	1847	1888
17:25:00	242	198	391	415	1822	1820
17:30:00	238	182	383	392	1826	1824
17:35:00	245	194	391	398	1854	1877
17:40:00	238	197	394	405	1837	1833
17:45:00	239	197	394	404	1838	1854
17:50:00	263	194	391	398	1854	1865
17:55:00	242	179	378	391	1855	1861
18:00:00	243	191	391	398	1843	1884
18:05:00	253	188	391	410	1864	1852
18:10:00	246	191	399	388	1843	1886
18:15:00	234	186	391	395	1834	1872
18:20:00	247	192	394	403	1870	1868
18:25:00	245	190	393	395	1832	1869
18:30:00	247	182	396	399	1887	1885
18:35:00	258	199	375	403	1872	1859
18:40:00	248	198	389	404	1872	1863
18:45:00	246	192	393	403	1868	1872
18:50:00	246	197	384	398	1850	1886
18:55:00	248	194	396	412	1860	1898
19:00:00	232	179	391	409	1874	1871
19:05:00	241	179	385	389	1843	1856
19:10:00	248	184	363	406	1867	1893
19:15:00	249	192	393	403	1843	1857
19:20:00	239	182	391	384	1838	1865
19:25:00	238	186	396	407	1832	1873
19:30:00	249	184	391	392	1840	1856
19:35:00	243	191	388	396	1861	1866
19:40:00	241	188	406	405	1844	1875
19:45:00	244	187	388	402	1854	1852
19:50:00	239	198	397	393	1869	1860
19:55:00	235	193	384	400	1882	1839
20:00:00	242	187	396	396	1851	1859