## Overview
Software Version	3.03.14

Experiment File Path:	C:\Users\Public\Documents\grid gate experiments\2020-03-06_FRET_absorption.xpt
Protocol File Path:	C:\Users\Public\Documents\Protocols\Dr Haley protocols\Cy3Cy5FRET_absorption.prt
Plate Number	Plate 1
Date	3/6/2020
Time	9:38:42 AM
Reader Type:	Synergy H1
Reader Serial Number:	18032120
Reading Type	Reader

Procedure Details
Plate Type	Corning 384 well black clear bottom
Set Temperature	Setpoint 25°C
	Preheat before moving to next step
Start Kinetic	Runtime 3:00:00 (HH:MM:SS), Interval 0:01:00, 181 Reads
Read	Fluorescence Endpoint
	H2..J12
	Filter Set 1
	Excitation: 532, Emission: 600
	Optics: Bottom, Gain: 0
	Light Source: Xenon Flash, Lamp Energy: High
	Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
	Read Height: 9.5 mm
End Kinetic

## Raw Data
Scaffolds at 10nM (for this experiment, always the “one-staple” scaffold)
All other strands at 20nM
This read-out was taken after the system had previously equilibrated
Unlike other readouts, this readout was taken at 532nm excitation, 600nm filter
		H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold
Time	T° 532,600	H2	H4	H6	H8	H10	H12	I2	I4	I6	I8	I10	I12	J2	J4	J6	J8	J10	J12
0:00:00	25.1	31	1475	1317	1376	833	758	28	1477	1326	1364	839	798	38	1398	1239	1331	829	737
0:01:00	25.1	29	1457	1358	1374	834	774	33	1448	1317	1334	836	772	44	1427	1247	1330	817	734
0:02:00	25.1	23	1432	1363	1365	852	769	26	1433	1335	1381	818	734	35	1377	1259	1348	799	798
0:03:00	25.1	38	1445	1378	1344	861	770	40	1398	1374	1343	830	774	54	1379	1195	1323	785	761
0:04:00	25.1	38	1489	1376	1359	821	796	28	1437	1308	1349	819	752	38	1371	1232	1329	855	784
0:05:00	25.1	26	1501	1353	1335	835	772	36	1449	1319	1339	843	783	46	1401	1219	1318	798	791
0:06:00	25.1	25	1461	1331	1384	857	811	33	1446	1367	1404	837	774	45	1382	1253	1325	787	782
0:07:00	25.1	40	1465	1324	1337	856	801	34	1487	1355	1377	830	771	51	1395	1224	1298	757	768
0:08:00	25.1	31	1476	1367	1373	875	783	39	1432	1323	1392	790	750	34	1368	1229	1348	813	771
0:09:00	25.1	31	1472	1332	1393	855	775	30	1436	1276	1391	793	744	42	1363	1214	1339	820	785
0:10:00	25.1	32	1450	1383	1365	840	777	31	1455	1364	1369	780	773	54	1350	1246	1306	820	796
0:11:00	25.1	28	1460	1363	1388	817	784	44	1499	1333	1360	847	751	41	1378	1260	1334	803	786
0:12:00	25.1	30	1436	1354	1362	840	797	29	1460	1303	1367	838	748	54	1442	1219	1324	823	778
0:13:00	25.1	38	1471	1345	1362	849	770	41	1480	1321	1375	801	773	40	1350	1204	1322	827	788
0:14:00	25.1	30	1511	1445	1352	829	792	40	1460	1337	1340	806	749	34	1428	1247	1334	819	782
0:15:00	25.1	42	1473	1410	1338	805	739	30	1463	1330	1338	848	753	40	1430	1229	1289	837	805
0:16:00	25.1	32	1454	1359	1378	840	781	35	1448	1305	1364	818	787	46	1373	1253	1335	829	790
0:17:00	25.1	31	1459	1379	1387	866	771	35	1472	1324	1370	852	769	47	1404	1248	1362	816	764
0:18:00	25.1	35	1496	1384	1385	791	783	34	1454	1307	1345	827	789	40	1353	1244	1313	854	761
0:19:00	25.1	31	1455	1343	1365	840	785	38	1476	1314	1324	831	756	48	1391	1268	1325	832	797
0:20:00	25.1	34	1494	1358	1399	820	750	43	1411	1374	1401	805	757	35	1353	1213	1376	796	772
0:21:00	25.1	41	1463	1362	1376	805	792	26	1501	1368	1389	861	777	41	1379	1270	1334	806	781
0:22:00	25.1	37	1474	1396	1359	835	767	37	1425	1339	1315	819	761	39	1410	1228	1337	824	759
0:23:00	25.1	30	1529	1352	1375	818	757	41	1464	1341	1353	810	765	45	1441	1243	1270	835	764
0:24:00	25.1	28	1447	1335	1374	855	776	40	1473	1389	1371	822	778	43	1381	1237	1339	832	762
0:25:00	25.1	30	1483	1341	1340	866	752	40	1418	1304	1373	826	743	35	1386	1245	1336	828	796
0:26:00	25.1	30	1452	1361	1340	866	771	33	1433	1336	1344	813	749	46	1388	1309	1303	784	761
0:27:00	25.1	39	1480	1370	1336	860	792	29	1464	1345	1318	795	771	43	1366	1254	1333	791	807
0:28:00	25.1	36	1521	1360	1334	830	781	26	1468	1383	1320	818	754	49	1404	1239	1333	786	792
0:29:00	25.1	38	1425	1338	1343	875	800	30	1492	1359	1377	827	727	40	1373	1266	1312	802	793
0:30:00	25.1	36	1417	1307	1339	853	803	35	1461	1335	1330	813	751	58	1420	1229	1347	804	760
0:31:00	25.1	36	1535	1365	1387	847	798	29	1447	1377	1371	825	780	35	1371	1261	1328	824	769
0:32:00	25.1	36	1458	1369	1357	828	792	39	1485	1331	1369	842	766	46	1415	1250	1348	814	763
0:33:00	25.1	31	1463	1341	1363	811	746	37	1445	1340	1359	819	784	42	1409	1310	1349	824	794
0:34:00	25.1	27	1410	1346	1319	837	763	34	1477	1370	1413	804	785	52	1419	1238	1349	810	779
0:35:00	25.1	35	1452	1366	1337	842	775	34	1454	1331	1349	830	772	48	1379	1263	1309	804	774
0:36:00	25.1	39	1440	1381	1354	866	788	30	1430	1356	1397	804	746	41	1364	1241	1296	811	794
0:37:00	25.1	39	1449	1304	1318	831	780	37	1513	1347	1396	813	769	42	1372	1246	1344	815	764
0:38:00	25.1	33	1473	1377	1402	851	761	24	1478	1377	1377	796	730	48	1378	1253	1329	798	752
0:39:00	25.1	36	1445	1349	1340	856	780	36	1414	1360	1371	804	752	51	1394	1242	1338	821	773
0:40:00	25.1	36	1486	1340	1364	845	753	30	1430	1354	1362	811	754	40	1438	1247	1307	779	755
0:41:00	25.1	38	1424	1360	1380	838	764	36	1448	1331	1357	840	750	47	1391	1273	1319	786	788
0:42:00	25.1	34	1488	1382	1427	863	768	31	1465	1357	1331	821	738	39	1402	1251	1348	808	770
0:43:00	25.1	34	1499	1393	1376	814	811	24	1425	1306	1364	830	758	44	1401	1234	1316	818	770
0:44:00	25.1	28	1448	1351	1317	839	771	34	1467	1304	1350	822	741	33	1373	1277	1330	814	786
0:45:00	25.1	22	1472	1368	1351	854	788	29	1470	1365	1405	838	784	43	1306	1248	1345	829	755
0:46:00	25.1	38	1491	1331	1360	847	797	35	1470	1333	1415	831	766	39	1429	1236	1344	859	785
0:47:00	25.1	25	1462	1354	1342	829	775	36	1464	1323	1411	813	784	46	1424	1261	1301	798	815
0:48:00	25.1	32	1484	1379	1306	859	760	29	1445	1318	1351	837	754	42	1387	1264	1281	766	761
0:49:00	25.1	31	1492	1362	1387	831	761	31	1409	1311	1343	816	758	50	1386	1245	1322	807	748
0:50:00	25.1	30	1516	1402	1342	838	765	35	1444	1336	1403	820	762	37	1394	1276	1333	829	799
0:51:00	25.1	33	1478	1326	1394	837	771	45	1430	1337	1358	801	769	42	1384	1267	1330	814	741
0:52:00	25.1	36	1456	1385	1369	816	797	30	1447	1339	1409	811	779	47	1382	1277	1322	781	777
0:53:00	25.1	32	1469	1342	1340	818	745	30	1432	1338	1379	805	753	48	1368	1233	1310	800	790
0:54:00	25.1	39	1477	1358	1383	830	751	37	1427	1332	1408	804	725	43	1410	1255	1343	791	780
0:55:00	25.1	33	1465	1376	1407	833	795	30	1405	1326	1386	824	773	48	1404	1248	1335	803	770
0:56:00	25.1	30	1463	1317	1358	808	780	33	1453	1310	1353	839	741	42	1454	1237	1324	834	747
0:57:00	25.1	34	1476	1372	1343	847	772	36	1460	1354	1361	820	770	43	1387	1227	1334	803	760
0:58:00	25.1	19	1490	1363	1377	812	760	26	1478	1323	1360	778	772	40	1416	1248	1329	803	789
0:59:00	25.1	32	1477	1352	1377	817	787	37	1441	1359	1329	843	768	44	1407	1272	1306	853	771
1:00:00	25.1	32	1467	1345	1371	878	784	31	1447	1324	1374	801	757	52	1378	1270	1337	806	749
1:01:00	25.1	38	1433	1367	1364	819	775	36	1487	1320	1341	822	751	43	1427	1252	1305	796	751
1:02:00	25.1	31	1441	1415	1355	824	823	34	1441	1350	1387	821	759	40	1390	1279	1323	842	749
1:03:00	25.1	38	1467	1353	1355	833	783	35	1412	1295	1399	845	735	51	1357	1189	1346	785	755
1:04:00	25.1	31	1472	1362	1378	809	793	37	1497	1345	1362	837	769	45	1417	1229	1333	819	760
1:05:00	25.1	35	1501	1377	1371	852	771	36	1477	1351	1352	820	757	41	1383	1259	1330	825	783
1:06:00	25.1	31	1469	1361	1330	789	789	35	1421	1332	1386	858	775	50	1409	1284	1330	770	770
1:07:00	25.1	23	1452	1321	1354	875	782	41	1473	1366	1347	815	734	36	1401	1212	1325	814	761
1:08:00	25.1	31	1505	1349	1405	834	772	35	1443	1360	1342	818	793	37	1394	1233	1331	795	765
1:09:00	25.1	35	1460	1332	1364	827	778	34	1471	1315	1416	815	784	43	1397	1223	1312	776	755
1:10:00	25.1	34	1481	1331	1399	845	805	24	1390	1318	1325	824	795	41	1382	1230	1332	839	758
1:11:00	25.1	37	1439	1339	1396	829	806	35	1447	1354	1336	866	763	41	1384	1268	1320	782	793
1:12:00	25.1	34	1407	1351	1374	828	809	43	1413	1346	1355	824	768	37	1413	1264	1376	805	767
1:13:00	25.1	31	1490	1347	1327	837	779	33	1447	1348	1359	804	755	45	1376	1257	1364	822	788
1:14:00	25.1	31	1490	1328	1342	878	785	27	1421	1326	1389	829	777	40	1385	1244	1308	795	781
1:15:00	25.1	35	1455	1368	1357	855	766	34	1463	1323	1406	829	759	39	1374	1271	1380	808	754
1:16:00	25.1	33	1488	1358	1343	833	806	30	1444	1327	1365	806	776	45	1365	1257	1323	802	774
1:17:00	25.1	32	1480	1343	1413	845	777	32	1423	1329	1397	834	758	39	1412	1241	1355	810	771
1:18:00	25.1	34	1476	1341	1399	847	777	36	1442	1338	1357	814	740	36	1383	1264	1291	769	786
1:19:00	25.1	31	1495	1375	1398	816	769	33	1488	1304	1379	807	806	35	1376	1238	1351	803	762
1:20:00	25.1	35	1490	1380	1341	825	785	40	1449	1324	1339	837	764	43	1386	1250	1318	811	755
1:21:00	25.1	31	1472	1382	1322	842	790	28	1494	1319	1379	822	769	45	1393	1230	1339	812	771
1:22:00	25.1	27	1438	1362	1351	848	770	28	1474	1332	1365	804	759	39	1436	1218	1278	807	772
1:23:00	25.1	24	1455	1323	1348	818	776	36	1473	1351	1365	819	766	35	1405	1230	1313	800	765
1:24:00	25.1	35	1458	1353	1343	838	765	35	1454	1356	1305	822	774	49	1385	1255	1370	835	754
1:25:00	25.1	28	1479	1358	1357	855	747	28	1443	1356	1398	804	755	44	1380	1290	1365	829	788
1:26:00	25.1	32	1476	1344	1366	811	776	28	1435	1308	1391	823	797	46	1338	1218	1364	809	768
1:27:00	25.1	34	1506	1368	1340	796	771	30	1458	1340	1367	818	789	43	1366	1244	1286	828	790
1:28:00	25.1	26	1479	1317	1361	856	780	32	1464	1332	1352	825	772	35	1397	1245	1324	834	777
1:29:00	25.1	33	1460	1297	1385	855	789	30	1422	1347	1392	853	721	41	1428	1235	1303	800	765
1:30:00	25.1	30	1516	1343	1397	827	776	38	1432	1279	1358	822	773	49	1442	1277	1356	833	756
1:31:00	25.1	31	1464	1362	1395	855	762	34	1485	1343	1392	831	740	39	1419	1271	1324	805	773
1:32:00	25.1	36	1445	1375	1310	849	779	27	1459	1351	1333	848	745	44	1372	1206	1317	826	731
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0

## Analysis
Time	H1 (Cy5)	H2 (Cy3)	H1+H2	H1+H2 + both staples	H1+H2 + scaffold	H1+H2 + both staples + scaffold	GH components, scaffold @ 10nM, strand @ 20nM / Time (HH:MM:SS) / Signal
00:00:00	32	1450	1294	1357	834	764
00:01:00	35	1444	1307	1346	829	760
00:02:00	28	1414	1319	1365	823	767
00:03:00	44	1407	1316	1337	825	768
00:04:00	35	1432	1305	1346	832	777
00:05:00	36	1450	1297	1331	825	782
00:06:00	34	1430	1317	1371	827	789
00:07:00	42	1449	1301	1337	814	780
00:08:00	35	1425	1306	1371	826	768
00:09:00	34	1424	1274	1374	823	768
00:10:00	39	1418	1331	1347	813	782
00:11:00	38	1446	1319	1361	822	774
00:12:00	38	1446	1292	1351	834	774
00:13:00	40	1434	1290	1353	826	777
00:14:00	35	1466	1343	1342	818	774
00:15:00	37	1455	1323	1322	830	766
00:16:00	38	1425	1306	1359	829	786
00:17:00	38	1445	1317	1373	845	768
00:18:00	36	1434	1312	1348	824	778
00:19:00	39	1441	1308	1338	834	779
00:20:00	37	1419	1315	1392	807	760
00:21:00	36	1448	1333	1366	824	783
00:22:00	38	1436	1321	1337	826	762
00:23:00	39	1478	1312	1333	821	762
00:24:00	37	1434	1320	1361	836	772
00:25:00	35	1429	1297	1350	840	764
00:26:00	36	1424	1335	1329	821	760
00:27:00	37	1437	1323	1329	815	790
00:28:00	37	1464	1327	1329	811	776
00:29:00	36	1430	1321	1344	835	773
00:30:00	43	1433	1290	1339	823	771
00:31:00	33	1451	1334	1362	832	782
00:32:00	40	1453	1317	1358	828	774
00:33:00	37	1439	1330	1357	818	775
00:34:00	38	1435	1318	1360	817	776
00:35:00	39	1428	1320	1332	825	774
00:36:00	37	1411	1326	1349	827	776
00:37:00	39	1445	1299	1353	820	771
00:38:00	35	1443	1336	1369	815	748
00:39:00	41	1418	1317	1350	827	768
00:40:00	35	1451	1314	1344	812	754
00:41:00	40	1421	1321	1352	821	767
00:42:00	35	1452	1330	1369	831	759
00:43:00	34	1442	1311	1352	821	780
00:44:00	32	1429	1311	1332	825	766
00:45:00	31	1416	1327	1367	840	776
00:46:00	37	1463	1300	1373	846	783
00:47:00	36	1450	1313	1351	813	791
00:48:00	34	1439	1320	1313	821	758
00:49:00	37	1429	1306	1351	818	756
00:50:00	34	1451	1338	1359	829	775
00:51:00	40	1431	1310	1361	817	760
00:52:00	38	1428	1334	1367	803	784
00:53:00	37	1423	1304	1343	808	763
00:54:00	40	1438	1315	1378	808	752
00:55:00	37	1425	1317	1376	820	779
00:56:00	35	1457	1288	1345	827	756
00:57:00	38	1441	1318	1346	823	767
00:58:00	28	1461	1311	1355	798	774
00:59:00	38	1442	1328	1337	838	775
01:00:00	38	1431	1313	1361	828	763
01:01:00	39	1449	1313	1337	812	759
01:02:00	35	1424	1348	1355	829	777
01:03:00	41	1412	1279	1367	821	758
01:04:00	38	1462	1312	1358	822	774
01:05:00	37	1454	1329	1351	832	770
01:06:00	39	1433	1326	1349	806	778
01:07:00	33	1442	1300	1342	835	759
01:08:00	34	1447	1314	1359	816	777
01:09:00	37	1443	1290	1364	806	772
01:10:00	33	1418	1293	1352	836	786
01:11:00	38	1423	1320	1351	826	787
01:12:00	38	1411	1320	1368	819	781
01:13:00	36	1438	1317	1350	821	774
01:14:00	33	1432	1299	1346	834	781
01:15:00	36	1431	1321	1381	831	760
01:16:00	36	1432	1314	1344	814	785
01:17:00	34	1438	1304	1388	830	769
01:18:00	35	1434	1314	1349	810	768
01:19:00	33	1453	1306	1376	809	779
01:20:00	39	1442	1318	1333	824	768
01:21:00	35	1453	1310	1347	825	777
01:22:00	31	1449	1304	1331	820	767
01:23:00	32	1444	1301	1342	812	769
01:24:00	40	1432	1321	1339	832	764
01:25:00	33	1434	1335	1373	829	763
01:26:00	35	1416	1290	1374	814	780
01:27:00	36	1443	1317	1331	814	783
01:28:00	31	1447	1298	1346	838	776
01:29:00	35	1437	1293	1360	836	758
01:30:00	39	1463	1300	1370	827	768
01:31:00	35	1456	1325	1370	830	758
01:32:00	36	1425	1311	1320	841	752