## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\Public\Documents\grid gate experiments\2020-03-12_overnight_anneal_panel.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Dr Haley protocols\Cy3Cy5FRET_20_hr.prt
Plate Number | Plate 1
Date | 2020-03-12
Time | 10:33
Reader Type: | Synergy H1
Reader Serial Number: | 18032120
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 well black clear bottom
Set Temperature | Setpoint 25°C
Preheat before moving to next step
Start Kinetic | Runtime 20:00:00 (HH:MM:SS), Interval 0:02:00, 601 Reads
Read | Fluorescence Endpoint
N1..P14
Filter Set 1
Excitation: 532, Emission: 665
Optics: Bottom, Gain: 0
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
End Kinetic

## Sheet1
Time | T° 532,665 | N1 | N2 | N3 | N4 | N5 | N6 | N7 | N8 | N9 | N10 | N11 | N12 | N13 | N14 | O1 | O2 | O3 | O4 | O5 | O6 | O7 | O8 | O9 | O10 | O11 | O12 | O13 | O14 | P1 | P2 | P3 | P4 | P5 | P6 | P7 | P8 | P9 | P10 | P11 | P12 | P13 | P14
0:00 | 25.1 | 1493 | 1180 | 3438 | 1230 | 2100 | 2355 | 1098 | 1040 | 1105 | 1052 | 1690 | 1781 | 1554 | 1322 | 1503 | 1069 | 3306 | 1215 | 2061 | 2297 | 1086 | 995 | 1076 | 1022 | 1692 | 1710 | 1536 | 1343 | 1439 | 1052 | 3326 | 1188 | 2070 | 2309 | 1073 | 1052 | 1041 | 1026 | 1622 | 1747 | 1530 | 1336
0:02 | 25.1 | 1496 | 1131 | 3373 | 1197 | 2060 | 2358 | 1136 | 996 | 1078 | 1057 | 1679 | 1809 | 1518 | 1307 | 1496 | 1082 | 3305 | 1222 | 2057 | 2333 | 1084 | 1025 | 1041 | 1015 | 1649 | 1705 | 1472 | 1334 | 1471 | 1066 | 3325 | 1185 | 1965 | 2319 | 1028 | 1028 | 1015 | 1024 | 1633 | 1767 | 1516 | 1349
0:04 | 25 | 1535 | 1104 | 3349 | 1215 | 1958 | 2328 | 1103 | 983 | 1022 | 1059 | 1653 | 1717 | 1513 | 1354 | 1449 | 1102 | 3337 | 1182 | 2023 | 2320 | 1107 | 1022 | 1008 | 975 | 1642 | 1728 | 1535 | 1339 | 1519 | 1059 | 3431 | 1204 | 1914 | 2293 | 1040 | 1051 | 1028 | 994 | 1591 | 1752 | 1464 | 1315
0:06 | 25 | 1506 | 1163 | 3379 | 1166 | 1927 | 2318 | 1075 | 1018 | 1035 | 1080 | 1651 | 1786 | 1555 | 1306 | 1425 | 1072 | 3304 | 1174 | 1980 | 2257 | 1091 | 959 | 1043 | 992 | 1609 | 1679 | 1523 | 1304 | 1464 | 1024 | 3349 | 1219 | 1950 | 2285 | 1055 | 1009 | 1051 | 1008 | 1588 | 1713 | 1449 | 1300
0:08 | 25 | 1510 | 1161 | 3424 | 1181 | 1933 | 2334 | 1104 | 995 | 1058 | 1020 | 1623 | 1734 | 1533 | 1352 | 1466 | 1024 | 3282 | 1161 | 1887 | 2239 | 1130 | 1019 | 1043 | 1026 | 1638 | 1655 | 1518 | 1289 | 1451 | 1020 | 3346 | 1110 | 1917 | 2313 | 1045 | 1036 | 1021 | 1002 | 1573 | 1715 | 1491 | 1317
0:10 | 25 | 1484 | 1114 | 3356 | 1130 | 1917 | 2292 | 1090 | 1038 | 1015 | 1033 | 1667 | 1780 | 1556 | 1330 | 1440 | 1045 | 3288 | 1171 | 1878 | 2226 | 1105 | 991 | 1013 | 1000 | 1593 | 1629 | 1477 | 1328 | 1411 | 1018 | 3311 | 1191 | 1938 | 2299 | 1068 | 1039 | 1020 | 948 | 1654 | 1730 | 1510 | 1284
0:12 | 25.1 | 1494 | 1118 | 3356 | 1134 | 1915 | 2259 | 1103 | 990 | 1012 | 1028 | 1680 | 1740 | 1504 | 1284 | 1435 | 1048 | 3276 | 1131 | 1838 | 2212 | 1058 | 1008 | 1050 | 1032 | 1631 | 1696 | 1520 | 1369 | 1434 | 1046 | 3301 | 1146 | 1914 | 2248 | 1095 | 1034 | 990 | 999 | 1593 | 1721 | 1518 | 1312
0:14 | 25.1 | 1473 | 1095 | 3353 | 1097 | 1882 | 2318 | 1106 | 1009 | 1039 | 975 | 1637 | 1755 | 1483 | 1346 | 1442 | 1084 | 3249 | 1140 | 1865 | 2232 | 1052 | 960 | 1023 | 997 | 1628 | 1686 | 1464 | 1305 | 1458 | 1027 | 3313 | 1150 | 1814 | 2309 | 997 | 1031 | 1013 | 1012 | 1544 | 1687 | 1493 | 1261
0:16 | 25.1 | 1516 | 1094 | 3322 | 1147 | 1858 | 2283 | 1089 | 1006 | 1022 | 1052 | 1658 | 1725 | 1544 | 1349 | 1449 | 1088 | 3246 | 1140 | 1830 | 2221 | 1096 | 954 | 1042 | 946 | 1615 | 1723 | 1470 | 1334 | 1441 | 1002 | 3369 | 1151 | 1891 | 2318 | 1008 | 1008 | 1003 | 980 | 1592 | 1713 | 1503 | 1298
0:18 | 25.1 | 1468 | 1061 | 3354 | 1116 | 1828 | 2227 | 1075 | 976 | 1051 | 1044 | 1630 | 1725 | 1515 | 1339 | 1398 | 1029 | 3280 | 1142 | 1818 | 2238 | 1088 | 984 | 1003 | 997 | 1598 | 1678 | 1491 | 1300 | 1439 | 1020 | 3342 | 1168 | 1838 | 2245 | 1068 | 1057 | 1039 | 970 | 1609 | 1745 | 1554 | 1269
0:20 | 25.1 | 1475 | 1063 | 3276 | 1159 | 1836 | 2233 | 1055 | 995 | 1047 | 1004 | 1638 | 1673 | 1522 | 1326 | 1452 | 1011 | 3240 | 1130 | 1802 | 2238 | 1091 | 968 | 1023 | 1004 | 1597 | 1669 | 1479 | 1358 | 1429 | 983 | 3353 | 1134 | 1859 | 2306 | 1077 | 998 | 1001 | 942 | 1602 | 1693 | 1445 | 1318
0:22 | 25.1 | 1508 | 1061 | 3295 | 1153 | 1813 | 2234 | 1070 | 1003 | 1068 | 1024 | 1652 | 1743 | 1470 | 1293 | 1480 | 1012 | 3267 | 1070 | 1799 | 2246 | 1071 | 1000 | 1008 | 974 | 1612 | 1689 | 1470 | 1298 | 1441 | 978 | 3306 | 1125 | 1815 | 2266 | 1041 | 1003 | 1022 | 987 | 1625 | 1729 | 1496 | 1282
0:24 | 25.1 | 1455 | 1067 | 3339 | 1144 | 1799 | 2249 | 1062 | 972 | 1047 | 1009 | 1627 | 1737 | 1528 | 1269 | 1472 | 1047 | 3304 | 1037 | 1821 | 2291 | 1042 | 1008 | 1009 | 1014 | 1555 | 1645 | 1505 | 1302 | 1412 | 996 | 3316 | 1156 | 1806 | 2277 | 1056 | 984 | 1007 | 993 | 1625 | 1678 | 1484 | 1294
0:26 | 25.1 | 1468 | 1092 | 3375 | 1130 | 1831 | 2241 | 1054 | 1010 | 1033 | 988 | 1571 | 1774 | 1501 | 1325 | 1446 | 1028 | 3263 | 1108 | 1784 | 2184 | 1074 | 970 | 1007 | 931 | 1632 | 1672 | 1488 | 1331 | 1423 | 1026 | 3409 | 1167 | 1815 | 2229 | 1037 | 1038 | 992 | 976 | 1577 | 1680 | 1473 | 1262
0:28 | 25.1 | 1493 | 1050 | 3325 | 1090 | 1764 | 2160 | 1056 | 994 | 1043 | 990 | 1596 | 1725 | 1527 | 1298 | 1449 | 1060 | 3312 | 1086 | 1773 | 2218 | 1048 | 965 | 1025 | 990 | 1559 | 1655 | 1443 | 1329 | 1445 | 1024 | 3370 | 1102 | 1816 | 2234 | 999 | 1035 | 1008 | 981 | 1597 | 1733 | 1483 | 1291
0:30 | 25.1 | 1449 | 1077 | 3314 | 1144 | 1747 | 2181 | 1117 | 977 | 1037 | 993 | 1651 | 1731 | 1483 | 1304 | 1451 | 1039 | 3247 | 1108 | 1795 | 2217 | 1059 | 981 | 1017 | 980 | 1592 | 1701 | 1446 | 1237 | 1441 | 986 | 3368 | 1107 | 1856 | 2246 | 1080 | 993 | 1021 | 970 | 1583 | 1672 | 1513 | 1300
0:32 | 25.1 | 1448 | 1074 | 3319 | 1100 | 1801 | 2244 | 1090 | 1017 | 1046 | 1027 | 1637 | 1696 | 1502 | 1301 | 1468 | 1073 | 3337 | 1127 | 1794 | 2236 | 1039 | 982 | 1025 | 980 | 1620 | 1717 | 1455 | 1335 | 1463 | 999 | 3295 | 1154 | 1789 | 2231 | 1072 | 998 | 1023 | 956 | 1625 | 1727 | 1505 | 1286
0:34 | 25.1 | 1461 | 1052 | 3332 | 1137 | 1790 | 2254 | 1069 | 1017 | 1051 | 1019 | 1605 | 1690 | 1501 | 1298 | 1447 | 1015 | 3309 | 1103 | 1767 | 2198 | 1034 | 995 | 1025 | 947 | 1605 | 1639 | 1435 | 1318 | 1452 | 1024 | 3348 | 1155 | 1796 | 2287 | 1013 | 1019 | 975 | 997 | 1561 | 1697 | 1471 | 1296
0:36 | 25.1 | 1477 | 1047 | 3256 | 1117 | 1753 | 2253 | 1056 | 960 | 1019 | 991 | 1663 | 1726 | 1451 | 1328 | 1427 | 1037 | 3296 | 1123 | 1735 | 2212 | 1080 | 952 | 1038 | 934 | 1570 | 1677 | 1487 | 1333 | 1452 | 988 | 3307 | 1112 | 1779 | 2289 | 1123 | 1031 | 1056 | 967 | 1582 | 1723 | 1512 | 1271
0:38 | 25.1 | 1475 | 1049 | 3372 | 1128 | 1787 | 2271 | 1061 | 963 | 1032 | 1035 | 1654 | 1735 | 1539 | 1308 | 1473 | 1057 | 3267 | 1109 | 1754 | 2194 | 1071 | 963 | 1016 | 969 | 1604 | 1669 | 1460 | 1323 | 1439 | 1020 | 3291 | 1154 | 1737 | 2244 | 1005 | 1003 | 1012 | 987 | 1550 | 1719 | 1491 | 1314
0:40 | 25 | 1455 | 1019 | 3376 | 1145 | 1781 | 2186 | 1073 | 1013 | 1046 | 1012 | 1657 | 1707 | 1534 | 1321 | 1480 | 1048 | 3299 | 1095 | 1745 | 2275 | 1046 | 953 | 1028 | 976 | 1604 | 1663 | 1479 | 1348 | 1411 | 978 | 3352 | 1105 | 1763 | 2273 | 1073 | 971 | 1001 | 984 | 1523 | 1701 | 1467 | 1265
0:42 | 25.1 | 1519 | 1044 | 3343 | 1080 | 1767 | 2245 | 1060 | 977 | 1020 | 975 | 1639 | 1774 | 1502 | 1303 | 1421 | 1030 | 3339 | 1058 | 1688 | 2211 | 1070 | 967 | 1034 | 973 | 1627 | 1659 | 1498 | 1291 | 1446 | 997 | 3344 | 1109 | 1779 | 2246 | 1042 | 1037 | 1005 | 1005 | 1601 | 1689 | 1489 | 1258
0:44 | 25.1 | 1451 | 1032 | 3335 | 1105 | 1778 | 2238 | 1026 | 978 | 1040 | 1010 | 1607 | 1742 | 1515 | 1319 | 1436 | 1052 | 3256 | 1105 | 1766 | 2214 | 1041 | 951 | 1044 | 975 | 1604 | 1679 | 1514 | 1352 | 1460 | 996 | 3324 | 1081 | 1795 | 2220 | 1065 | 1004 | 1021 | 976 | 1543 | 1721 | 1473 | 1316
0:46 | 25.1 | 1487 | 1032 | 3279 | 1100 | 1726 | 2256 | 1061 | 993 | 1058 | 987 | 1609 | 1734 | 1536 | 1286 | 1435 | 1003 | 3305 | 1147 | 1742 | 2188 | 1047 | 962 | 976 | 938 | 1621 | 1694 | 1481 | 1291 | 1408 | 979 | 3383 | 1088 | 1774 | 2208 | 1042 | 1019 | 1028 | 1014 | 1569 | 1721 | 1503 | 1264
0:48 | 25.1 | 1457 | 1099 | 3307 | 1112 | 1793 | 2194 | 1086 | 1019 | 1046 | 1001 | 1647 | 1681 | 1570 | 1292 | 1405 | 1027 | 3224 | 1078 | 1722 | 2221 | 1089 | 964 | 1021 | 1030 | 1606 | 1595 | 1484 | 1334 | 1492 | 1010 | 3382 | 1102 | 1792 | 2273 | 1048 | 1032 | 1012 | 964 | 1565 | 1712 | 1446 | 1330
0:50 | 25.1 | 1433 | 1057 | 3370 | 1084 | 1760 | 2327 | 1113 | 969 | 1087 | 1007 | 1664 | 1698 | 1492 | 1357 | 1450 | 1023 | 3277 | 1075 | 1790 | 2235 | 1041 | 942 | 1027 | 1011 | 1641 | 1644 | 1469 | 1287 | 1495 | 1019 | 3301 | 1097 | 1744 | 2236 | 1069 | 992 | 1032 | 932 | 1538 | 1690 | 1483 | 1284
0:52 | 25.1 | 1489 | 1065 | 3328 | 1138 | 1771 | 2235 | 1102 | 961 | 1079 | 1031 | 1576 | 1735 | 1530 | 1264 | 1465 | 997 | 3291 | 1089 | 1748 | 2172 | 1055 | 987 | 980 | 1007 | 1645 | 1686 | 1452 | 1266 | 1403 | 1013 | 3325 | 1135 | 1768 | 2260 | 1019 | 971 | 1028 | 967 | 1576 | 1708 | 1506 | 1265
0:54 | 25.1 | 1469 | 1065 | 3324 | 1075 | 1728 | 2203 | 1039 | 989 | 1053 | 1005 | 1673 | 1751 | 1529 | 1310 | 1458 | 1068 | 3360 | 1058 | 1747 | 2163 | 1079 | 990 | 986 | 953 | 1607 | 1655 | 1515 | 1262 | 1406 | 992 | 3364 | 1118 | 1763 | 2315 | 1044 | 1031 | 1005 | 962 | 1557 | 1701 | 1438 | 1292
0:56 | 25.1 | 1457 | 1005 | 3365 | 1107 | 1803 | 2213 | 1058 | 978 | 1040 | 994 | 1603 | 1746 | 1497 | 1238 | 1440 | 1040 | 3278 | 1076 | 1804 | 2251 | 1046 | 956 | 998 | 961 | 1545 | 1694 | 1492 | 1338 | 1470 | 1031 | 3328 | 1088 | 1797 | 2242 | 1073 | 991 | 999 | 921 | 1594 | 1741 | 1474 | 1335
0:58 | 25.1 | 1472 | 1066 | 3375 | 1099 | 1766 | 2198 | 1038 | 991 | 1048 | 987 | 1646 | 1736 | 1523 | 1314 | 1467 | 994 | 3319 | 1098 | 1690 | 2299 | 1072 | 965 | 991 | 975 | 1611 | 1674 | 1503 | 1271 | 1445 | 990 | 3343 | 1159 | 1794 | 2213 | 1069 | 1025 | 995 | 956 | 1581 | 1713 | 1547 | 1316
1:00 | 25.1 | 1497 | 1031 | 3325 | 1103 | 1725 | 2222 | 1066 | 965 | 1014 | 1007 | 1640 | 1711 | 1508 | 1289 | 1414 | 1009 | 3311 | 1065 | 1801 | 2199 | 1102 | 1015 | 978 | 984 | 1621 | 1646 | 1496 | 1297 | 1469 | 989 | 3310 | 1143 | 1746 | 2260 | 1043 | 1048 | 1016 | 960 | 1584 | 1674 | 1526 | 1297
1:02 | 25.1 | 1498 | 1051 | 3311 | 1070 | 1797 | 2267 | 1063 | 963 | 1042 | 1037 | 1621 | 1711 | 1506 | 1298 | 1414 | 1036 | 3302 | 1055 | 1761 | 2233 | 1062 | 972 | 1024 | 987 | 1580 | 1711 | 1450 | 1307 | 1459 | 1033 | 3322 | 1114 | 1765 | 2221 | 1025 | 968 | 1013 | 975 | 1577 | 1701 | 1520 | 1270
1:04 | 25.1 | 1491 | 1035 | 3275 | 1136 | 1766 | 2226 | 1085 | 991 | 1026 | 982 | 1608 | 1734 | 1476 | 1324 | 1465 | 1049 | 3336 | 1104 | 1748 | 2219 | 1063 | 982 | 1020 | 968 | 1624 | 1692 | 1453 | 1352 | 1465 | 1015 | 3420 | 1139 | 1798 | 2296 | 1032 | 998 | 1037 | 952 | 1599 | 1705 | 1486 | 1293
1:06 | 25.1 | 1447 | 1072 | 3383 | 1064 | 1744 | 2179 | 1043 | 990 | 1029 | 1029 | 1573 | 1724 | 1514 | 1278 | 1428 | 1012 | 3294 | 1102 | 1735 | 2210 | 1049 | 953 | 1027 | 976 | 1600 | 1708 | 1506 | 1305 | 1474 | 1019 | 3335 | 1111 | 1804 | 2287 | 1048 | 991 | 1025 | 966 | 1574 | 1702 | 1500 | 1271
1:08 | 25.1 | 1514 | 1068 | 3324 | 1078 | 1718 | 2237 | 1057 | 1012 | 1045 | 1015 | 1611 | 1731 | 1526 | 1282 | 1449 | 1025 | 3224 | 1044 | 1755 | 2255 | 1053 | 935 | 1029 | 935 | 1575 | 1667 | 1494 | 1301 | 1429 | 995 | 3359 | 1113 | 1756 | 2240 | 1059 | 1048 | 981 | 1011 | 1590 | 1697 | 1486 | 1275
1:10 | 25.1 | 1490 | 1072 | 3321 | 1093 | 1812 | 2260 | 1059 | 960 | 1011 | 1021 | 1641 | 1753 | 1462 | 1321 | 1397 | 1022 | 3245 | 1067 | 1736 | 2223 | 1047 | 972 | 1032 | 950 | 1634 | 1662 | 1449 | 1334 | 1468 | 1019 | 3365 | 1081 | 1748 | 2275 | 1082 | 1014 | 999 | 968 | 1596 | 1693 | 1488 | 1277
1:12 | 25.1 | 1493 | 1046 | 3337 | 1105 | 1744 | 2255 | 1119 | 1006 | 1077 | 998 | 1668 | 1730 | 1528 | 1315 | 1458 | 1023 | 3368 | 1087 | 1737 | 2253 | 1068 | 987 | 994 | 957 | 1582 | 1652 | 1476 | 1265 | 1485 | 1016 | 3363 | 1148 | 1764 | 2252 | 1045 | 1008 | 1022 | 970 | 1568 | 1682 | 1478 | 1319
1:14 | 25.1 | 1449 | 1056 | 3429 | 1128 | 1705 | 2293 | 1045 | 1023 | 1024 | 1015 | 1620 | 1686 | 1514 | 1299 | 1412 | 1012 | 3297 | 1054 | 1736 | 2196 | 1045 | 965 | 1003 | 980 | 1588 | 1660 | 1492 | 1297 | 1448 | 1003 | 3398 | 1131 | 1785 | 2259 | 1057 | 1016 | 1010 | 967 | 1616 | 1658 | 1466 | 1316
1:16 | 25.1 | 1468 | 1056 | 3369 | 1069 | 1719 | 2277 | 1074 | 967 | 1023 | 996 | 1626 | 1739 | 1482 | 1297 | 1462 | 997 | 3387 | 1123 | 1710 | 2277 | 1058 | 959 | 995 | 988 | 1623 | 1682 | 1483 | 1311 | 1420 | 996 | 3410 | 1113 | 1755 | 2346 | 1066 | 999 | 1005 | 953 | 1573 | 1675 | 1487 | 1260
1:18 | 25.1 | 1476 | 1089 | 3374 | 1143 | 1769 | 2219 | 1045 | 1011 | 1029 | 1015 | 1574 | 1685 | 1533 | 1339 | 1406 | 1035 | 3291 | 1100 | 1766 | 2258 | 1042 | 981 | 1002 | 988 | 1656 | 1629 | 1488 | 1240 | 1467 | 984 | 3320 | 1081 | 1807 | 2226 | 1059 | 1017 | 1026 | 964 | 1558 | 1682 | 1471 | 1287
1:20 | 25.1 | 1483 | 1049 | 3361 | 1104 | 1726 | 2272 | 1076 | 996 | 1028 | 1017 | 1654 | 1692 | 1542 | 1319 | 1433 | 999 | 3355 | 1089 | 1795 | 2247 | 1067 | 981 | 1007 | 1001 | 1639 | 1677 | 1488 | 1286 | 1486 | 995 | 3373 | 1148 | 1722 | 2253 | 1049 | 992 | 1009 | 972 | 1593 | 1674 | 1496 | 1271
1:22 | 25.1 | 1506 | 1070 | 3369 | 1129 | 1765 | 2257 | 1052 | 969 | 1043 | 1058 | 1620 | 1707 | 1530 | 1283 | 1444 | 993 | 3341 | 1056 | 1716 | 2251 | 1053 | 980 | 993 | 983 | 1607 | 1678 | 1449 | 1272 | 1426 | 1004 | 3360 | 1115 | 1781 | 2260 | 1056 | 1013 | 969 | 982 | 1556 | 1670 | 1473 | 1321
1:24 | 25.1 | 1512 | 1048 | 3347 | 1062 | 1768 | 2208 | 1038 | 983 | 1032 | 1004 | 1639 | 1713 | 1498 | 1280 | 1457 | 1051 | 3302 | 1081 | 1729 | 2265 | 1110 | 962 | 1000 | 959 | 1574 | 1634 | 1505 | 1294 | 1457 | 1009 | 3367 | 1172 | 1792 | 2290 | 1012 | 1002 | 983 | 1000 | 1578 | 1669 | 1454 | 1278
1:26 | 25.1 | 1456 | 1060 | 3291 | 1098 | 1768 | 2317 | 1089 | 975 | 1014 | 1001 | 1594 | 1736 | 1555 | 1320 | 1437 | 1010 | 3323 | 1106 | 1764 | 2261 | 1063 | 986 | 997 | 956 | 1586 | 1741 | 1468 | 1263 | 1452 | 970 | 3427 | 1131 | 1793 | 2251 | 1073 | 988 | 979 | 966 | 1539 | 1680 | 1448 | 1271
1:28 | 25.1 | 1487 | 1028 | 3384 | 1102 | 1756 | 2216 | 1068 | 1001 | 1015 | 1009 | 1609 | 1716 | 1459 | 1319 | 1513 | 1039 | 3332 | 1086 | 1763 | 2253 | 1053 | 982 | 1002 | 943 | 1630 | 1607 | 1505 | 1299 | 1503 | 1019 | 3298 | 1093 | 1761 | 2292 | 1021 | 988 | 995 | 1004 | 1554 | 1762 | 1469 | 1257
1:30 | 25.1 | 1465 | 1061 | 3353 | 1075 | 1740 | 2229 | 1071 | 943 | 1048 | 1066 | 1647 | 1656 | 1507 | 1323 | 1447 | 1060 | 3237 | 1098 | 1693 | 2192 | 1085 | 950 | 1032 | 970 | 1604 | 1714 | 1486 | 1301 | 1423 | 973 | 3457 | 1131 | 1817 | 2248 | 1087 | 984 | 991 | 966 | 1566 | 1670 | 1443 | 1316
1:32 | 25.1 | 1442 | 1031 | 3295 | 1096 | 1789 | 2262 | 1048 | 981 | 1001 | 995 | 1578 | 1737 | 1495 | 1275 | 1458 | 1067 | 3244 | 1111 | 1717 | 2221 | 1067 | 966 | 1024 | 969 | 1608 | 1690 | 1473 | 1297 | 1455 | 1025 | 3252 | 1142 | 1730 | 2212 | 1022 | 1021 | 1008 | 987 | 1555 | 1690 | 1447 | 1298
1:34 | 25.1 | 1490 | 1044 | 3292 | 1109 | 1804 | 2321 | 1057 | 992 | 1005 | 1032 | 1614 | 1702 | 1499 | 1337 | 1409 | 1039 | 3250 | 1093 | 1716 | 2218 | 1074 | 970 | 998 | 945 | 1611 | 1651 | 1485 | 1307 | 1420 | 1013 | 3352 | 1082 | 1817 | 2270 | 1032 | 1021 | 1009 | 968 | 1563 | 1731 | 1454 | 1270
1:36 | 25.1 | 1503 | 1076 | 3356 | 1097 | 1768 | 2202 | 1068 | 978 | 1015 | 1005 | 1620 | 1722 | 1524 | 1288 | 1453 | 1037 | 3253 | 1076 | 1773 | 2201 | 1058 | 964 | 993 | 999 | 1585 | 1675 | 1428 | 1284 | 1461 | 1056 | 3372 | 1146 | 1786 | 2228 | 1106 | 1009 | 1012 | 955 | 1579 | 1677 | 1476 | 1347
1:38 | 25.1 | 1486 | 993 | 3370 | 1082 | 1735 | 2200 | 1091 | 959 | 1004 | 1014 | 1607 | 1721 | 1531 | 1325 | 1487 | 963 | 3286 | 1117 | 1713 | 2229 | 1048 | 976 | 981 | 957 | 1624 | 1710 | 1464 | 1309 | 1425 | 965 | 3376 | 1147 | 1750 | 2254 | 1020 | 1016 | 1007 | 957 | 1575 | 1715 | 1465 | 1285
1:40 | 25.1 | 1484 | 1061 | 3333 | 1083 | 1772 | 2241 | 1012 | 977 | 1026 | 1016 | 1624 | 1700 | 1515 | 1309 | 1445 | 1031 | 3293 | 1020 | 1777 | 2246 | 1052 | 964 | 1025 | 972 | 1590 | 1675 | 1427 | 1320 | 1386 | 999 | 3397 | 1080 | 1719 | 2288 | 1071 | 1011 | 996 | 934 | 1570 | 1732 | 1520 | 1312
1:42 | 25.1 | 1540 | 1087 | 3383 | 1094 | 1770 | 2254 | 1059 | 966 | 1018 | 993 | 1638 | 1711 | 1479 | 1281 | 1445 | 1026 | 3320 | 1062 | 1721 | 2188 | 1066 | 994 | 996 | 912 | 1619 | 1651 | 1471 | 1306 | 1439 | 999 | 3343 | 1113 | 1767 | 2274 | 1083 | 998 | 956 | 994 | 1578 | 1650 | 1491 | 1271
1:44 | 25.1 | 1480 | 1056 | 3327 | 1092 | 1792 | 2235 | 1048 | 971 | 1063 | 1045 | 1666 | 1705 | 1513 | 1292 | 1464 | 1019 | 3288 | 1089 | 1707 | 2249 | 1071 | 995 | 1029 | 978 | 1594 | 1712 | 1500 | 1295 | 1470 | 993 | 3460 | 1096 | 1740 | 2324 | 1045 | 1013 | 988 | 994 | 1559 | 1707 | 1481 | 1274
1:46 | 25.1 | 1442 | 1035 | 3425 | 1126 | 1762 | 2304 | 1044 | 957 | 1083 | 1034 | 1603 | 1741 | 1512 | 1354 | 1428 | 1025 | 3315 | 1062 | 1704 | 2283 | 1077 | 959 | 995 | 954 | 1581 | 1640 | 1478 | 1290 | 1437 | 1019 | 3367 | 1071 | 1762 | 2290 | 1003 | 1034 | 986 | 984 | 1578 | 1680 | 1459 | 1321
1:48 | 25.1 | 1492 | 1060 | 3366 | 1096 | 1768 | 2213 | 1046 | 983 | 1028 | 1006 | 1654 | 1722 | 1559 | 1329 | 1455 | 977 | 3322 | 1096 | 1769 | 2239 | 1065 | 975 | 972 | 972 | 1574 | 1667 | 1503 | 1319 | 1414 | 992 | 3322 | 1120 | 1736 | 2350 | 1045 | 1010 | 972 | 1017 | 1552 | 1715 | 1394 | 1261
1:50 | 25.1 | 1490 | 1091 | 3396 | 1058 | 1750 | 2250 | 1061 | 998 | 1038 | 975 | 1633 | 1715 | 1531 | 1291 | 1426 | 1028 | 3259 | 1053 | 1733 | 2237 | 1073 | 980 | 1027 | 973 | 1590 | 1704 | 1479 | 1307 | 1456 | 1027 | 3352 | 1114 | 1727 | 2282 | 1006 | 1010 | 995 | 1001 | 1550 | 1704 | 1485 | 1239
1:52 | 25.1 | 1480 | 1075 | 3346 | 1101 | 1759 | 2285 | 1058 | 982 | 1029 | 1045 | 1595 | 1774 | 1504 | 1324 | 1454 | 1017 | 3297 | 1099 | 1753 | 2228 | 1050 | 935 | 1012 | 982 | 1630 | 1712 | 1461 | 1334 | 1503 | 1023 | 3349 | 1124 | 1758 | 2300 | 1042 | 985 | 984 | 944 | 1577 | 1636 | 1506 | 1285
1:54 | 25.1 | 1499 | 1030 | 3397 | 1087 | 1773 | 2302 | 1085 | 985 | 1000 | 985 | 1601 | 1658 | 1458 | 1251 | 1450 | 982 | 3374 | 1103 | 1747 | 2285 | 1045 | 985 | 1017 | 978 | 1588 | 1679 | 1477 | 1299 | 1476 | 979 | 3424 | 1103 | 1767 | 2261 | 1037 | 972 | 967 | 989 | 1580 | 1691 | 1475 | 1280
1:56 | 25.1 | 1510 | 1035 | 3269 | 1107 | 1798 | 2229 | 1081 | 956 | 1026 | 996 | 1612 | 1644 | 1478 | 1298 | 1425 | 1041 | 3471 | 1083 | 1744 | 2250 | 1051 | 951 | 994 | 979 | 1624 | 1714 | 1489 | 1298 | 1443 | 1045 | 3327 | 1156 | 1738 | 2290 | 1063 | 947 | 953 | 979 | 1564 | 1725 | 1497 | 1316
1:58 | 25.1 | 1458 | 1053 | 3410 | 1109 | 1720 | 2273 | 1070 | 955 | 1018 | 999 | 1611 | 1729 | 1514 | 1363 | 1448 | 1041 | 3308 | 1100 | 1750 | 2241 | 1084 | 1046 | 1026 | 996 | 1585 | 1653 | 1433 | 1298 | 1407 | 1026 | 3325 | 1134 | 1735 | 2266 | 1047 | 1018 | 1004 | 996 | 1608 | 1714 | 1453 | 1297
2:00 | 25.1 | 1516 | 1034 | 3364 | 1051 | 1752 | 2280 | 1033 | 961 | 1057 | 984 | 1647 | 1732 | 1493 | 1280 | 1457 | 1040 | 3267 | 1088 | 1742 | 2261 | 1063 | 964 | 1025 | 989 | 1581 | 1677 | 1479 | 1332 | 1458 | 1016 | 3370 | 1117 | 1827 | 2303 | 1049 | 1026 | 1009 | 997 | 1564 | 1678 | 1487 | 1309
2:02 | 25.1 | 1445 | 1047 | 3410 | 1082 | 1735 | 2252 | 1036 | 930 | 1017 | 1000 | 1654 | 1685 | 1529 | 1317 | 1458 | 999 | 3300 | 1079 | 1772 | 2258 | 1037 | 963 | 1015 | 965 | 1601 | 1672 | 1498 | 1298 | 1483 | 1005 | 3356 | 1134 | 1757 | 2238 | 1085 | 994 | 1008 | 934 | 1600 | 1693 | 1477 | 1294
2:04 | 25.1 | 1511 | 1047 | 3426 | 1085 | 1748 | 2227 | 1054 | 970 | 1056 | 1013 | 1628 | 1756 | 1514 | 1290 | 1450 | 1031 | 3302 | 1109 | 1734 | 2206 | 1124 | 966 | 1029 | 1016 | 1616 | 1676 | 1487 | 1295 | 1486 | 997 | 3337 | 1110 | 1726 | 2253 | 1034 | 1021 | 1009 | 965 | 1584 | 1673 | 1466 | 1243
2:06 | 25.1 | 1541 | 1055 | 3424 | 1071 | 1715 | 2247 | 1041 | 1029 | 1039 | 999 | 1597 | 1737 | 1489 | 1333 | 1412 | 1028 | 3307 | 1068 | 1742 | 2259 | 1076 | 959 | 1015 | 1003 | 1632 | 1681 | 1469 | 1265 | 1440 | 1030 | 3387 | 1132 | 1779 | 2253 | 1086 | 1015 | 1035 | 967 | 1606 | 1700 | 1483 | 1324
2:08 | 25.1 | 1505 | 1032 | 3420 | 1094 | 1718 | 2208 | 1067 | 969 | 1029 | 1014 | 1670 | 1714 | 1496 | 1307 | 1436 | 1024 | 3295 | 1079 | 1739 | 2249 | 1098 | 1012 | 981 | 948 | 1583 | 1700 | 1504 | 1311 | 1471 | 1001 | 3365 | 1114 | 1743 | 2313 | 1039 | 1013 | 975 | 968 | 1566 | 1719 | 1530 | 1308
2:10 | 25.1 | 1460 | 1029 | 3369 | 1069 | 1754 | 2230 | 1072 | 963 | 1028 | 994 | 1577 | 1726 | 1532 | 1281 | 1435 | 1085 | 3215 | 1089 | 1695 | 2244 | 1070 | 989 | 991 | 973 | 1570 | 1646 | 1451 | 1226 | 1472 | 1019 | 3371 | 1110 | 1775 | 2316 | 1037 | 1013 | 1014 | 977 | 1574 | 1697 | 1461 | 1264
2:12 | 25.1 | 1485 | 1021 | 3391 | 1124 | 1737 | 2246 | 1110 | 966 | 1054 | 990 | 1592 | 1745 | 1478 | 1287 | 1458 | 1066 | 3327 | 1067 | 1769 | 2219 | 1060 | 988 | 993 | 1026 | 1574 | 1626 | 1439 | 1261 | 1495 | 993 | 3396 | 1087 | 1785 | 2331 | 1044 | 978 | 1051 | 928 | 1598 | 1703 | 1468 | 1292
2:14 | 25.1 | 1503 | 1057 | 3390 | 1084 | 1757 | 2217 | 1068 | 984 | 1008 | 1040 | 1679 | 1693 | 1476 | 1288 | 1452 | 1038 | 3275 | 1092 | 1769 | 2266 | 1050 | 959 | 1010 | 980 | 1588 | 1660 | 1486 | 1293 | 1446 | 1020 | 3418 | 1153 | 1769 | 2350 | 1019 | 1011 | 973 | 953 | 1551 | 1684 | 1499 | 1253
2:16 | 25.1 | 1498 | 1054 | 3360 | 1080 | 1733 | 2236 | 1033 | 967 | 1042 | 1010 | 1599 | 1687 | 1483 | 1325 | 1450 | 1029 | 3325 | 1107 | 1739 | 2210 | 1072 | 904 | 976 | 1015 | 1598 | 1680 | 1498 | 1255 | 1475 | 968 | 3392 | 1088 | 1769 | 2323 | 1033 | 984 | 954 | 991 | 1558 | 1717 | 1475 | 1331
2:18 | 25.1 | 1497 | 1041 | 3411 | 1117 | 1773 | 2332 | 1096 | 964 | 1068 | 987 | 1629 | 1707 | 1519 | 1312 | 1434 | 1008 | 3361 | 1075 | 1711 | 2178 | 1090 | 935 | 1021 | 956 | 1547 | 1700 | 1450 | 1275 | 1497 | 1002 | 3388 | 1106 | 1781 | 2250 | 1059 | 1000 | 991 | 997 | 1584 | 1689 | 1494 | 1265
2:20 | 25.1 | 1482 | 1048 | 3406 | 1115 | 1727 | 2338 | 1064 | 951 | 1074 | 1016 | 1605 | 1699 | 1532 | 1352 | 1409 | 1003 | 3319 | 1111 | 1705 | 2209 | 1052 | 953 | 1033 | 968 | 1615 | 1641 | 1476 | 1304 | 1462 | 1005 | 3428 | 1126 | 1742 | 2293 | 1031 | 1000 | 997 | 948 | 1572 | 1699 | 1493 | 1294
2:22 | 25.1 | 1539 | 1013 | 3318 | 1079 | 1760 | 2286 | 1050 | 991 | 1034 | 1013 | 1612 | 1646 | 1515 | 1296 | 1436 | 1017 | 3319 | 1104 | 1729 | 2267 | 1035 | 971 | 995 | 955 | 1568 | 1618 | 1449 | 1364 | 1432 | 1026 | 3306 | 1119 | 1762 | 2231 | 1052 | 975 | 969 | 958 | 1580 | 1710 | 1448 | 1320
2:24 | 25.1 | 1492 | 1037 | 3365 | 1115 | 1741 | 2294 | 1079 | 1000 | 1024 | 1009 | 1643 | 1706 | 1506 | 1327 | 1461 | 1015 | 3335 | 1092 | 1704 | 2257 | 1037 | 970 | 985 | 958 | 1612 | 1704 | 1450 | 1316 | 1467 | 1015 | 3384 | 1101 | 1733 | 2324 | 1033 | 1008 | 1006 | 988 | 1561 | 1669 | 1477 | 1274
2:26 | 25.1 | 1478 | 1066 | 3373 | 1103 | 1786 | 2305 | 1065 | 1001 | 1027 | 1006 | 1651 | 1746 | 1533 | 1308 | 1444 | 1002 | 3346 | 1088 | 1793 | 2208 | 1042 | 911 | 982 | 979 | 1578 | 1662 | 1492 | 1325 | 1473 | 1020 | 3380 | 1076 | 1782 | 2239 | 1053 | 1001 | 995 | 955 | 1584 | 1706 | 1488 | 1271
2:28 | 25.1 | 1493 | 1052 | 3360 | 1094 | 1737 | 2276 | 1031 | 963 | 1018 | 967 | 1625 | 1739 | 1491 | 1323 | 1416 | 1048 | 3351 | 1133 | 1778 | 2246 | 1040 | 977 | 998 | 968 | 1600 | 1660 | 1426 | 1317 | 1421 | 986 | 3369 | 1096 | 1771 | 2261 | 1035 | 1038 | 1005 | 939 | 1548 | 1666 | 1448 | 1285
2:30 | 25.1 | 1506 | 1026 | 3369 | 1082 | 1738 | 2265 | 1052 | 1000 | 1040 | 1024 | 1602 | 1719 | 1450 | 1291 | 1440 | 1018 | 3312 | 1109 | 1759 | 2284 | 1044 | 935 | 1024 | 970 | 1594 | 1674 | 1495 | 1254 | 1434 | 980 | 3309 | 1106 | 1781 | 2271 | 1057 | 1028 | 1041 | 974 | 1587 | 1697 | 1493 | 1283
2:32 | 25.1 | 1575 | 1002 | 3315 | 1060 | 1734 | 2265 | 1088 | 961 | 1048 | 1028 | 1619 | 1714 | 1514 | 1293 | 1451 | 1011 | 3321 | 1141 | 1710 | 2245 | 1093 | 977 | 1032 | 990 | 1586 | 1695 | 1478 | 1292 | 1453 | 1005 | 3459 | 1113 | 1778 | 2275 | 1076 | 1078 | 1010 | 972 | 1548 | 1703 | 1474 | 1271
2:34 | 25.1 | 1474 | 1035 | 3415 | 1115 | 1712 | 2265 | 1033 | 1011 | 1035 | 1039 | 1620 | 1766 | 1469 | 1332 | 1458 | 996 | 3362 | 1051 | 1745 | 2295 | 1025 | 965 | 969 | 959 | 1546 | 1675 | 1469 | 1267 | 1463 | 1025 | 3426 | 1146 | 1733 | 2226 | 1056 | 1009 | 999 | 981 | 1548 | 1670 | 1454 | 1278
2:36 | 25.1 | 1508 | 1031 | 3329 | 1112 | 1761 | 2225 | 1090 | 977 | 998 | 1020 | 1637 | 1733 | 1511 | 1306 | 1440 | 1004 | 3352 | 1068 | 1731 | 2230 | 1066 | 956 | 981 | 963 | 1622 | 1705 | 1495 | 1274 | 1457 | 982 | 3457 | 1111 | 1762 | 2225 | 1058 | 1004 | 997 | 991 | 1555 | 1719 | 1495 | 1274
2:38 | 25.1 | 1503 | 1098 | 3406 | 1113 | 1757 | 2273 | 1041 | 1000 | 1047 | 956 | 1603 | 1698 | 1510 | 1306 | 1456 | 987 | 3275 | 1049 | 1739 | 2252 | 1070 | 970 | 1046 | 957 | 1572 | 1669 | 1478 | 1289 | 1436 | 1051 | 3426 | 1116 | 1767 | 2247 | 1020 | 1014 | 978 | 1008 | 1571 | 1686 | 1449 | 1248
2:40 | 25.1 | 1491 | 1079 | 3365 | 1109 | 1737 | 2271 | 1064 | 960 | 1015 | 956 | 1615 | 1724 | 1504 | 1300 | 1418 | 1058 | 3350 | 1046 | 1738 | 2314 | 1077 | 977 | 987 | 931 | 1604 | 1682 | 1505 | 1333 | 1486 | 988 | 3397 | 1138 | 1754 | 2330 | 1046 | 990 | 1010 | 943 | 1582 | 1726 | 1491 | 1289
2:42 | 25.1 | 1528 | 1075 | 3352 | 1122 | 1698 | 2294 | 1037 | 958 | 1036 | 969 | 1643 | 1721 | 1497 | 1335 | 1449 | 1003 | 3380 | 1105 | 1743 | 2228 | 1077 | 996 | 1033 | 977 | 1576 | 1684 | 1462 | 1270 | 1430 | 1002 | 3380 | 1095 | 1822 | 2300 | 1080 | 982 | 1017 | 949 | 1569 | 1739 | 1515 | 1264
2:44 | 25.1 | 1497 | 1025 | 3368 | 1073 | 1766 | 2266 | 1052 | 1006 | 1032 | 1007 | 1640 | 1706 | 1478 | 1315 | 1456 | 978 | 3328 | 1065 | 1729 | 2274 | 1047 | 941 | 969 | 979 | 1561 | 1673 | 1444 | 1291 | 1456 | 1002 | 3391 | 1069 | 1719 | 2393 | 1062 | 1022 | 1034 | 975 | 1564 | 1638 | 1445 | 1315
2:46 | 25.1 | 1488 | 1082 | 3389 | 1101 | 1737 | 2318 | 1042 | 1011 | 1023 | 1000 | 1620 | 1693 | 1458 | 1295 | 1491 | 1032 | 3397 | 1105 | 1739 | 2259 | 1099 | 974 | 972 | 1001 | 1535 | 1657 | 1432 | 1312 | 1478 | 1039 | 3362 | 1111 | 1711 | 2283 | 1057 | 1023 | 997 | 962 | 1547 | 1708 | 1438 | 1295
2:48 | 25.1 | 1484 | 1039 | 3341 | 1106 | 1754 | 2296 | 1068 | 979 | 1075 | 1011 | 1636 | 1732 | 1438 | 1314 | 1482 | 1014 | 3273 | 1099 | 1719 | 2267 | 1073 | 980 | 1013 | 957 | 1576 | 1705 | 1460 | 1302 | 1495 | 1026 | 3401 | 1099 | 1776 | 2317 | 1072 | 1027 | 993 | 954 | 1561 | 1678 | 1454 | 1273
2:50 | 25.1 | 1497 | 1015 | 3342 | 1085 | 1755 | 2296 | 1055 | 954 | 1072 | 955 | 1656 | 1761 | 1478 | 1289 | 1478 | 1013 | 3288 | 1071 | 1731 | 2277 | 1057 | 991 | 998 | 955 | 1632 | 1700 | 1457 | 1286 | 1465 | 1002 | 3390 | 1081 | 1733 | 2265 | 1048 | 1038 | 1044 | 976 | 1598 | 1739 | 1448 | 1293
2:52 | 25.1 | 1485 | 1049 | 3450 | 1161 | 1754 | 2292 | 1070 | 919 | 1046 | 1033 | 1612 | 1706 | 1517 | 1301 | 1463 | 1059 | 3338 | 1074 | 1734 | 2267 | 1055 | 923 | 990 | 961 | 1633 | 1618 | 1484 | 1276 | 1477 | 999 | 3435 | 1080 | 1765 | 2338 | 1050 | 1003 | 1001 | 953 | 1534 | 1714 | 1481 | 1285
2:54 | 25.1 | 1509 | 1033 | 3343 | 1099 | 1728 | 2288 | 1074 | 970 | 1076 | 1002 | 1622 | 1668 | 1478 | 1283 | 1397 | 1023 | 3353 | 1086 | 1730 | 2232 | 1090 | 990 | 1002 | 948 | 1557 | 1699 | 1490 | 1277 | 1474 | 1023 | 3315 | 1102 | 1805 | 2285 | 998 | 1016 | 996 | 996 | 1615 | 1722 | 1525 | 1298
2:56 | 25.1 | 1447 | 1029 | 3348 | 1101 | 1777 | 2279 | 1065 | 1004 | 1066 | 1001 | 1619 | 1709 | 1499 | 1277 | 1445 | 1012 | 3291 | 1065 | 1696 | 2283 | 1029 | 959 | 984 | 978 | 1644 | 1675 | 1480 | 1300 | 1471 | 975 | 3413 | 1103 | 1722 | 2275 | 1074 | 1022 | 997 | 966 | 1566 | 1703 | 1473 | 1287
2:58 | 25.1 | 1490 | 1071 | 3430 | 1078 | 1760 | 2290 | 1044 | 995 | 1058 | 1019 | 1591 | 1723 | 1491 | 1266 | 1430 | 994 | 3358 | 1116 | 1744 | 2269 | 1040 | 985 | 1012 | 994 | 1559 | 1710 | 1459 | 1291 | 1448 | 1013 | 3361 | 1121 | 1781 | 2276 | 1053 | 1043 | 990 | 992 | 1570 | 1701 | 1456 | 1330
3:00 | 25.1 | 1464 | 1006 | 3326 | 1067 | 1760 | 2298 | 1061 | 986 | 1025 | 1015 | 1619 | 1691 | 1503 | 1348 | 1465 | 1002 | 3358 | 1095 | 1727 | 2276 | 1043 | 961 | 1011 | 979 | 1632 | 1664 | 1456 | 1282 | 1423 | 984 | 3382 | 1190 | 1749 | 2326 | 1025 | 969 | 983 | 951 | 1605 | 1701 | 1479 | 1295
3:02 | 25.1 | 1487 | 1058 | 3399 | 1141 | 1743 | 2234 | 1043 | 953 | 968 | 1018 | 1647 | 1697 | 1515 | 1336 | 1427 | 1038 | 3306 | 1097 | 1816 | 2252 | 1052 | 960 | 1002 | 936 | 1608 | 1662 | 1477 | 1301 | 1414 | 994 | 3371 | 1120 | 1722 | 2317 | 1114 | 995 | 1046 | 981 | 1575 | 1721 | 1490 | 1261
3:04 | 25.1 | 1501 | 1069 | 3383 | 1111 | 1813 | 2254 | 1076 | 986 | 1019 | 1025 | 1605 | 1720 | 1536 | 1352 | 1465 | 1011 | 3330 | 1119 | 1752 | 2230 | 1045 | 944 | 1022 | 977 | 1646 | 1683 | 1504 | 1299 | 1499 | 1022 | 3469 | 1166 | 1776 | 2333 | 1071 | 973 | 988 | 935 | 1618 | 1734 | 1506 | 1280
3:06 | 25.1 | 1538 | 1037 | 3340 | 1073 | 1757 | 2194 | 1025 | 973 | 991 | 1028 | 1631 | 1728 | 1494 | 1334 | 1469 | 1035 | 3329 | 1154 | 1701 | 2302 | 1053 | 952 | 979 | 971 | 1608 | 1676 | 1484 | 1283 | 1496 | 1011 | 3471 | 1123 | 1764 | 2265 | 1038 | 1016 | 992 | 947 | 1565 | 1691 | 1547 | 1263
3:08 | 25.1 | 1492 | 1026 | 3318 | 1049 | 1798 | 2274 | 1072 | 999 | 1006 | 1038 | 1674 | 1735 | 1505 | 1276 | 1450 | 1011 | 3235 | 1097 | 1736 | 2270 | 1058 | 966 | 981 | 1008 | 1611 | 1643 | 1484 | 1314 | 1456 | 993 | 3442 | 1121 | 1746 | 2287 | 1028 | 1019 | 1001 | 987 | 1578 | 1640 | 1479 | 1299
3:10 | 25.1 | 1448 | 1019 | 3369 | 1144 | 1733 | 2274 | 1088 | 976 | 1005 | 986 | 1623 | 1717 | 1572 | 1320 | 1436 | 1031 | 3278 | 1073 | 1747 | 2269 | 1086 | 985 | 988 | 985 | 1598 | 1679 | 1457 | 1295 | 1459 | 1005 | 3477 | 1094 | 1770 | 2282 | 1063 | 1014 | 992 | 954 | 1608 | 1683 | 1483 | 1300
3:12 | 25.1 | 1484 | 1052 | 3419 | 1085 | 1745 | 2301 | 1039 | 964 | 1028 | 1052 | 1619 | 1713 | 1490 | 1317 | 1479 | 993 | 3332 | 1135 | 1716 | 2257 | 1057 | 988 | 1020 | 939 | 1593 | 1681 | 1479 | 1302 | 1470 | 972 | 3439 | 1080 | 1777 | 2261 | 1061 | 985 | 1016 | 982 | 1567 | 1665 | 1437 | 1274
3:14 | 25.1 | 1512 | 1061 | 3360 | 1093 | 1783 | 2278 | 1027 | 998 | 1064 | 1016 | 1638 | 1719 | 1539 | 1323 | 1491 | 1030 | 3348 | 1100 | 1760 | 2220 | 1068 | 1009 | 977 | 944 | 1615 | 1681 | 1519 | 1346 | 1441 | 987 | 3459 | 1077 | 1792 | 2358 | 1044 | 975 | 1007 | 994 | 1619 | 1675 | 1500 | 1356
3:16 | 25.1 | 1520 | 1070 | 3335 | 1058 | 1744 | 2327 | 1013 | 986 | 1050 | 1004 | 1583 | 1688 | 1515 | 1316 | 1458 | 1033 | 3346 | 1098 | 1742 | 2263 | 1103 | 940 | 1020 | 936 | 1589 | 1689 | 1487 | 1260 | 1456 | 1026 | 3463 | 1162 | 1792 | 2342 | 1058 | 984 | 994 | 966 | 1523 | 1741 | 1490 | 1272
3:18 | 25.1 | 1480 | 1105 | 3401 | 1115 | 1735 | 2296 | 1061 | 955 | 1039 | 997 | 1668 | 1727 | 1526 | 1313 | 1413 | 1001 | 3334 | 1124 | 1769 | 2254 | 1083 | 943 | 999 | 968 | 1587 | 1653 | 1509 | 1330 | 1475 | 992 | 3488 | 1094 | 1796 | 2277 | 1080 | 1008 | 975 | 948 | 1580 | 1730 | 1489 | 1283
3:20 | 25.1 | 1508 | 1024 | 3380 | 1102 | 1708 | 2363 | 1031 | 971 | 1034 | 997 | 1607 | 1711 | 1493 | 1345 | 1454 | 1032 | 3284 | 1089 | 1725 | 2270 | 1044 | 981 | 1005 | 975 | 1626 | 1654 | 1487 | 1314 | 1462 | 998 | 3411 | 1135 | 1735 | 2300 | 1039 | 981 | 1037 | 976 | 1540 | 1690 | 1451 | 1268
3:22 | 25.1 | 1518 | 1047 | 3434 | 1129 | 1778 | 2297 | 1119 | 959 | 1008 | 1043 | 1672 | 1762 | 1538 | 1327 | 1438 | 1004 | 3316 | 1083 | 1752 | 2279 | 1045 | 934 | 999 | 941 | 1636 | 1633 | 1496 | 1313 | 1488 | 1008 | 3346 | 1183 | 1764 | 2343 | 1043 | 987 | 994 | 965 | 1533 | 1684 | 1470 | 1286
3:24 | 25.1 | 1494 | 1021 | 3432 | 1116 | 1749 | 2282 | 1064 | 969 | 1046 | 1038 | 1621 | 1697 | 1503 | 1286 | 1473 | 1013 | 3301 | 1095 | 1690 | 2246 | 1058 | 966 | 1038 | 966 | 1538 | 1652 | 1441 | 1279 | 1444 | 987 | 3480 | 1082 | 1785 | 2298 | 1043 | 1011 | 1027 | 958 | 1597 | 1722 | 1485 | 1248
3:26 | 25.1 | 1432 | 1053 | 3319 | 1067 | 1779 | 2273 | 1051 | 972 | 1012 | 1015 | 1664 | 1678 | 1513 | 1325 | 1432 | 1058 | 3267 | 1076 | 1729 | 2289 | 1073 | 940 | 1003 | 977 | 1605 | 1645 | 1482 | 1312 | 1456 | 1004 | 3436 | 1111 | 1765 | 2221 | 1072 | 997 | 1023 | 941 | 1559 | 1710 | 1479 | 1283
3:28 | 25.1 | 1486 | 1060 | 3381 | 1068 | 1732 | 2273 | 1073 | 990 | 1008 | 1040 | 1588 | 1732 | 1475 | 1312 | 1461 | 1020 | 3337 | 1075 | 1742 | 2324 | 1041 | 1008 | 1035 | 972 | 1619 | 1660 | 1499 | 1301 | 1473 | 984 | 3383 | 1104 | 1784 | 2298 | 1060 | 986 | 1016 | 967 | 1527 | 1678 | 1488 | 1281
3:30 | 25.1 | 1527 | 1033 | 3353 | 1117 | 1767 | 2322 | 1058 | 978 | 1045 | 988 | 1635 | 1734 | 1518 | 1308 | 1422 | 1057 | 3287 | 1068 | 1740 | 2314 | 1066 | 1001 | 966 | 982 | 1611 | 1702 | 1455 | 1311 | 1495 | 987 | 3365 | 1103 | 1784 | 2284 | 1055 | 976 | 997 | 969 | 1619 | 1702 | 1457 | 1280
3:32 | 25.1 | 1533 | 1037 | 3433 | 1128 | 1797 | 2260 | 1044 | 966 | 1018 | 991 | 1655 | 1763 | 1511 | 1339 | 1454 | 1037 | 3292 | 1107 | 1717 | 2261 | 1081 | 958 | 977 | 951 | 1542 | 1735 | 1484 | 1307 | 1436 | 1020 | 3351 | 1130 | 1745 | 2321 | 1051 | 1000 | 963 | 951 | 1567 | 1714 | 1436 | 1296
3:34 | 25.1 | 1512 | 1066 | 3340 | 1096 | 1768 | 2260 | 1070 | 959 | 1059 | 982 | 1605 | 1729 | 1516 | 1335 | 1488 | 1006 | 3296 | 1088 | 1720 | 2275 | 1095 | 978 | 1047 | 954 | 1580 | 1700 | 1518 | 1307 | 1511 | 999 | 3438 | 1118 | 1805 | 2292 | 1048 | 966 | 1029 | 957 | 1603 | 1713 | 1470 | 1298
3:36 | 25.1 | 1505 | 1041 | 3316 | 1079 | 1737 | 2297 | 1031 | 960 | 1009 | 1012 | 1653 | 1723 | 1452 | 1349 | 1447 | 1022 | 3314 | 1089 | 1759 | 2289 | 1049 | 978 | 984 | 957 | 1537 | 1746 | 1482 | 1306 | 1481 | 1003 | 3388 | 1069 | 1780 | 2254 | 1049 | 1022 | 1001 | 982 | 1521 | 1697 | 1496 | 1316
3:38 | 25.1 | 1525 | 1060 | 3428 | 1081 | 1801 | 2317 | 1081 | 968 | 1038 | 1005 | 1602 | 1725 | 1521 | 1270 | 1452 | 1012 | 3400 | 1057 | 1752 | 2186 | 1073 | 973 | 993 | 969 | 1560 | 1658 | 1525 | 1313 | 1487 | 988 | 3503 | 1111 | 1770 | 2252 | 1046 | 1045 | 988 | 951 | 1558 | 1711 | 1495 | 1309
3:40 | 25.1 | 1455 | 1019 | 3404 | 1149 | 1792 | 2270 | 1073 | 981 | 1017 | 1030 | 1644 | 1790 | 1493 | 1305 | 1471 | 1028 | 3313 | 1080 | 1734 | 2253 | 1048 | 953 | 1021 | 973 | 1618 | 1634 | 1470 | 1274 | 1463 | 1028 | 3393 | 1110 | 1830 | 2349 | 1041 | 1002 | 983 | 981 | 1625 | 1658 | 1538 | 1297
3:42 | 25.1 | 1505 | 1059 | 3363 | 1093 | 1763 | 2349 | 1101 | 999 | 1011 | 1026 | 1621 | 1725 | 1517 | 1270 | 1508 | 986 | 3328 | 1123 | 1734 | 2230 | 1063 | 968 | 1001 | 971 | 1588 | 1674 | 1489 | 1303 | 1523 | 1035 | 3395 | 1139 | 1727 | 2273 | 1054 | 1020 | 984 | 950 | 1569 | 1719 | 1468 | 1280
3:44 | 25.1 | 1534 | 1079 | 3356 | 1092 | 1816 | 2320 | 1087 | 1024 | 1041 | 1037 | 1657 | 1733 | 1507 | 1311 | 1441 | 1030 | 3299 | 1088 | 1754 | 2254 | 1053 | 943 | 995 | 1038 | 1618 | 1649 | 1499 | 1299 | 1438 | 969 | 3345 | 1116 | 1741 | 2268 | 1105 | 988 | 1020 | 987 | 1537 | 1685 | 1445 | 1267
3:46 | 25.1 | 1535 | 1036 | 3348 | 1092 | 1787 | 2258 | 1063 | 964 | 992 | 1043 | 1645 | 1713 | 1488 | 1329 | 1431 | 1033 | 3330 | 1093 | 1761 | 2204 | 1043 | 929 | 968 | 952 | 1591 | 1657 | 1501 | 1304 | 1478 | 1010 | 3414 | 1095 | 1759 | 2301 | 1054 | 1033 | 1003 | 979 | 1610 | 1695 | 1519 | 1292
3:48 | 25.1 | 1523 | 1048 | 3393 | 1096 | 1785 | 2285 | 1076 | 972 | 1035 | 1006 | 1609 | 1710 | 1498 | 1334 | 1443 | 1054 | 3364 | 1109 | 1723 | 2304 | 1070 | 936 | 964 | 957 | 1576 | 1677 | 1506 | 1272 | 1492 | 1008 | 3420 | 1129 | 1822 | 2215 | 1107 | 1007 | 998 | 995 | 1608 | 1702 | 1502 | 1256
3:50 | 25.1 | 1560 | 1003 | 3341 | 1071 | 1784 | 2335 | 1079 | 981 | 1000 | 1001 | 1719 | 1719 | 1508 | 1320 | 1438 | 1012 | 3303 | 1089 | 1754 | 2209 | 1059 | 981 | 984 | 965 | 1635 | 1659 | 1506 | 1248 | 1485 | 1011 | 3384 | 1064 | 1798 | 2298 | 1046 | 1006 | 966 | 990 | 1607 | 1697 | 1507 | 1270
3:52 | 25.1 | 1519 | 1062 | 3447 | 1120 | 1738 | 2250 | 1039 | 989 | 1032 | 1018 | 1594 | 1707 | 1480 | 1336 | 1459 | 1042 | 3361 | 1099 | 1709 | 2330 | 1041 | 1002 | 988 | 982 | 1639 | 1622 | 1477 | 1274 | 1467 | 1006 | 3396 | 1091 | 1754 | 2321 | 1031 | 1022 | 1006 | 958 | 1567 | 1702 | 1452 | 1281
3:54 | 25.1 | 1475 | 1015 | 3367 | 1121 | 1734 | 2277 | 1026 | 1001 | 1045 | 1019 | 1619 | 1674 | 1506 | 1295 | 1479 | 1017 | 3335 | 1065 | 1728 | 2233 | 1052 | 960 | 999 | 967 | 1552 | 1706 | 1482 | 1319 | 1468 | 1012 | 3481 | 1116 | 1761 | 2311 | 1037 | 964 | 993 | 993 | 1610 | 1690 | 1464 | 1269
3:56 | 25.1 | 1531 | 1051 | 3384 | 1043 | 1729 | 2326 | 1062 | 954 | 1031 | 1007 | 1658 | 1734 | 1522 | 1354 | 1465 | 968 | 3343 | 1101 | 1723 | 2286 | 1033 | 973 | 1024 | 959 | 1584 | 1677 | 1502 | 1323 | 1497 | 1010 | 3425 | 1149 | 1803 | 2287 | 1090 | 1018 | 1004 | 944 | 1574 | 1705 | 1475 | 1247
3:58 | 25.1 | 1493 | 1054 | 3383 | 1152 | 1729 | 2279 | 1071 | 964 | 1050 | 980 | 1612 | 1732 | 1488 | 1374 | 1495 | 1052 | 3309 | 1106 | 1743 | 2309 | 1035 | 990 | 971 | 933 | 1601 | 1660 | 1468 | 1321 | 1456 | 1001 | 3452 | 1139 | 1784 | 2324 | 1073 | 1016 | 969 | 980 | 1581 | 1749 | 1502 | 1266
4:00 | 25.1 | 1503 | 1024 | 3351 | 1122 | 1769 | 2300 | 1076 | 963 | 1005 | 995 | 1667 | 1741 | 1543 | 1309 | 1452 | 1008 | 3370 | 1092 | 1731 | 2329 | 1042 | 997 | 998 | 976 | 1583 | 1637 | 1483 | 1306 | 1463 | 992 | 3422 | 1133 | 1808 | 2327 | 1041 | 1007 | 1002 | 945 | 1519 | 1710 | 1453 | 1289
4:02 | 25.1 | 1501 | 1084 | 3353 | 1105 | 1780 | 2280 | 1071 | 979 | 1039 | 1039 | 1690 | 1760 | 1534 | 1293 | 1526 | 997 | 3287 | 1092 | 1733 | 2218 | 1064 | 967 | 978 | 1001 | 1584 | 1690 | 1471 | 1303 | 1491 | 1015 | 3415 | 1089 | 1795 | 2352 | 1091 | 985 | 1026 | 955 | 1515 | 1657 | 1453 | 1317
4:04 | 25.1 | 1479 | 1057 | 3358 | 1124 | 1783 | 2272 | 1079 | 993 | 1046 | 989 | 1610 | 1766 | 1547 | 1307 | 1456 | 1052 | 3298 | 1105 | 1776 | 2227 | 1031 | 975 | 1006 | 983 | 1541 | 1664 | 1465 | 1295 | 1508 | 1036 | 3364 | 1101 | 1769 | 2320 | 1064 | 1046 | 1029 | 986 | 1536 | 1663 | 1456 | 1293
4:06 | 25.1 | 1501 | 1037 | 3339 | 1057 | 1778 | 2296 | 1053 | 938 | 1017 | 977 | 1616 | 1736 | 1540 | 1325 | 1437 | 1010 | 3321 | 1118 | 1688 | 2297 | 1098 | 987 | 987 | 987 | 1591 | 1666 | 1525 | 1304 | 1511 | 1006 | 3416 | 1136 | 1773 | 2334 | 1067 | 1032 | 991 | 944 | 1607 | 1697 | 1467 | 1281
4:08 | 25.1 | 1508 | 1053 | 3389 | 1102 | 1747 | 2394 | 1072 | 957 | 985 | 1024 | 1651 | 1762 | 1462 | 1277 | 1484 | 1059 | 3295 | 1099 | 1772 | 2290 | 1089 | 943 | 996 | 969 | 1573 | 1737 | 1530 | 1285 | 1491 | 1041 | 3461 | 1083 | 1775 | 2385 | 1078 | 1037 | 1019 | 953 | 1567 | 1690 | 1526 | 1302
4:10 | 25.1 | 1547 | 1029 | 3377 | 1127 | 1751 | 2303 | 1075 | 988 | 1076 | 1011 | 1626 | 1747 | 1456 | 1318 | 1500 | 1044 | 3321 | 1079 | 1733 | 2319 | 1058 | 973 | 995 | 961 | 1563 | 1689 | 1468 | 1310 | 1524 | 1017 | 3404 | 1115 | 1815 | 2271 | 1013 | 998 | 969 | 999 | 1564 | 1716 | 1486 | 1282
4:12 | 25.1 | 1518 | 1036 | 3306 | 1176 | 1709 | 2248 | 1090 | 998 | 1023 | 984 | 1675 | 1711 | 1460 | 1255 | 1463 | 1024 | 3304 | 1131 | 1745 | 2284 | 1022 | 956 | 1005 | 977 | 1623 | 1652 | 1518 | 1323 | 1550 | 1032 | 3416 | 1104 | 1777 | 2302 | 1056 | 1009 | 1037 | 964 | 1586 | 1702 | 1462 | 1358
4:14 | 25.1 | 1492 | 1025 | 3402 | 1054 | 1716 | 2342 | 1070 | 942 | 1003 | 1009 | 1621 | 1695 | 1459 | 1318 | 1432 | 1033 | 3339 | 1097 | 1787 | 2304 | 1067 | 980 | 978 | 980 | 1612 | 1661 | 1467 | 1268 | 1437 | 1013 | 3419 | 1125 | 1750 | 2298 | 1077 | 1025 | 1022 | 997 | 1585 | 1727 | 1497 | 1280
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0
0:00 | 0