## Overview
Software Version	3.03.14

Experiment File Path:	C:\Users\Public\Documents\grid gate experiments\2020-03-12_overnight_anneal_panel.xpt
Protocol File Path:	C:\Users\Public\Documents\Protocols\Dr Haley protocols\Cy3Cy5FRET_20_hr.prt
Plate Number	Plate 1
Date	3/12/2020
Time	10:32:54 AM
Reader Type:	Synergy H1
Reader Serial Number:	18032120
Reading Type	Reader

Procedure Details
Plate Type	Corning 384 well black clear bottom
Set Temperature	Setpoint 25°C
	Preheat before moving to next step
Start Kinetic	Runtime 20:00:00 (HH:MM:SS), Interval 0:02:00, 601 Reads
Read	Fluorescence Endpoint
	N1..P14
	Filter Set 1
	Excitation: 532, Emission: 665
	Optics: Bottom, Gain: 0
	Light Source: Xenon Flash, Lamp Energy: High
	Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
	Read Height: 9.5 mm
End Kinetic

## Raw Data
All scaffolds (including H2H1* and V1V2*) at 10nM, other strands at 50nM
annealed overnight 90-20CC, 0.1C/60 secs

		GH2	GV2	GH1	GV1	GH0	GV0	CtrlH12	CtrlV12	CtrlH0	CtrlV0	ComplementH12	ComplementV12	ComplementH0	ComplementV0	GH2	GV2	GH1	GV1	GH0	GV0	CtrlH12	CtrlV12	CtrlH0	CtrlV0	ComplementH12	ComplementV12	ComplementH0	ComplementV0	GH2	GV2	GH1	GV1	GH0	GV0	CtrlH12	CtrlV12	CtrlH0	CtrlV0	ComplementH12	ComplementV12	ComplementH0	ComplementV0
Time	T° 532,665	N1	N2	N3	N4	N5	N6	N7	N8	N9	N10	N11	N12	N13	N14	O1	O2	O3	O4	O5	O6	O7	O8	O9	O10	O11	O12	O13	O14	P1	P2	P3	P4	P5	P6	P7	P8	P9	P10	P11	P12	P13	P14
0:00:00	25.1	1493	1180	3438	1230	2100	2355	1098	1040	1105	1052	1690	1781	1554	1322	1503	1069	3306	1215	2061	2297	1086	995	1076	1022	1692	1710	1536	1343	1439	1052	3326	1188	2070	2309	1073	1052	1041	1026	1622	1747	1530	1336
0:02:00	25.1	1496	1131	3373	1197	2060	2358	1136	996	1078	1057	1679	1809	1518	1307	1496	1082	3305	1222	2057	2333	1084	1025	1041	1015	1649	1705	1472	1334	1471	1066	3325	1185	1965	2319	1028	1028	1015	1024	1633	1767	1516	1349
0:04:00	25	1535	1104	3349	1215	1958	2328	1103	983	1022	1059	1653	1717	1513	1354	1449	1102	3337	1182	2023	2320	1107	1022	1008	975	1642	1728	1535	1339	1519	1059	3431	1204	1914	2293	1040	1051	1028	994	1591	1752	1464	1315
0:06:00	25	1506	1163	3379	1166	1927	2318	1075	1018	1035	1080	1651	1786	1555	1306	1425	1072	3304	1174	1980	2257	1091	959	1043	992	1609	1679	1523	1304	1464	1024	3349	1219	1950	2285	1055	1009	1051	1008	1588	1713	1449	1300
0:08:00	25	1510	1161	3424	1181	1933	2334	1104	995	1058	1020	1623	1734	1533	1352	1466	1024	3282	1161	1887	2239	1130	1019	1043	1026	1638	1655	1518	1289	1451	1020	3346	1110	1917	2313	1045	1036	1021	1002	1573	1715	1491	1317
0:10:00	25	1484	1114	3356	1130	1917	2292	1090	1038	1015	1033	1667	1780	1556	1330	1440	1045	3288	1171	1878	2226	1105	991	1013	1000	1593	1629	1477	1328	1411	1018	3311	1191	1938	2299	1068	1039	1020	948	1654	1730	1510	1284
0:12:00	25.1	1494	1118	3356	1134	1915	2259	1103	990	1012	1028	1680	1740	1504	1284	1435	1048	3276	1131	1838	2212	1058	1008	1050	1032	1631	1696	1520	1369	1434	1046	3301	1146	1914	2248	1095	1034	990	999	1593	1721	1518	1312
0:14:00	25.1	1473	1095	3353	1097	1882	2318	1106	1009	1039	975	1637	1755	1483	1346	1442	1084	3249	1140	1865	2232	1052	960	1023	997	1628	1686	1464	1305	1458	1027	3313	1150	1814	2309	997	1031	1013	1012	1544	1687	1493	1261
0:16:00	25.1	1516	1094	3322	1147	1858	2283	1089	1006	1022	1052	1658	1725	1544	1349	1449	1088	3246	1140	1830	2221	1096	954	1042	946	1615	1723	1470	1334	1441	1002	3369	1151	1891	2318	1008	1008	1003	980	1592	1713	1503	1298
0:18:00	25.1	1468	1061	3354	1116	1828	2227	1075	976	1051	1044	1630	1725	1515	1339	1398	1029	3280	1142	1818	2238	1088	984	1003	997	1598	1678	1491	1300	1439	1020	3342	1168	1838	2245	1068	1057	1039	970	1609	1745	1554	1269
0:20:00	25.1	1475	1063	3276	1159	1836	2233	1055	995	1047	1004	1638	1673	1522	1326	1452	1011	3240	1130	1802	2238	1091	968	1023	1004	1597	1669	1479	1358	1429	983	3353	1134	1859	2306	1077	998	1001	942	1602	1693	1445	1318
0:22:00	25.1	1508	1061	3295	1153	1813	2234	1070	1003	1068	1024	1652	1743	1470	1293	1480	1012	3267	1070	1799	2246	1071	1000	1008	974	1612	1689	1470	1298	1441	978	3306	1125	1815	2266	1041	1003	1022	987	1625	1729	1496	1282
0:24:00	25.1	1455	1067	3339	1144	1799	2249	1062	972	1047	1009	1627	1737	1528	1269	1472	1047	3304	1037	1821	2291	1042	1008	1009	1014	1555	1645	1505	1302	1412	996	3316	1156	1806	2277	1056	984	1007	993	1625	1678	1484	1294
0:26:00	25.1	1468	1092	3375	1130	1831	2241	1054	1010	1033	988	1571	1774	1501	1325	1446	1028	3263	1108	1784	2184	1074	970	1007	931	1632	1672	1488	1331	1423	1026	3409	1167	1815	2229	1037	1038	992	976	1577	1680	1473	1262
0:28:00	25.1	1493	1050	3325	1090	1764	2160	1056	994	1043	990	1596	1725	1527	1298	1449	1060	3312	1086	1773	2218	1048	965	1025	990	1559	1655	1443	1329	1445	1024	3370	1102	1816	2234	999	1035	1008	981	1597	1733	1483	1291
0:30:00	25.1	1449	1077	3314	1144	1747	2181	1117	977	1037	993	1651	1731	1483	1304	1451	1039	3247	1108	1795	2217	1059	981	1017	980	1592	1701	1446	1237	1441	986	3368	1107	1856	2246	1080	993	1021	970	1583	1672	1513	1300
0:32:00	25.1	1448	1074	3319	1100	1801	2244	1090	1017	1046	1027	1637	1696	1502	1301	1468	1073	3337	1127	1794	2236	1039	982	1025	980	1620	1717	1455	1335	1463	999	3295	1154	1789	2231	1072	998	1023	956	1625	1727	1505	1286
0:34:00	25.1	1461	1052	3332	1137	1790	2254	1069	1017	1051	1019	1605	1690	1501	1298	1447	1015	3309	1103	1767	2198	1034	995	1025	947	1605	1639	1435	1318	1452	1024	3348	1155	1796	2287	1013	1019	975	997	1561	1697	1471	1296
0:36:00	25.1	1477	1047	3256	1117	1753	2253	1056	960	1019	991	1663	1726	1451	1328	1427	1037	3296	1123	1735	2212	1080	952	1038	934	1570	1677	1487	1333	1452	988	3307	1112	1779	2289	1123	1031	1056	967	1582	1723	1512	1271
0:38:00	25.1	1475	1049	3372	1128	1787	2271	1061	963	1032	1035	1654	1735	1539	1308	1473	1057	3267	1109	1754	2194	1071	963	1016	969	1604	1669	1460	1323	1439	1020	3291	1154	1737	2244	1005	1003	1012	987	1550	1719	1491	1314
0:40:00	25	1455	1019	3376	1145	1781	2186	1073	1013	1046	1012	1657	1707	1534	1321	1480	1048	3299	1095	1745	2275	1046	953	1028	976	1604	1663	1479	1348	1411	978	3352	1105	1763	2273	1073	971	1001	984	1523	1701	1467	1265
0:42:00	25.1	1519	1044	3343	1080	1767	2245	1060	977	1020	975	1639	1774	1502	1303	1421	1030	3339	1058	1688	2211	1070	967	1034	973	1627	1659	1498	1291	1446	997	3344	1109	1779	2246	1042	1037	1005	1005	1601	1689	1489	1258
0:44:00	25.1	1451	1032	3335	1105	1778	2238	1026	978	1040	1010	1607	1742	1515	1319	1436	1052	3256	1105	1766	2214	1041	951	1044	975	1604	1679	1514	1352	1460	996	3324	1081	1795	2220	1065	1004	1021	976	1543	1721	1473	1316
0:46:00	25.1	1487	1032	3279	1100	1726	2256	1061	993	1058	987	1609	1734	1536	1286	1435	1003	3305	1147	1742	2188	1047	962	976	938	1621	1694	1481	1291	1408	979	3383	1088	1774	2208	1042	1019	1028	1014	1569	1721	1503	1264
0:48:00	25.1	1457	1099	3307	1112	1793	2194	1086	1019	1046	1001	1647	1681	1570	1292	1405	1027	3224	1078	1722	2221	1089	964	1021	1030	1606	1595	1484	1334	1492	1010	3382	1102	1792	2273	1048	1032	1012	964	1565	1712	1446	1330
0:50:00	25.1	1433	1057	3370	1084	1760	2327	1113	969	1087	1007	1664	1698	1492	1357	1450	1023	3277	1075	1790	2235	1041	942	1027	1011	1641	1644	1469	1287	1495	1019	3301	1097	1744	2236	1069	992	1032	932	1538	1690	1483	1284
0:52:00	25.1	1489	1065	3328	1138	1771	2235	1102	961	1079	1031	1576	1735	1530	1264	1465	997	3291	1089	1748	2172	1055	987	980	1007	1645	1686	1452	1266	1403	1013	3325	1135	1768	2260	1019	971	1028	967	1576	1708	1506	1265
0:54:00	25.1	1469	1065	3324	1075	1728	2203	1039	989	1053	1005	1673	1751	1529	1310	1458	1068	3360	1058	1747	2163	1079	990	986	953	1607	1655	1515	1262	1406	992	3364	1118	1763	2315	1044	1031	1005	962	1557	1701	1438	1292
0:56:00	25.1	1457	1005	3365	1107	1803	2213	1058	978	1040	994	1603	1746	1497	1238	1440	1040	3278	1076	1804	2251	1046	956	998	961	1545	1694	1492	1338	1470	1031	3328	1088	1797	2242	1073	991	999	921	1594	1741	1474	1335
0:58:00	25.1	1472	1066	3375	1099	1766	2198	1038	991	1048	987	1646	1736	1523	1314	1467	994	3319	1098	1690	2299	1072	965	991	975	1611	1674	1503	1271	1445	990	3343	1159	1794	2213	1069	1025	995	956	1581	1713	1547	1316
1:00:00	25.1	1497	1031	3325	1103	1725	2222	1066	965	1014	1007	1640	1711	1508	1289	1414	1009	3311	1065	1801	2199	1102	1015	978	984	1621	1646	1496	1297	1469	989	3310	1143	1746	2260	1043	1048	1016	960	1584	1674	1526	1297
1:02:00	25.1	1498	1051	3311	1070	1797	2267	1063	963	1042	1037	1621	1711	1506	1298	1414	1036	3302	1055	1761	2233	1062	972	1024	987	1580	1711	1450	1307	1459	1033	3322	1114	1765	2221	1025	968	1013	975	1577	1701	1520	1270
1:04:00	25.1	1491	1035	3275	1136	1766	2226	1085	991	1026	982	1608	1734	1476	1324	1465	1049	3336	1104	1748	2219	1063	982	1020	968	1624	1692	1453	1352	1465	1015	3420	1139	1798	2296	1032	998	1037	952	1599	1705	1486	1293
1:06:00	25.1	1447	1072	3383	1064	1744	2179	1043	990	1029	1029	1573	1724	1514	1278	1428	1012	3294	1102	1735	2210	1049	953	1027	976	1600	1708	1506	1305	1474	1019	3335	1111	1804	2287	1048	991	1025	966	1574	1702	1500	1271
1:08:00	25.1	1514	1068	3324	1078	1718	2237	1057	1012	1045	1015	1611	1731	1526	1282	1449	1025	3224	1044	1755	2255	1053	935	1029	935	1575	1667	1494	1301	1429	995	3359	1113	1756	2240	1059	1048	981	1011	1590	1697	1486	1275
1:10:00	25.1	1490	1072	3321	1093	1812	2260	1059	960	1011	1021	1641	1753	1462	1321	1397	1022	3245	1067	1736	2223	1047	972	1032	950	1634	1662	1449	1334	1468	1019	3365	1081	1748	2275	1082	1014	999	968	1596	1693	1488	1277
1:12:00	25.1	1493	1046	3337	1105	1744	2255	1119	1006	1077	998	1668	1730	1528	1315	1458	1023	3368	1087	1737	2253	1068	987	994	957	1582	1652	1476	1265	1485	1016	3363	1148	1764	2252	1045	1008	1022	970	1568	1682	1478	1319
1:14:00	25.1	1449	1056	3429	1128	1705	2293	1045	1023	1024	1015	1620	1686	1514	1299	1412	1012	3297	1054	1736	2196	1045	965	1003	980	1588	1660	1492	1297	1448	1003	3398	1131	1785	2259	1057	1016	1010	967	1616	1658	1466	1316
1:16:00	25.1	1468	1056	3369	1069	1719	2277	1074	967	1023	996	1626	1739	1482	1297	1462	997	3387	1123	1710	2277	1058	959	995	988	1623	1682	1483	1311	1420	996	3410	1113	1755	2346	1066	999	1005	953	1573	1675	1487	1260
1:18:00	25.1	1476	1089	3374	1143	1769	2219	1045	1011	1029	1015	1574	1685	1533	1339	1406	1035	3291	1100	1766	2258	1042	981	1002	988	1656	1629	1488	1240	1467	984	3320	1081	1807	2226	1059	1017	1026	964	1558	1682	1471	1287
1:20:00	25.1	1483	1049	3361	1104	1726	2272	1076	996	1028	1017	1654	1692	1542	1319	1433	999	3355	1089	1795	2247	1067	981	1007	1001	1639	1677	1488	1286	1486	995	3373	1148	1722	2253	1049	992	1009	972	1593	1674	1496	1271
1:22:00	25.1	1506	1070	3369	1129	1765	2257	1052	969	1043	1058	1620	1707	1530	1283	1444	993	3341	1056	1716	2251	1053	980	993	983	1607	1678	1449	1272	1426	1004	3360	1115	1781	2260	1056	1013	969	982	1556	1670	1473	1321
1:24:00	25.1	1512	1048	3347	1062	1768	2208	1038	983	1032	1004	1639	1713	1498	1280	1457	1051	3302	1081	1729	2265	1110	962	1000	959	1574	1634	1505	1294	1457	1009	3367	1172	1792	2290	1012	1002	983	1000	1578	1669	1454	1278
1:26:00	25.1	1456	1060	3291	1098	1768	2317	1089	975	1014	1001	1594	1736	1555	1320	1437	1010	3323	1106	1764	2261	1063	986	997	956	1586	1741	1468	1263	1452	970	3427	1131	1793	2251	1073	988	979	966	1539	1680	1448	1271
1:28:00	25.1	1487	1028	3384	1102	1756	2216	1068	1001	1015	1009	1609	1716	1459	1319	1513	1039	3332	1086	1763	2253	1053	982	1002	943	1630	1607	1505	1299	1503	1019	3298	1093	1761	2292	1021	988	995	1004	1554	1762	1469	1257
1:30:00	25.1	1465	1061	3353	1075	1740	2229	1071	943	1048	1066	1647	1656	1507	1323	1447	1060	3237	1098	1693	2192	1085	950	1032	970	1604	1714	1486	1301	1423	973	3457	1131	1817	2248	1087	984	991	966	1566	1670	1443	1316
1:32:00	25.1	1442	1031	3295	1096	1789	2262	1048	981	1001	995	1578	1737	1495	1275	1458	1067	3244	1111	1717	2221	1067	966	1024	969	1608	1690	1473	1297	1455	1025	3252	1142	1730	2212	1022	1021	1008	987	1555	1690	1447	1298
1:34:00	25.1	1490	1044	3292	1109	1804	2321	1057	992	1005	1032	1614	1702	1499	1337	1409	1039	3250	1093	1716	2218	1074	970	998	945	1611	1651	1485	1307	1420	1013	3352	1082	1817	2270	1032	1021	1009	968	1563	1731	1454	1270
1:36:00	25.1	1503	1076	3356	1097	1768	2202	1068	978	1015	1005	1620	1722	1524	1288	1453	1037	3253	1076	1773	2201	1058	964	993	999	1585	1675	1428	1284	1461	1056	3372	1146	1786	2228	1106	1009	1012	955	1579	1677	1476	1347
1:38:00	25.1	1486	993	3370	1082	1735	2200	1091	959	1004	1014	1607	1721	1531	1325	1487	963	3286	1117	1713	2229	1048	976	981	957	1624	1710	1464	1309	1425	965	3376	1147	1750	2254	1020	1016	1007	957	1575	1715	1465	1285
1:40:00	25.1	1484	1061	3333	1083	1772	2241	1012	977	1026	1016	1624	1700	1515	1309	1445	1031	3293	1020	1777	2246	1052	964	1025	972	1590	1675	1427	1320	1386	999	3397	1080	1719	2288	1071	1011	996	934	1570	1732	1520	1312
1:42:00	25.1	1540	1087	3383	1094	1770	2254	1059	966	1018	993	1638	1711	1479	1281	1445	1026	3320	1062	1721	2188	1066	994	996	912	1619	1651	1471	1306	1439	999	3343	1113	1767	2274	1083	998	956	994	1578	1650	1491	1271
1:44:00	25.1	1480	1056	3327	1092	1792	2235	1048	971	1063	1045	1666	1705	1513	1292	1464	1019	3288	1089	1707	2249	1071	995	1029	978	1594	1712	1500	1295	1470	993	3460	1096	1740	2324	1045	1013	988	994	1559	1707	1481	1274
1:46:00	25.1	1442	1035	3425	1126	1762	2304	1044	957	1083	1034	1603	1741	1512	1354	1428	1025	3315	1062	1704	2283	1077	959	995	954	1581	1640	1478	1290	1437	1019	3367	1071	1762	2290	1003	1034	986	984	1578	1680	1459	1321
1:48:00	25.1	1492	1060	3366	1096	1768	2213	1046	983	1028	1006	1654	1722	1559	1329	1455	977	3322	1096	1769	2239	1065	975	972	972	1574	1667	1503	1319	1414	992	3322	1120	1736	2350	1045	1010	972	1017	1552	1715	1394	1261
1:50:00	25.1	1490	1091	3396	1058	1750	2250	1061	998	1038	975	1633	1715	1531	1291	1426	1028	3259	1053	1733	2237	1073	980	1027	973	1590	1704	1479	1307	1456	1027	3352	1114	1727	2282	1006	1010	995	1001	1550	1704	1485	1239
1:52:00	25.1	1480	1075	3346	1101	1759	2285	1058	982	1029	1045	1595	1774	1504	1324	1454	1017	3297	1099	1753	2228	1050	935	1012	982	1630	1712	1461	1334	1503	1023	3349	1124	1758	2300	1042	985	984	944	1577	1636	1506	1285
1:54:00	25.1	1499	1030	3397	1087	1773	2302	1085	985	1000	985	1601	1658	1458	1251	1450	982	3374	1103	1747	2285	1045	985	1017	978	1588	1679	1477	1299	1476	979	3424	1103	1767	2261	1037	972	967	989	1580	1691	1475	1280
1:56:00	25.1	1510	1035	3269	1107	1798	2229	1081	956	1026	996	1612	1644	1478	1298	1425	1041	3471	1083	1744	2250	1051	951	994	979	1624	1714	1489	1298	1443	1045	3327	1156	1738	2290	1063	947	953	979	1564	1725	1497	1316
1:58:00	25.1	1458	1053	3410	1109	1720	2273	1070	955	1018	999	1611	1729	1514	1363	1448	1041	3308	1100	1750	2241	1084	1046	1026	996	1585	1653	1433	1298	1407	1026	3325	1134	1735	2266	1047	1018	1004	996	1608	1714	1453	1297
2:00:00	25.1	1516	1034	3364	1051	1752	2280	1033	961	1057	984	1647	1732	1493	1280	1457	1040	3267	1088	1742	2261	1063	964	1025	989	1581	1677	1479	1332	1458	1016	3370	1117	1827	2303	1049	1026	1009	997	1564	1678	1487	1309
2:02:00	25.1	1445	1047	3410	1082	1735	2252	1036	930	1017	1000	1654	1685	1529	1317	1458	999	3300	1079	1772	2258	1037	963	1015	965	1601	1672	1498	1298	1483	1005	3356	1134	1757	2238	1085	994	1008	934	1600	1693	1477	1294
2:04:00	25.1	1511	1047	3426	1085	1748	2227	1054	970	1056	1013	1628	1756	1514	1290	1450	1031	3302	1109	1734	2206	1124	966	1029	1016	1616	1676	1487	1295	1486	997	3337	1110	1726	2253	1034	1021	1009	965	1584	1673	1466	1243
2:06:00	25.1	1541	1055	3424	1071	1715	2247	1041	1029	1039	999	1597	1737	1489	1333	1412	1028	3307	1068	1742	2259	1076	959	1015	1003	1632	1681	1469	1265	1440	1030	3387	1132	1779	2253	1086	1015	1035	967	1606	1700	1483	1324
2:08:00	25.1	1505	1032	3420	1094	1718	2208	1067	969	1029	1014	1670	1714	1496	1307	1436	1024	3295	1079	1739	2249	1098	1012	981	948	1583	1700	1504	1311	1471	1001	3365	1114	1743	2313	1039	1013	975	968	1566	1719	1530	1308
2:10:00	25.1	1460	1029	3369	1069	1754	2230	1072	963	1028	994	1577	1726	1532	1281	1435	1085	3215	1089	1695	2244	1070	989	991	973	1570	1646	1451	1226	1472	1019	3371	1110	1775	2316	1037	1013	1014	977	1574	1697	1461	1264
2:12:00	25.1	1485	1021	3391	1124	1737	2246	1110	966	1054	990	1592	1745	1478	1287	1458	1066	3327	1067	1769	2219	1060	988	993	1026	1574	1626	1439	1261	1495	993	3396	1087	1785	2331	1044	978	1051	928	1598	1703	1468	1292
2:14:00	25.1	1503	1057	3390	1084	1757	2217	1068	984	1008	1040	1679	1693	1476	1288	1452	1038	3275	1092	1769	2266	1050	959	1010	980	1588	1660	1486	1293	1446	1020	3418	1153	1769	2350	1019	1011	973	953	1551	1684	1499	1253
2:16:00	25.1	1498	1054	3360	1080	1733	2236	1033	967	1042	1010	1599	1687	1483	1325	1450	1029	3325	1107	1739	2210	1072	904	976	1015	1598	1680	1498	1255	1475	968	3392	1088	1769	2323	1033	984	954	991	1558	1717	1475	1331
2:18:00	25.1	1497	1041	3411	1117	1773	2332	1096	964	1068	987	1629	1707	1519	1312	1434	1008	3361	1075	1711	2178	1090	935	1021	956	1547	1700	1450	1275	1497	1002	3388	1106	1781	2250	1059	1000	991	997	1584	1689	1494	1265
2:20:00	25.1	1482	1048	3406	1115	1727	2338	1064	951	1074	1016	1605	1699	1532	1352	1409	1003	3319	1111	1705	2209	1052	953	1033	968	1615	1641	1476	1304	1462	1005	3428	1126	1742	2293	1031	1000	997	948	1572	1699	1493	1294
2:22:00	25.1	1539	1013	3318	1079	1760	2286	1050	991	1034	1013	1612	1646	1515	1296	1436	1017	3319	1104	1729	2267	1035	971	995	955	1568	1618	1449	1364	1432	1026	3306	1119	1762	2231	1052	975	969	958	1580	1710	1448	1320
2:24:00	25.1	1492	1037	3365	1115	1741	2294	1079	1000	1024	1009	1643	1706	1506	1327	1461	1015	3335	1092	1704	2257	1037	970	985	958	1612	1704	1450	1316	1467	1015	3384	1101	1733	2324	1033	1008	1006	988	1561	1669	1477	1274
2:26:00	25.1	1478	1066	3373	1103	1786	2305	1065	1001	1027	1006	1651	1746	1533	1308	1444	1002	3346	1088	1793	2208	1042	911	982	979	1578	1662	1492	1325	1473	1020	3380	1076	1782	2239	1053	1001	995	955	1584	1706	1488	1271
2:28:00	25.1	1493	1052	3360	1094	1737	2276	1031	963	1018	967	1625	1739	1491	1323	1416	1048	3351	1133	1778	2246	1040	977	998	968	1600	1660	1426	1317	1421	986	3369	1096	1771	2261	1035	1038	1005	939	1548	1666	1448	1285
2:30:00	25.1	1506	1026	3369	1082	1738	2265	1052	1000	1040	1024	1602	1719	1450	1291	1440	1018	3312	1109	1759	2284	1044	935	1024	970	1594	1674	1495	1254	1434	980	3309	1106	1781	2271	1057	1028	1041	974	1587	1697	1493	1283
2:32:00	25.1	1575	1002	3315	1060	1734	2265	1088	961	1048	1028	1619	1714	1514	1293	1451	1011	3321	1141	1710	2245	1093	977	1032	990	1586	1695	1478	1292	1453	1005	3459	1113	1778	2275	1076	1078	1010	972	1548	1703	1474	1271
2:34:00	25.1	1474	1035	3415	1115	1712	2265	1033	1011	1035	1039	1620	1766	1469	1332	1458	996	3362	1051	1745	2295	1025	965	969	959	1546	1675	1469	1267	1463	1025	3426	1146	1733	2226	1056	1009	999	981	1548	1670	1454	1278
2:36:00	25.1	1508	1031	3329	1112	1761	2225	1090	977	998	1020	1637	1733	1511	1306	1440	1004	3352	1068	1731	2230	1066	956	981	963	1622	1705	1495	1274	1457	982	3457	1111	1762	2225	1058	1004	997	991	1555	1719	1495	1274
2:38:00	25.1	1503	1098	3406	1113	1757	2273	1041	1000	1047	956	1603	1698	1510	1306	1456	987	3275	1049	1739	2252	1070	970	1046	957	1572	1669	1478	1289	1436	1051	3426	1116	1767	2247	1020	1014	978	1008	1571	1686	1449	1248
2:40:00	25.1	1491	1079	3365	1109	1737	2271	1064	960	1015	956	1615	1724	1504	1300	1418	1058	3350	1046	1738	2314	1077	977	987	931	1604	1682	1505	1333	1486	988	3397	1138	1754	2330	1046	990	1010	943	1582	1726	1491	1289
2:42:00	25.1	1528	1075	3352	1122	1698	2294	1037	958	1036	969	1643	1721	1497	1335	1449	1003	3380	1105	1743	2228	1077	996	1033	977	1576	1684	1462	1270	1430	1002	3380	1095	1822	2300	1080	982	1017	949	1569	1739	1515	1264
2:44:00	25.1	1497	1025	3368	1073	1766	2266	1052	1006	1032	1007	1640	1706	1478	1315	1456	978	3328	1065	1729	2274	1047	941	969	979	1561	1673	1444	1291	1456	1002	3391	1069	1719	2393	1062	1022	1034	975	1564	1638	1445	1315
2:46:00	25.1	1488	1082	3389	1101	1737	2318	1042	1011	1023	1000	1620	1693	1458	1295	1491	1032	3397	1105	1739	2259	1099	974	972	1001	1535	1657	1432	1312	1478	1039	3362	1111	1711	2283	1057	1023	997	962	1547	1708	1438	1295
2:48:00	25.1	1484	1039	3341	1106	1754	2296	1068	979	1075	1011	1636	1732	1438	1314	1482	1014	3273	1099	1719	2267	1073	980	1013	957	1576	1705	1460	1302	1495	1026	3401	1099	1776	2317	1072	1027	993	954	1561	1678	1454	1273
2:50:00	25.1	1497	1015	3342	1085	1755	2296	1055	954	1072	955	1656	1761	1478	1289	1478	1013	3288	1071	1731	2277	1057	991	998	955	1632	1700	1457	1286	1465	1002	3390	1081	1733	2265	1048	1038	1044	976	1598	1739	1448	1293
2:52:00	25.1	1485	1049	3450	1161	1754	2292	1070	919	1046	1033	1612	1706	1517	1301	1463	1059	3338	1074	1734	2267	1055	923	990	961	1633	1618	1484	1276	1477	999	3435	1080	1765	2338	1050	1003	1001	953	1534	1714	1481	1285
2:54:00	25.1	1509	1033	3343	1099	1728	2288	1074	970	1076	1002	1622	1668	1478	1283	1397	1023	3353	1086	1730	2232	1090	990	1002	948	1557	1699	1490	1277	1474	1023	3315	1102	1805	2285	998	1016	996	996	1615	1722	1525	1298
2:56:00	25.1	1447	1029	3348	1101	1777	2279	1065	1004	1066	1001	1619	1709	1499	1277	1445	1012	3291	1065	1696	2283	1029	959	984	978	1644	1675	1480	1300	1471	975	3413	1103	1722	2275	1074	1022	997	966	1566	1703	1473	1287
2:58:00	25.1	1490	1071	3430	1078	1760	2290	1044	995	1058	1019	1591	1723	1491	1266	1430	994	3358	1116	1744	2269	1040	985	1012	994	1559	1710	1459	1291	1448	1013	3361	1121	1781	2276	1053	1043	990	992	1570	1701	1456	1330
3:00:00	25.1	1464	1006	3326	1067	1760	2298	1061	986	1025	1015	1619	1691	1503	1348	1465	1002	3358	1095	1727	2276	1043	961	1011	979	1632	1664	1456	1282	1423	984	3382	1190	1749	2326	1025	969	983	951	1605	1701	1479	1295
3:02:00	25.1	1487	1058	3399	1141	1743	2234	1043	953	968	1018	1647	1697	1515	1336	1427	1038	3306	1097	1816	2252	1052	960	1002	936	1608	1662	1477	1301	1414	994	3371	1120	1722	2317	1114	995	1046	981	1575	1721	1490	1261
3:04:00	25.1	1501	1069	3383	1111	1813	2254	1076	986	1019	1025	1605	1720	1536	1352	1465	1011	3330	1119	1752	2230	1045	944	1022	977	1646	1683	1504	1299	1499	1022	3469	1166	1776	2333	1071	973	988	935	1618	1734	1506	1280
3:06:00	25.1	1538	1037	3340	1073	1757	2194	1025	973	991	1028	1631	1728	1494	1334	1469	1035	3329	1154	1701	2302	1053	952	979	971	1608	1676	1484	1283	1496	1011	3471	1123	1764	2265	1038	1016	992	947	1565	1691	1547	1263
3:08:00	25.1	1492	1026	3318	1049	1798	2274	1072	999	1006	1038	1674	1735	1505	1276	1450	1011	3235	1097	1736	2270	1058	966	981	1008	1611	1643	1484	1314	1456	993	3442	1121	1746	2287	1028	1019	1001	987	1578	1640	1479	1299
3:10:00	25.1	1448	1019	3369	1144	1733	2274	1088	976	1005	986	1623	1717	1572	1320	1436	1031	3278	1073	1747	2269	1086	985	988	985	1598	1679	1457	1295	1459	1005	3477	1094	1770	2282	1063	1014	992	954	1608	1683	1483	1300
3:12:00	25.1	1484	1052	3419	1085	1745	2301	1039	964	1028	1052	1619	1713	1490	1317	1479	993	3332	1135	1716	2257	1057	988	1020	939	1593	1681	1479	1302	1470	972	3439	1080	1777	2261	1061	985	1016	982	1567	1665	1437	1274
3:14:00	25.1	1512	1061	3360	1093	1783	2278	1027	998	1064	1016	1638	1719	1539	1323	1491	1030	3348	1100	1760	2220	1068	1009	977	944	1615	1681	1519	1346	1441	987	3459	1077	1792	2358	1044	975	1007	994	1619	1675	1500	1356
3:16:00	25.1	1520	1070	3335	1058	1744	2327	1013	986	1050	1004	1583	1688	1515	1316	1458	1033	3346	1098	1742	2263	1103	940	1020	936	1589	1689	1487	1260	1456	1026	3463	1162	1792	2342	1058	984	994	966	1523	1741	1490	1272
3:18:00	25.1	1480	1105	3401	1115	1735	2296	1061	955	1039	997	1668	1727	1526	1313	1413	1001	3334	1124	1769	2254	1083	943	999	968	1587	1653	1509	1330	1475	992	3488	1094	1796	2277	1080	1008	975	948	1580	1730	1489	1283
3:20:00	25.1	1508	1024	3380	1102	1708	2363	1031	971	1034	997	1607	1711	1493	1345	1454	1032	3284	1089	1725	2270	1044	981	1005	975	1626	1654	1487	1314	1462	998	3411	1135	1735	2300	1039	981	1037	976	1540	1690	1451	1268
3:22:00	25.1	1518	1047	3434	1129	1778	2297	1119	959	1008	1043	1672	1762	1538	1327	1438	1004	3316	1083	1752	2279	1045	934	999	941	1636	1633	1496	1313	1488	1008	3346	1183	1764	2343	1043	987	994	965	1533	1684	1470	1286
3:24:00	25.1	1494	1021	3432	1116	1749	2282	1064	969	1046	1038	1621	1697	1503	1286	1473	1013	3301	1095	1690	2246	1058	966	1038	966	1538	1652	1441	1279	1444	987	3480	1082	1785	2298	1043	1011	1027	958	1597	1722	1485	1248
3:26:00	25.1	1432	1053	3319	1067	1779	2273	1051	972	1012	1015	1664	1678	1513	1325	1432	1058	3267	1076	1729	2289	1073	940	1003	977	1605	1645	1482	1312	1456	1004	3436	1111	1765	2221	1072	997	1023	941	1559	1710	1479	1283
3:28:00	25.1	1486	1060	3381	1068	1732	2273	1073	990	1008	1040	1588	1732	1475	1312	1461	1020	3337	1075	1742	2324	1041	1008	1035	972	1619	1660	1499	1301	1473	984	3383	1104	1784	2298	1060	986	1016	967	1527	1678	1488	1281
3:30:00	25.1	1527	1033	3353	1117	1767	2322	1058	978	1045	988	1635	1734	1518	1308	1422	1057	3287	1068	1740	2314	1066	1001	966	982	1611	1702	1455	1311	1495	987	3365	1103	1784	2284	1055	976	997	969	1619	1702	1457	1280
3:32:00	25.1	1533	1037	3433	1128	1797	2260	1044	966	1018	991	1655	1763	1511	1339	1454	1037	3292	1107	1717	2261	1081	958	977	951	1542	1735	1484	1307	1436	1020	3351	1130	1745	2321	1051	1000	963	951	1567	1714	1436	1296
3:34:00	25.1	1512	1066	3340	1096	1768	2260	1070	959	1059	982	1605	1729	1516	1335	1488	1006	3296	1088	1720	2275	1095	978	1047	954	1580	1700	1518	1307	1511	999	3438	1118	1805	2292	1048	966	1029	957	1603	1713	1470	1298
3:36:00	25.1	1505	1041	3316	1079	1737	2297	1031	960	1009	1012	1653	1723	1452	1349	1447	1022	3314	1089	1759	2289	1049	978	984	957	1537	1746	1482	1306	1481	1003	3388	1069	1780	2254	1049	1022	1001	982	1521	1697	1496	1316
3:38:00	25.1	1525	1060	3428	1081	1801	2317	1081	968	1038	1005	1602	1725	1521	1270	1452	1012	3400	1057	1752	2186	1073	973	993	969	1560	1658	1525	1313	1487	988	3503	1111	1770	2252	1046	1045	988	951	1558	1711	1495	1309
3:40:00	25.1	1455	1019	3404	1149	1792	2270	1073	981	1017	1030	1644	1790	1493	1305	1471	1028	3313	1080	1734	2253	1048	953	1021	973	1618	1634	1470	1274	1463	1028	3393	1110	1830	2349	1041	1002	983	981	1625	1658	1538	1297
3:42:00	25.1	1505	1059	3363	1093	1763	2349	1101	999	1011	1026	1621	1725	1517	1270	1508	986	3328	1123	1734	2230	1063	968	1001	971	1588	1674	1489	1303	1523	1035	3395	1139	1727	2273	1054	1020	984	950	1569	1719	1468	1280
3:44:00	25.1	1534	1079	3356	1092	1816	2320	1087	1024	1041	1037	1657	1733	1507	1311	1441	1030	3299	1088	1754	2254	1053	943	995	1038	1618	1649	1499	1299	1438	969	3345	1116	1741	2268	1105	988	1020	987	1537	1685	1445	1267
3:46:00	25.1	1535	1036	3348	1092	1787	2258	1063	964	992	1043	1645	1713	1488	1329	1431	1033	3330	1093	1761	2204	1043	929	968	952	1591	1657	1501	1304	1478	1010	3414	1095	1759	2301	1054	1033	1003	979	1610	1695	1519	1292
3:48:00	25.1	1523	1048	3393	1096	1785	2285	1076	972	1035	1006	1609	1710	1498	1334	1443	1054	3364	1109	1723	2304	1070	936	964	957	1576	1677	1506	1272	1492	1008	3420	1129	1822	2215	1107	1007	998	995	1608	1702	1502	1256
3:50:00	25.1	1560	1003	3341	1071	1784	2335	1079	981	1000	1001	1719	1719	1508	1320	1438	1012	3303	1089	1754	2209	1059	981	984	965	1635	1659	1506	1248	1485	1011	3384	1064	1798	2298	1046	1006	966	990	1607	1697	1507	1270
3:52:00	25.1	1519	1062	3447	1120	1738	2250	1039	989	1032	1018	1594	1707	1480	1336	1459	1042	3361	1099	1709	2330	1041	1002	988	982	1639	1622	1477	1274	1467	1006	3396	1091	1754	2321	1031	1022	1006	958	1567	1702	1452	1281
3:54:00	25.1	1475	1015	3367	1121	1734	2277	1026	1001	1045	1019	1619	1674	1506	1295	1479	1017	3335	1065	1728	2233	1052	960	999	967	1552	1706	1482	1319	1468	1012	3481	1116	1761	2311	1037	964	993	993	1610	1690	1464	1269
3:56:00	25.1	1531	1051	3384	1043	1729	2326	1062	954	1031	1007	1658	1734	1522	1354	1465	968	3343	1101	1723	2286	1033	973	1024	959	1584	1677	1502	1323	1497	1010	3425	1149	1803	2287	1090	1018	1004	944	1574	1705	1475	1247
3:58:00	25.1	1493	1054	3383	1152	1729	2279	1071	964	1050	980	1612	1732	1488	1374	1495	1052	3309	1106	1743	2309	1035	990	971	933	1601	1660	1468	1321	1456	1001	3452	1139	1784	2324	1073	1016	969	980	1581	1749	1502	1266
4:00:00	25.1	1503	1024	3351	1122	1769	2300	1076	963	1005	995	1667	1741	1543	1309	1452	1008	3370	1092	1731	2329	1042	997	998	976	1583	1637	1483	1306	1463	992	3422	1133	1808	2327	1041	1007	1002	945	1519	1710	1453	1289
4:02:00	25.1	1501	1084	3353	1105	1780	2280	1071	979	1039	1039	1690	1760	1534	1293	1526	997	3287	1092	1733	2218	1064	967	978	1001	1584	1690	1471	1303	1491	1015	3415	1089	1795	2352	1091	985	1026	955	1515	1657	1453	1317
4:04:00	25.1	1479	1057	3358	1124	1783	2272	1079	993	1046	989	1610	1766	1547	1307	1456	1052	3298	1105	1776	2227	1031	975	1006	983	1541	1664	1465	1295	1508	1036	3364	1101	1769	2320	1064	1046	1029	986	1536	1663	1456	1293
4:06:00	25.1	1501	1037	3339	1057	1778	2296	1053	938	1017	977	1616	1736	1540	1325	1437	1010	3321	1118	1688	2297	1098	987	987	987	1591	1666	1525	1304	1511	1006	3416	1136	1773	2334	1067	1032	991	944	1607	1697	1467	1281
4:08:00	25.1	1508	1053	3389	1102	1747	2394	1072	957	985	1024	1651	1762	1462	1277	1484	1059	3295	1099	1772	2290	1089	943	996	969	1573	1737	1530	1285	1491	1041	3461	1083	1775	2385	1078	1037	1019	953	1567	1690	1526	1302
4:10:00	25.1	1547	1029	3377	1127	1751	2303	1075	988	1076	1011	1626	1747	1456	1318	1500	1044	3321	1079	1733	2319	1058	973	995	961	1563	1689	1468	1310	1524	1017	3404	1115	1815	2271	1013	998	969	999	1564	1716	1486	1282
4:12:00	25.1	1518	1036	3306	1176	1709	2248	1090	998	1023	984	1675	1711	1460	1255	1463	1024	3304	1131	1745	2284	1022	956	1005	977	1623	1652	1518	1323	1550	1032	3416	1104	1777	2302	1056	1009	1037	964	1586	1702	1462	1358
4:14:00	25.1	1492	1025	3402	1054	1716	2342	1070	942	1003	1009	1621	1695	1459	1318	1432	1033	3339	1097	1787	2304	1067	980	978	980	1612	1661	1467	1268	1437	1013	3419	1125	1750	2298	1077	1025	1022	997	1585	1727	1497	1280
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0
0:00:00	0

## Aggregate Data
Time	GH two-staple	GV two-staple	GH one-staple	GV one-staple	GH no-staple	GV no-staple	CtrlH stapled design	CtrlV stapled design	CtrlH no-staple	CtrlV no-staple	Complement stapled design	ComplementV stapled design	ComplementH no-staple	ComplementV no-staple
00:00:00	1478	1100	3357	1211	2077	2320	1086	1029	1074	1033	1668	1746	1540	1334
00:02:00	1488	1093	3334	1201	2027	2337	1083	1016	1045	1032	1654	1760	1502	1330
00:04:00	1501	1088	3372	1200	1965	2314	1083	1019	1019	1009	1629	1732	1504	1336
00:06:00	1465	1086	3344	1186	1952	2287	1074	995	1043	1027	1616	1726	1509	1303
00:08:00	1476	1068	3351	1151	1912	2295	1093	1017	1041	1016	1611	1701	1514	1319
00:10:00	1445	1059	3318	1164	1911	2272	1088	1023	1016	994	1638	1713	1514	1314
00:12:00	1454	1071	3311	1137	1889	2240	1085	1011	1017	1020	1635	1719	1514	1322
00:14:00	1458	1069	3305	1129	1854	2286	1052	1000	1025	995	1603	1709	1480	1304
00:16:00	1469	1061	3312	1146	1860	2274	1064	989	1022	993	1622	1720	1506	1327
00:18:00	1435	1037	3325	1142	1828	2237	1077	1006	1031	1004	1612	1716	1520	1303
00:20:00	1452	1019	3290	1141	1832	2259	1074	987	1024	983	1612	1678	1482	1334
00:22:00	1476	1017	3289	1116	1809	2249	1061	1002	1033	995	1630	1720	1479	1291
00:24:00	1446	1037	3320	1112	1809	2272	1053	988	1021	1005	1602	1687	1506	1288
00:26:00	1446	1049	3349	1135	1810	2218	1055	1006	1011	965	1593	1709	1487	1306
00:28:00	1462	1045	3336	1093	1784	2204	1034	998	1025	987	1584	1704	1484	1306
00:30:00	1447	1034	3310	1120	1799	2215	1085	984	1025	981	1609	1701	1481	1280
00:32:00	1460	1049	3317	1127	1795	2237	1067	999	1031	988	1627	1713	1487	1307
00:34:00	1453	1030	3330	1132	1784	2246	1039	1010	1017	988	1590	1675	1469	1304
00:36:00	1452	1024	3286	1117	1756	2251	1086	981	1038	964	1605	1709	1483	1311
00:38:00	1462	1042	3310	1130	1759	2236	1046	976	1020	997	1603	1708	1497	1315
00:40:00	1449	1015	3342	1115	1763	2245	1064	979	1025	991	1595	1690	1493	1311
00:42:00	1462	1024	3342	1082	1745	2234	1057	994	1020	984	1622	1707	1496	1284
00:44:00	1449	1027	3305	1097	1780	2224	1044	978	1035	987	1585	1714	1501	1329
00:46:00	1443	1005	3322	1112	1747	2217	1050	991	1021	980	1600	1716	1507	1280
00:48:00	1451	1045	3304	1097	1769	2229	1074	1005	1026	998	1606	1663	1500	1319
00:50:00	1459	1033	3316	1085	1765	2266	1074	968	1049	983	1614	1677	1481	1309
00:52:00	1452	1025	3315	1121	1762	2222	1059	973	1029	1002	1599	1710	1496	1265
00:54:00	1444	1042	3349	1084	1746	2227	1054	1003	1015	973	1612	1702	1494	1288
00:56:00	1456	1025	3324	1090	1801	2235	1059	975	1012	959	1581	1727	1488	1304
00:58:00	1461	1017	3346	1119	1750	2237	1060	994	1011	973	1613	1708	1524	1300
01:00:00	1460	1010	3315	1104	1757	2227	1070	1009	1003	984	1615	1677	1510	1294
01:02:00	1457	1040	3312	1080	1774	2240	1050	968	1026	1000	1593	1708	1492	1292
01:04:00	1474	1033	3344	1126	1771	2247	1060	990	1028	967	1610	1710	1472	1323
01:06:00	1450	1034	3337	1092	1761	2225	1047	978	1027	990	1582	1711	1507	1285
01:08:00	1464	1029	3302	1078	1743	2244	1056	998	1018	987	1592	1698	1502	1286
01:10:00	1452	1038	3310	1080	1765	2253	1063	982	1014	980	1624	1703	1466	1311
01:12:00	1479	1028	3356	1113	1748	2253	1077	1000	1031	975	1606	1688	1494	1300
01:14:00	1436	1024	3375	1104	1742	2249	1049	1001	1012	987	1608	1668	1491	1304
01:16:00	1450	1016	3389	1102	1728	2300	1066	975	1008	979	1607	1699	1484	1289
01:18:00	1450	1036	3328	1108	1781	2234	1049	1003	1019	989	1596	1665	1497	1289
01:20:00	1467	1014	3363	1114	1748	2257	1064	990	1015	997	1629	1681	1509	1292
01:22:00	1459	1022	3357	1100	1754	2256	1054	987	1002	1008	1594	1685	1484	1292
01:24:00	1475	1036	3339	1105	1763	2254	1053	982	1005	988	1597	1672	1486	1284
01:26:00	1448	1013	3347	1112	1775	2276	1075	983	997	974	1573	1719	1490	1285
01:28:00	1501	1029	3338	1094	1760	2254	1047	990	1004	985	1598	1695	1478	1292
01:30:00	1445	1031	3349	1101	1750	2223	1081	959	1024	1001	1606	1680	1479	1313
01:32:00	1452	1041	3264	1116	1745	2232	1046	989	1011	984	1580	1706	1472	1290
01:34:00	1440	1032	3298	1095	1779	2270	1054	994	1004	982	1596	1695	1479	1305
01:36:00	1472	1056	3327	1106	1776	2210	1077	984	1007	986	1595	1691	1476	1306
01:38:00	1466	974	3344	1115	1733	2228	1053	984	997	976	1602	1715	1487	1306
01:40:00	1438	1030	3341	1061	1756	2258	1045	984	1016	974	1595	1702	1487	1314
01:42:00	1475	1037	3349	1090	1753	2239	1069	986	990	966	1612	1671	1480	1286
01:44:00	1471	1023	3358	1092	1746	2269	1055	993	1027	1006	1606	1708	1498	1287
01:46:00	1436	1026	3369	1086	1743	2292	1041	983	1021	991	1587	1687	1483	1322
01:48:00	1454	1010	3337	1104	1758	2267	1052	989	991	998	1593	1701	1485	1303
01:50:00	1457	1049	3336	1075	1737	2256	1047	996	1020	983	1591	1708	1498	1279
01:52:00	1479	1038	3331	1108	1757	2271	1050	967	1008	990	1601	1707	1490	1314
01:54:00	1475	997	3398	1098	1762	2283	1056	981	995	984	1590	1676	1470	1277
01:56:00	1459	1040	3356	1115	1760	2256	1065	951	991	985	1600	1694	1488	1304
01:58:00	1438	1040	3348	1114	1735	2260	1067	1006	1016	997	1601	1699	1467	1319
02:00:00	1477	1030	3334	1085	1774	2281	1048	984	1030	990	1597	1696	1486	1307
02:02:00	1462	1017	3355	1098	1755	2249	1053	962	1013	966	1618	1683	1501	1303
02:04:00	1482	1025	3355	1101	1736	2229	1071	986	1031	998	1609	1702	1489	1276
02:06:00	1464	1038	3373	1090	1745	2253	1068	1001	1030	990	1612	1706	1480	1307
02:08:00	1471	1019	3360	1096	1733	2257	1068	998	995	977	1606	1711	1510	1309
02:10:00	1456	1044	3318	1089	1741	2263	1060	988	1011	981	1574	1690	1481	1257
02:12:00	1479	1027	3371	1093	1764	2265	1071	977	1033	981	1588	1691	1462	1280
02:14:00	1467	1038	3361	1110	1765	2278	1046	985	997	991	1606	1679	1487	1278
02:16:00	1474	1017	3359	1092	1747	2256	1046	952	991	1005	1585	1695	1485	1304
02:18:00	1476	1017	3387	1099	1755	2253	1082	966	1027	980	1587	1699	1488	1284
02:20:00	1451	1019	3384	1117	1725	2280	1049	968	1035	977	1597	1680	1500	1317
02:22:00	1469	1019	3314	1101	1750	2261	1046	979	999	975	1587	1658	1471	1327
02:24:00	1473	1022	3361	1103	1726	2292	1050	993	1005	985	1605	1693	1478	1306
02:26:00	1465	1029	3366	1089	1787	2251	1053	971	1001	980	1604	1705	1504	1301
02:28:00	1443	1029	3360	1108	1762	2261	1035	993	1007	958	1591	1688	1455	1308
02:30:00	1460	1008	3330	1099	1759	2273	1051	988	1035	989	1594	1697	1479	1276
02:32:00	1493	1006	3365	1105	1741	2262	1086	1005	1030	997	1584	1704	1489	1285
02:34:00	1465	1019	3401	1104	1730	2262	1038	995	1001	993	1571	1704	1464	1292
02:36:00	1468	1006	3379	1097	1751	2227	1071	979	992	991	1605	1719	1500	1285
02:38:00	1465	1045	3369	1093	1754	2257	1044	995	1024	974	1582	1684	1479	1281
02:40:00	1465	1042	3371	1098	1743	2305	1062	976	1004	943	1600	1711	1500	1307
02:42:00	1469	1027	3371	1107	1754	2274	1065	979	1029	965	1596	1715	1491	1290
02:44:00	1470	1002	3362	1069	1738	2311	1054	990	1012	987	1588	1672	1456	1307
02:46:00	1486	1051	3383	1106	1729	2287	1066	1003	997	988	1567	1686	1443	1301
02:48:00	1487	1026	3338	1101	1750	2293	1071	995	1027	974	1591	1705	1451	1296
02:50:00	1480	1010	3340	1079	1740	2279	1053	994	1038	962	1629	1733	1461	1289
02:52:00	1475	1036	3408	1105	1751	2299	1058	948	1012	982	1593	1679	1494	1287
02:54:00	1460	1026	3337	1096	1754	2268	1054	992	1025	982	1598	1696	1498	1286
02:56:00	1454	1005	3351	1090	1732	2279	1056	995	1016	982	1610	1696	1484	1288
02:58:00	1456	1026	3383	1105	1762	2278	1046	1008	1020	1002	1573	1711	1469	1296
03:00:00	1451	997	3355	1117	1745	2300	1043	972	1006	982	1619	1685	1479	1308
03:02:00	1443	1030	3359	1119	1760	2268	1070	969	1005	978	1610	1693	1494	1299
03:04:00	1488	1034	3394	1132	1780	2272	1064	968	1010	979	1623	1712	1515	1310
03:06:00	1501	1028	3380	1117	1741	2254	1039	980	987	982	1601	1698	1508	1293
03:08:00	1466	1010	3332	1089	1760	2277	1053	995	996	1011	1621	1673	1489	1296
03:10:00	1448	1018	3375	1104	1750	2275	1079	992	995	975	1610	1693	1504	1305
03:12:00	1478	1006	3397	1100	1746	2273	1052	979	1021	991	1593	1686	1469	1298
03:14:00	1481	1026	3389	1090	1778	2285	1046	994	1016	985	1624	1692	1519	1342
03:16:00	1478	1043	3381	1106	1759	2311	1058	970	1021	969	1565	1706	1497	1283
03:18:00	1456	1033	3408	1111	1767	2276	1075	969	1004	971	1612	1703	1508	1309
03:20:00	1475	1018	3358	1109	1723	2311	1038	978	1025	983	1591	1685	1477	1309
03:22:00	1481	1020	3365	1132	1765	2306	1069	960	1000	983	1614	1693	1501	1309
03:24:00	1470	1007	3404	1098	1741	2275	1055	982	1037	987	1585	1690	1476	1271
03:26:00	1440	1038	3341	1085	1758	2261	1065	970	1013	978	1609	1678	1491	1307
03:28:00	1473	1021	3367	1082	1753	2298	1058	995	1020	993	1578	1690	1487	1298
03:30:00	1481	1026	3335	1096	1764	2307	1060	985	1003	980	1622	1713	1477	1300
03:32:00	1474	1031	3359	1122	1753	2281	1059	975	986	964	1588	1737	1477	1314
03:34:00	1504	1024	3358	1101	1764	2276	1071	968	1045	964	1596	1714	1501	1313
03:36:00	1478	1022	3339	1079	1759	2280	1043	987	998	984	1570	1722	1477	1324
03:38:00	1488	1020	3444	1083	1774	2252	1067	995	1006	975	1573	1698	1514	1297
03:40:00	1463	1025	3370	1113	1785	2291	1054	979	1007	995	1629	1694	1500	1292
03:42:00	1512	1027	3362	1118	1741	2284	1073	996	999	982	1593	1706	1491	1284
03:44:00	1471	1026	3333	1099	1770	2281	1082	985	1019	1021	1604	1689	1484	1292
03:46:00	1481	1026	3364	1093	1769	2254	1053	975	988	991	1615	1688	1503	1308
03:48:00	1486	1037	3392	1111	1777	2268	1084	972	999	986	1598	1696	1502	1287
03:50:00	1494	1009	3343	1075	1779	2281	1061	989	983	985	1654	1692	1507	1279
03:52:00	1482	1037	3401	1103	1734	2300	1037	1004	1009	986	1600	1677	1470	1297
03:54:00	1474	1015	3394	1101	1741	2274	1038	975	1012	993	1594	1690	1484	1294
03:56:00	1498	1010	3384	1098	1752	2300	1062	982	1020	970	1605	1705	1500	1308
03:58:00	1481	1036	3381	1132	1752	2304	1060	990	997	964	1598	1714	1486	1320
04:00:00	1473	1008	3381	1116	1769	2319	1053	989	1002	972	1590	1696	1493	1301
04:02:00	1506	1032	3352	1095	1769	2283	1075	977	1014	998	1596	1702	1486	1304
04:04:00	1481	1048	3340	1110	1776	2273	1058	1005	1027	986	1562	1698	1489	1298
04:06:00	1483	1018	3359	1104	1746	2309	1073	986	998	969	1605	1700	1511	1303
04:08:00	1494	1051	3382	1095	1765	2356	1080	979	1000	982	1597	1730	1506	1288
04:10:00	1524	1030	3367	1107	1766	2298	1049	986	1013	990	1584	1717	1470	1303
04:12:00	1510	1031	3342	1137	1744	2278	1056	988	1022	975	1628	1688	1480	1312
04:14:00	1454	1024	3387	1092	1751	2315	1071	982	1001	995	1606	1694	1474	1289

## Graphs
GH designs, 10nM scaffold, 50nM else, annealed overnight / Complement = 50nM H1, 50nM H2, 10nM (H2H1)* / Time (HH:MM) / Signal					GV designs, 10nM scaffold, 50nM else, annealed overnight / Complement = 50nM V1, 50nM V2, 10nM (V1V2)* / Time (HH:MM) / Signal

GH designs (except one-staple), 10nM scaffold, 50nM else, annealed overnight / Complement = 50nM H1, 50nM H2, 10nM (H2H1)* / Time (HH:MM) / Signal